	     [image: image3.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542          Fax: +44 (0)1535 635582

Email: info@viamed.co.uk         www.viamed-online.com



	INTERNATIONAL DISTRIBUTOR PRICE LIST

Accessories & Spare Parts for

AX300 Oxygen Analyser & MX300 Oxygen Monitor 



	
	
	
	

	Part Number
	Model Number
	Description
	Euros

€

	0100150
	C73884E
	PCB assembly – AX300i

Output:  0-1V

Display: 3 ½ digits
	€81.60

	0100151
	C73884F
	PCB assembly – AX300i

Output:  0-1V

Display: 2 ½ digits
	€100.32

	0100152
	C73884G
	PCB assembly – AX300i

Output:  RS232

Display: 3 ½ digits
	€100.32

	0100153
	C73884H
	PCB assembly – AX300i

Output:  RS232

Display: 2 ½ digits
	€119.04

	0100160
	C73884A
	PCB assembly – MX300i

Output:  0-1V

Display: 3 ½ digits
	€100.80

	0100161
	C73884B
	PCB assembly –MX300i

Output:  0-1V

Display: 2 ½ digits
	€119.52

	0100162
	C73884C
	PCB assembly – MX300i

Output:  RS232

Display: 3 ½ digits
	€119.52

	0100163
	C73884D
	PCB assembly – MX300i

Output:  RS232

Display: 2 ½ digits
	€138.24

	0100170
	B-74543-B
	Front panel - AX300

Includes green bezel & display lens 0131220.

Does not include keypad membrane 0121207.
	€24.00

	0100171
	B-74543
	Front panel – MX300

Includes green bezel & display lens 0131220.

Does not include keypad membrane 0121208.
	€24.00

	0100172
	B-74466
	Base assembly (does not include 3 x suction cup feet).
	€19.20

	0110017
	C43690
	Oxygen sensor, R17MED
	€27.63

	0120099
	B-50057
	Oxygen sensor flow diverter
	€4.25

	0120100
	A-268
	‘T’ adapter, disposable, 22mm I.D – 22mm O.D, T 15mm I.D.
	€1.53

	0120101
	A51589
	Oxygen sensor adapter cap, 22mm I.D.
	€4.04

	0120102
	A51588
	Oxygen sensor adapter cap, 22mm O.D.
	€4.04

	0120103
	A284
	‘T’ adapter for paediatric circuits (15mm)

15mm I.D. –15mm O.D., T 15mm I.D.
	€2.13

	0120120
	
	Oxygen concentrator adapter. Screws onto sensor, tapered inlet
	€5.20

	0120125
	1967
	Oxygen connector, 22mm I.D. – 22mm I.D. 
	€1.70

	0120126
	1969
	Oxygen connector, 22mm O.D. – 22mm O.D.
	€1.70

	0120127
	1974
	Oxygen connector, 15mm I.D./22mm O.D. – 6.5mm (tapered)
	€1.49

	0121197
	
	‘V’ mount pole clamp, horizontal
	€37.61

	0121198
	
	‘V’ mount rail clamp
	€90.95

	0121199
	
	Swivel mount
	€35.28

	0121200
	CP2345
	Universal mounting clamp
	€38.35

	0121201
	CP2344
	‘V’ mount pole clamp
	€37.61

	0121202
	B 647
	‘V’ mount wall plate
	€11.69

	0121203
	B-75554
	0-1 V DC interface cable
	€15.73

	0121204
	B-75555
	RS232 interface cable
	€26.14

	0121205
	C53790
	Calibration assembly for AX300 & MX300
	€10.20

	0121207
	
	Keypad membrane – AX300i
	€4.80

	0121208
	
	Keypad membrane – MX300i
	€4.80

	0121209
	
	Screw kit, set of 5 (4 short, 1 long)
	€2.40

	0121210
	D-74459
	Rear panel – AX300 & MX300

Includes:

0131207 Battery cover seal.

0131208 Case seal.
	€14.40

	0121211
	C-74462
	Rear panel battery cover
	€4.80

	0121212
	C-74463
	Rear panel battery cover lock
	€1.92

	0121213
	B-74463
	Rear panel mounting plate
	€7.20

	0131201
	C74721 New Ver
	Sensor cable for AX300 & MX300 (Teledyne)
	€28.00

	0131202
	
	Sensor cable for AX300 & MX300 (Viamed)
	€19.20

	0131205
	C2247
	Suction cup feet for base assembly
	€1.25

	0131207
	
	Battery cover seal
	€2.40

	0131208
	
	Case seal
	€2.88

	0131209
	
	Output connector seal
	€0.48

	0131210
	C75898H
	Replacement case assembly for AX300

Includes:

0100170 Front panel

0100172 Base assembly

0121209 Screw kit

0121210 Rear panel

0121211 Battery door

0121212 Battery door lock

0121213 Mounting plate
	€67.20

	0131212
	C75898G
	Replacement case assembly for MX300

Includes:

0100171 Front panel

0100172 Base assembly

0121209 Screw kit

0121210 Rear panel

0121211 Battery cover

0121212 Battery cover lock

0121213 Mounting plate
	€67.20

	0131215
	
	Input (oxygen sensor) connector
	€2.88

	0131216
	
	Output connector
	€3.36

	0131220
	
	Display lens for use with B-74543-B & B-74543
	€3.84


CE0086

Prices effective: 18 May 2010

Prices exclude VAT and postage & packing.

Delivery: EXW (Incoterms 2000) Viamed UK

Tel:  
+44 (0)1535 634542

Fax: 
+44 (0)1535 635582

e-mail:
sales@viamed.co.uk

	www.viamed-online.com

Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments also accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image1.png]Master€ard




	 
[image: image2.png]VISA







[image: image3.png]_1145192177.bin

_1145192477.bin

