	     [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542         Fax: +44 (0)1535 635582

Email: info@viamed.co.uk         www.viamed-online.com



	INTERNATIONAL DISTRIBUTOR PRICE LIST

MEDICAL OXYGEN SENSORS




	Part number


	Model
	Description
	Price

USD $

	0110001
	B-39022-C1R
	Oxygen sensor, C1(R)
	$39.95

	0110002
	B-39023-C2R
	Oxygen sensor, C2(R)
	$39.95

	0110013
	B-39636-R13
	Oxygen sensor, R-13
	$49.95

	0110015
	C-41131-R15
	Oxygen sensor, R-15
	$32.50

	0110016
	C-43690-R17MEDV
	Oxygen sensor, R-17MEDV

(9 mV -13 mV)
	$32.50

	0110017
	C-43690-R17MED
	Oxygen sensor, R-17MED

(7 mV -13 mV)
	$32.50

	0110021
	C-44611-R22MEDV
	Oxygen sensor, R-22MEDV

(9 mV -13 mV)
	$37.75

	0110071
	C-44611-R22MEDV
	Oxygen sensor, R-22MEDV

(9 mV -13 mV) 

Pack of two sensors (matched pair).
	$75.50

	0110022
	C-44611-R22MED
	Oxygen sensor, R-22MED

(7 mV -13 mV)
	$37.75

	0110023
	R-23V
	Oxygen sensor, R-23V
	$43.75

	0110024
	C-61340-R24MED
	Oxygen sensor, R-24MED

Fast response sensor, 

for longer life version use R-36MED.
	$37.75

	0110026
	C-64335-R26MED
	Oxygen sensor, R-26MED
	$43.75

	0110034
	C-75423-R34MED
	Oxygen sensor, R-34MED
	$69.00

	0110036
	C-76518-R36MED
	Oxygen sensor, R-36MED

Longer lifer version of the R-24MED Response time reduced slightly. Applicable for use in ventilators.
	$37.75

	0110040
	R-30V
	Oxygen sensor, R-30V
	$70.00

	0110041
	R-41V
	Oxygen sensor, R-41V
	$40.00

	0110042
	R-42V
	Oxygen sensor, R-42V
	$40.00

	0110043
	R-43V
	Oxygen sensor, R-43V

Pack of two sensors. For use with 

GE Datex Ohmeda Giraffe
	$87.50

	0110044
	R-44V
	Oxygen sensor, R-44V
	$40.00

	0110045
	R-45V
	Oxygen sensor, R-45V
	$40.00

	0110047
	R-47V
	Oxygen sensor, R-47V
	$69.00

	0110051
	A-37016-T1
	Oxygen sensor, T-1
	$37.75

	0110052
	A-38070-T2
	Oxygen sensor, T-2
	$37.75

	0110054
	A-37017-T4
	Oxygen sensor, T-4
	$47.50

	Page 1 of 2

	0110057
	A-51327-T7
	Oxygen sensor, T-7

For use with Teledyne 

TED60T, TED191, TED200T7.
	$31.50

	0110080
	C-68868
	Oxygen sensor, UFO 130-1
	$95.00

	0110081
	C-73894
	Oxygen sensor, UFO 130-2
	$107.50

	0110403
	MAX-3
	Oxygen sensor, MAX-3
	$90.00

	0110416
	MAX-16
	Oxygen sensor, MAX-16
	$69.00

	0110420
	MAX-14 (Fluke)
	Oxygen sensor, MAX-14 

(Fluke version)
	$75.00

	0110428
	MAX-250
	Oxygen sensor, MAX-250

Standard without ‘O’ ring
	$69.00

	0110425
	MAX-250
	Oxygen sensor, MAX-250

With ‘O’ ring.
	$69.00

	0110427
	MAX-250+
	Oxygen sensor, MAX-250+
	$84.25

	0110429
	MAX-250E
	Oxygen sensor, MAX-250E
	$69.00

	0110430
	MAX-250ESF
	Oxygen sensor, MAX-250ESF
	$69.00

	0110431
	MAX-250A
	Oxygen sensor, MAX-250A
	$82.00

	0110432
	MAX-250(B)
	Oxygen sensor, MAX-250(B)
	$73.50

	0110433
	MAX-250K
	Oxygen sensor, MAX-250K
	$84.25

	0110436
	MAX-250(B)-SLE

(2 pole connector)
	Oxygen sensor, MAX-250(B)-SLE
	$78.50

	0110437
	MAX-250(B)-SLE

(3 pole connector)
	Oxygen sensor, MAX-250(B)-SLE


	$78.50

	0110524
	KE25
	Oxygen sensor, KE-25 (unterminated)
	$52.00

	0110525
	KE25
	Oxygen sensor, KE-25
	$53.00


	Prices effective: 11 November 2011

Delivery: EXW (Incoterms 2010) Viamed UK


Page 2 of 2
[image: image1.png]