	     [image: image3.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	UK PRICE LIST

POSEY Pulse Oximetry Sensor Wraps



[image: image1.png]Master€ard



[image: image3.png]   

The Posey pulse oximetry sensor wraps replace adhesive tape to secure all models of flexible optical transducers or probe sensors. The wraps hold the sensor firmly to prevent misalignment of optical components, whilst blocking out excessive ambient light. The soft foam tape-less fastener does not stick to the skin, allowing for easy application and removal; this also helps to preserve delicate skin. The model ref. 6554 is a universal design and may be cut to length, the model ref. 6554P (premie) has been specifically designed for neonatal applications.         

P6554       Width:
 30 mm, length: 140 mm, thickness: 5mm   

P6554P   Width:
 20 mm, length: 100 mm, thickness: 5mm                                    

	Part number
	Description
	Price 

£

	0021012
	Posey Pulse Oximetry Sensor Wrap, model 6554. Single unit quantity.

Applications: Neonatal Foot, Infant Toe or Adult/Paediatric Finger. 
	£0.53

	0021013
	Posey Pulse Oximetry Sensor Wrap, model 6554. 

Box of 12.
	£6.00

	0021014
	Posey Pulse Oximetry Sensor Wrap, model 6554. 

One case (48 boxes of 0021013).
	£288.00



	0021017
	Posey Pulse Oximetry Sensor Wrap, model 6554P. Single unit quantity.

Applications: Neonatal Foot – Premie.
	£0.69

	0021018
	Posey Pulse Oximetry Sensor Wrap, model P6554P. 

Box of 12.
	£8.00

	0021019
	Posey Pulse Oximetry Sensor Wrap, model 6554P. 

One case (48 boxes of 0021018).
	£384.00


	Prices effective: 1 November 2009                                                                                            CE

Prices exclude:  V.A.T, Postage & Packing


Tel:  

01535 633705

Fax: 

01535 635582

e-mail:
sales@viamed.co.uk  

	Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments also accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image5.jpg]re




	 
[image: image2.png]VISA







[image: image4.jpg]


_1145192177.bin

_1145192477.bin

