	      [image: image9.png]



	VIAMED
	
	Viamed Limited 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom

Tel: +44 (0)1535 634 542       Fax: +44 (0)1535 635 582

Email: info@viamed.co.uk                 www.viamed.co.uk



	USD DISTRIBUTOR PRICE LIST

4000 Series Disposable SpO2 Sensors




	Nellcor* Compatible 
	        [image: image1.jpg]




	Part Number
	Model Number
	Patient Type
	Tape Material
	Cable Length
	USD

Price per box of 24 sensors

	0014901
	1-AF
	Adult
	Micro Foam
	0.45m (18")
	$119.88

	0014902
	1-PF
	Paediatric
	Micro Foam
	0.45m (18")
	$119.88

	0014903
	1-IF
	Infant
	Micro Foam
	0.90m (3')
	$127.98

	0014904
	1-NF
	Neonatal
	Micro Foam
	0.90m (3')
	$127.98

	0014905
	1-AT
	Adult
	Transpore
	0.45m (18")
	$119.88

	0014906
	1-PT
	Paediatric
	Transpore
	0.45m (18")
	$119.88

	0014909
	1-AP
	Adult
	Plaster
	0.45m (18")
	$119.88

	0014910
	1-PP
	Paediatric
	Plaster
	0.45m(18")
	$119.88

	0014911
	1-IP
	Infant
	Plaster
	0.90m (3')
	$127.98

	0014912
	1-NP
	Neonatal
	Plaster
	0.90m (3')
	$127.98


* Non-Oximax technology. Compatible to the Oxisensor II range of adhesive sensors.

	Ohmeda Compatible 
	                                                             [image: image2.jpg]0 O O O O
o O O O





	Part Number
	Model Number
	Patient Type
	Tape Material
	Cable Length
	USD

Price per box of 24 sensors

	0014913
	2-AF
	Adult
	Micro Foam
	0.45m (18")
	$127.98

	0014914
	2-PF
	Paediatric
	Micro Foam
	0.45m (18")
	$127.98

	0014915
	2-IF
	Infant
	Micro Foam
	0.90m (3')
	$136.08

	0014916
	2-NF
	Neonatal
	Micro Foam
	0.90m (3')
	$136.08

	0014917
	2-AT
	Adult
	Transpore
	0.45m (18")
	$127.98

	0014918
	2-PT
	Paediatric
	Transpore
	0.45m (18")
	$127.98

	0014921
	2-AP
	Adult
	Plaster
	0.45m (18")
	$127.98

	0014922
	2-PP
	Paediatric
	Plaster
	0.45m (18")
	$127.98

	0014923
	2-IP
	Infant
	Plaster
	0.90m (3')
	$136.08

	0014924
	2-NP
	Neonatal
	Plaster
	0.90m (3')
	$136.08


	Datex Compatible 
	     [image: image3.jpg]0 O O O O
o O O O





	Part Number
	Model Number
	Patient Type
	Tape Material
	Cable Length
	USD

Price per box of 24 sensors

	0014925
	3-AF
	Adult
	Micro Foam
	0.45m (18")
	$127.98

	0014926
	3-PF
	Paediatric
	Micro Foam
	0.45m (18")
	$127.98

	0014927
	3-IF
	Infant
	Micro Foam
	0.90m (3')
	$136.08

	0014928
	3-NF
	Neonatal
	Micro Foam
	0.90m(3')
	$136.08

	0014929
	3-AT
	Adult
	Transpore
	0.45m (18")
	$127.98

	0014930
	3-PT
	Paediatric
	Transpore
	0.45m (18")
	$127.98

	0014933
	3-AP
	Adult
	Plaster
	0.45m (18")
	$127.98

	0014934
	3-PP
	Paediatric
	Plaster
	0.45m (18")
	$127.98

	0014935
	3-IP
	Infant
	Plaster
	0.90m(3')
	$136.08

	0014936
	3-NP
	Neonatal
	Plaster
	0.90m (3')
	$136.08


	CSI Compatible 
	  [image: image4.jpg]




	Part Number
	Model Number
	Patient Type
	Tape Material
	Cable Length
	USD

Price per box of 24 sensors

	0014937
	4-AF
	Adult
	Micro Foam
	0.45m (18")
	$127.98

	0014938
	4-PF
	Paediatric
	Micro Foam
	0.45m (18")
	$127.98

	0014939
	4-IF
	Infant
	Micro Foam
	0.90m (3')
	$136.08

	0014940
	4-NF
	Neonatal
	Micro Foam
	0.90m (3')
	$136.08

	0014941
	4-AT
	Adult
	Transpore
	0.45m (18")
	$127.98

	0014942
	4-PT
	Paediatric
	Transpore
	0.45m (18")
	$127.98

	0014945
	4-AP
	Adult
	Plaster
	0.45m (18")
	$127.98

	0014946
	4-PP
	Paediatric
	Plaster
	0.45m (18")
	$127.98

	0014947
	4-IP
	Infant
	Plaster
	0.45m (18")
	$136.08

	0014948
	4-NP
	Neonatal
	Plaster
	0.90m (3')
	$136.08


	BCI Compatible 
	   [image: image5.jpg]0 O O O O
0 O O O





	Part Number
	Model Number
	Patient Type
	Tape Material
	Cable Length
	USD

Price per box of 24 sensors

	0014949
	5-AF
	Adult
	Micro Foam
	0.45m (18")
	$127.98

	0014950
	5-PF
	Paediatric
	Micro Foam
	0.45m (18")
	$127.98

	0014951
	5-IF
	Infant
	Micro Foam
	0.90m (3')
	$136.08

	0014952
	5-NF
	Neonatal
	Micro Foam
	0.90m (3')
	$136.08

	0014953
	5-AT
	Adult
	Transpore
	0.45m (18")
	$127.98

	0014954
	5-PT
	Paediatric
	Transpore
	0.45m (18")
	$127.98

	0014957
	5-AP
	Adult
	Plaster
	0.45m (18")
	$127.98

	0014958
	5-PP
	Paediatric
	Plaster
	0.45m (18")
	$127.98

	0014959
	5-IP
	Infant
	Plaster
	0.90m (3')
	$136.08

	0014960
	5-NP
	Neonatal
	Plaster
	0.90m (3')
	$136.08

	Novametrix Compatible 
	       [image: image6.jpg]0 O O O O
o O O O





	Part Number
	Model Number
	Patient Type
	Tape Material
	Cable Length
	USD

Price per box of 24 sensors

	0014961
	6-AF
	Adult
	Micro Foam
	0.45m (18")
	$127.98

	0014962
	6-PF
	Paediatric
	Micro Foam
	0.45m (18")
	$127.98

	0014963
	6-IF
	Infant
	Micro Foam
	0.90m (3')
	$136.08

	0014964
	6-NF
	Neonatal
	Micro Foam
	0.90m (3')
	$136.08

	0014965
	6-AT
	Adult
	Transpore
	0.45m (18")
	$127.98

	0014966
	6-PT
	Paediatric
	Transpore
	0.45m (18")
	$127.98

	0014969
	6-AP
	Adult
	Plaster
	0.45m (18")
	$127.98

	0014970
	6-PP
	Paediatric
	Plaster
	0.45m (18")
	$127.98

	0014971
	6-IP
	Infant
	Plaster
	0.90m (3')
	$136.08

	0014972
	6-NP
	Neonatal
	Plaster
	0.90m (3')
	$136.08


	Nonin Compatible 
	        [image: image7.jpg]




	Part Number
	Model Number
	Patient Type
	Tape Material
	Cable Length
	USD

Price per box of 24 sensors

	0014973
	7-AF
	Adult
	Micro Foam
	0.45m (18")
	$127.98

	0014974
	7-PF
	Paediatric
	Micro Foam
	0.45m (18")
	$127.98

	0014975
	7-IF
	Infant
	Micro Foam
	0.90m (3')
	$136.08

	0014976
	7-NF
	Neonatal
	Micro Foam
	0.90m (3')
	$136.08

	0014977
	7-AT
	Adult
	Transpore
	0.45m (18")
	$127.98

	0014978
	7-PT
	Paediatric
	Transpore
	0.45m (18")
	$127.98

	0014981
	7-AP
	Adult
	Plaster
	0.45m (18")
	$127.98

	0014982
	7-PP
	Paediatric
	Plaster
	0.45m (18")
	$127.98

	0014983
	7-IP
	Infant
	Plaster
	0.90m (3')
	$136.08

	0014984
	7-NP
	Neonatal
	Plaster
	0.90m (3')
	$136.08


	Viamed 
	        [image: image8.jpg]





	Part Number
	Model Number
	Patient Type
	Tape Material
	Cable Length
	USD

Price per box of 24 sensors

	0014985*
	8-AF
	Adult
	Micro Foam
	0.45m (18")
	$184.68

	0014986*
	8-PF
	Paediatric
	Micro Foam
	0.45m (18")
	$184.68

	0014987*
	8-IF
	Infant
	Micro Foam
	0.90m (3')
	$200.88

	0014988*
	8-NF
	Neonatal
	Micro Foam
	0.90m (3')
	$200.88

	0014989
	8-AT
	Adult
	Transpore
	0.45m (18")
	$184.68

	0014990
	8-PT
	Paediatric
	Transpore
	0.45m (18")
	$184.68

	0014993
	8-AP
	Adult
	Plaster
	0.45m (18")
	$184.68

	0014994
	8-PP
	Paediatric
	Plaster
	0.45m (18")
	$184.68

	0014995
	8-IP
	Infant
	Plaster
	0.90m (3')
	$200.88

	0014996
	8-NP
	Neonatal
	Plaster
	0.90m (3')
	$200.88


* Non stock items. Please contact Viamed for availability

CE 0086

Prices effective: 27th February 2012

Prices exclude:  VAT 

Delivery: EXW (Incoterms 2010) Viamed UK

[image: image9.png]