## 600-3_Spare_parts
On price list	Opera			Nufer part number	Pack qty
Y	0330001	Casing	With warning labels and spacers	521-7198-3	1
Y	0330124	LED-light	Special version	521-LED-CT	1
	0330147	Spacer sleeve (casing)	7.0 x 5.0 x 4.0mm	521-70040100.10	6
Y	0330348	Spacer sleeve (casing)	7.0 x 5.0 x 4.0mm	521-70040100.10	12
	0330349	Spacer sleeve (casing)	7.0 x 5.0 x 4.0mm	521-70040100.10	1
	0330350	Casing	Without warning label or spacers	521-7198-3	1
Y	0330351	Warning label		521-GF2704.07N	2
Y	0330352	Mounting screw (casing), pack of 12	M5 x 8 / Eco-fix / T25	521-817232-3	12
	0330353	Mounting screw (casing)			1
Y	0330354	Ceramic heating element FSL/2 600W	With mounting brackets	521-75.3012.S2-3	1
Y	0330355	Chasis		521-B1170-3	1
Y	0330356	Reflector		521-B1171-3	1
Y	0330357	Protection bar, pack of 2	With circlip	521-A1147.01	2
Y	0330358	Mounting bolt (Reflector), pack of 4		521-A1148A	4
	0330359	Mounting bolt (Reflector)			1
Y	0330360	Mounting screw (Reflector), pack of 12	KA 40 x 12 / WN 1411 / PH2	521-832448	12
	0330361	Mounting screw (Reflector)	KA 40 x 12 / WN 1411 / PH2		1
Y	0330362	Handle, pack of 2		521-A1146A	2
Y	0330363	Mounting screw (Handle), pack of 12	SS M4 x 12 Inbus 2.5	521-831013A2	12
	0330364	Mounting screw (Handle)	SS M4 x 12 Inbus 2.5		1
Y	0330365	Cable holder, pack of 12		521-5004.99-3	12
	0330366	Cable holder			1
Y	0330367	LED-holder		521-B1180-3	1
Y	0330368	LED-centering plate		521-B1181-3	1
Y	0330369	Mounting screw (LED), pack of 12	M3 x 12 / T10	521-867316-3	12
	0330370	Mounting screw (LED)	M3 x 12 / T10		1
Y	0330371	Spacer sleeve, pack of 12	5.5 x 3.5 x 2mm	521-B5.73.028-3	12
	0330372	Spacer sleeve	5.5 x 3.5 x 2mm		1
Y	0330373	Locknut, pack of 12	M3 / SW 5.5	521-861004-3	12
	0330374	Locknut	M3 / SW 5.5		1
Y	0330375	Locknut, pack of 12	M4 / SW 7.0	521-861006-3	12
	0330376	Locknut	M4 / SW 7.0		1
Y	0330377	LED-base	With connecting wires	521-954001-3	1
Y	0330378	Powerboard	Complete with mains filter, plug and main switch	521-PB-CT-3	1
Y	0330379	Mounting screw (unit socket), pack of 12	M3 x 8 / T10	521-867314-3	12
	0330380	Mounting screw (unit socket)	M3 x 8 / T10		1
Y	0330381	Spacer sleeve (Powerboard), pack of 12	5.5 x 3.5 x 10.0mm	521-B5.73.108-3	12
	0330382	Spacer sleeve (Powerboard)	5.5 x 3.5 x 10.0mm		1
Y	0330383	CPU-Board	Complete with keys and indicators	521-CPU-CT-3	1
Y	0330384	Front panel "CERATHERM"	Complete with Front cover	521-FP-CT-3	1
	0330385	Front panel "ISOTHERM"	Complete with Front cover	521-FP-IT-3	1
Y	0330386	Spacer sleeve (Front panel), pack of 12	5.5 x 3.5 x 7mm	521- B5.73.078-3	12
	0330387	Spacer sleeve (Front panel)	5.5 x 3.5 x 7mm		1
Y	0330388	Mounting screw (Front panel), pack of 12	SS M3 x 6 / T10	521-865651-3	12
	0330389	Mounting screw (Front panel)	SS M3 x 6 / T10		1
Y	0330390	Potential equalisation connector	Complete with bolt, PE-washer, lock washer and nut M6	521-POAG-CT-3	1
Y	0330391	Fuse (unit socket), pack of 10	3.15 AT (5 x 20mm) FST	521-0034.3122-3	10
	0330392	Fuse (unit socket)	3.15 AT (5 x 20mm) FST		1
Y	0330393	Fuse (powerboard), pack of 10	800 mAT (5 x 20mm) FST	521-0034.3116-3	10
	0330394	Fuse (powerboard)	800 mAT (5 x 20mm) FST		1
Y	0330395	Insulating tube		521-502735-3	1m
	0330396	Reflector frame "ISOTHERM"		521-0210072	1
	0330397	Power cord (CH)	Length 2.5m (3 x 1.0mm2)	099-6900-113.64	1
	0330398	Power cord Schuko (EU)	Length 2.5m (3 x 1.0mm2)	099-6900-166.64	1

## Ceratherm_600-3
Opera			Subassembly of	Nufer part number
0310300		Ceratherm 600-3 Radiant Warmer		521A-60020-3-EX
0310301		Ceratherm 600-3 Radiant Warmer with fixed wall mounting bracket		521A-60023-3-EX
0310302		Ceratherm 600-3 Radiant Warmer with double jointed arm and wall mounting bracket		521A-60022-3-EX
0310303		Ceratherm 600-3 Radiant Warmer with double jointed arm and ceiling anchorage, with height adjustment (spring loaded arm)		521A-60024-3-EX
0310304		Ceratherm 600-3 Radiant Warmer on mobile floor stand, with height adjustment		521A-60035-3-EX
0310305		Ceratherm 600-3 Radiant Warmer with double jointed arm and wall mounting bracket, with height adjustment (spring balanced arm)		521A-60025-3-EX
0310311		Fixed wall mounting bracket	0310301	521-071204-EX
0310312		Double jointed arm and wall mounting bracket	0310302	521-093008300-EX
0310313		Double jointed arm and ceiling anchorage, with height adjustment (spring loaded arm)	0310303	523A-24-3-EX
0310314		Mobile floor stand, with height adjustment	0310304	523-90057150-EX
0310315		Double jointed arm and wall mounting bracket, with height adjustment (spring balance arm)	0310305	523A-25-3-EX

## 600-2_Spare_Parts
On price list	Opera			Nufer part number	Pack qty
Y	0300120	Reflector kit pre-assembled	Reflector, heating element and spacer	521-UMBAUKIT-B	1
Y	0330001	Casing		521-7198-3	1
Y	0330002	Protective Glass		521-960003	1
Y	0330120	Ceramic Heating Element		521-753011	1
Y	0330125	Halogen Lamp 12V, 20W		521-0-BAB	1
Y	0330127	Mains Input Socket with Filter		521-175503	1
Y	0330128	Controller Board	With front plate, without front panel	521-185001	1
Y	0330138	Transformer 36 VA		521-175502	1
Y	0330143	Lamp Socket with cable		521-175004	1
Y	0330144	Fuse holder 5 x 20mm, IP40		521-0031-1381	1
Y	0330145	Ceramic Terminals , 3 poles		521-175003	1
Y	0330160	Light Switch	White	521-18581105L	1
Y	0330161	ON/OFF Switch	White	521-18581105IO	1
Y	0330170	Fuse 0.2 AT	5 x 20mm FST	521-0034.3110	10
Y	0330171	Fuse 1.6 AT	5 x 20mm FST	521-0034.3119	10
Y	0330172	Fuse 3.15 AT	5 x 20mm FST (2 per socket)	521-0034.3122	10
Y	0330173	Chasis		521-1145	1
Y	0330174	Front panel		521-935000	1
Y	0330175	Flat Gasket for Lamp		521-965002	1
Y	0330351	Warning label		521-GF2704.07N	2

## Other_parts
Opera		Nufer part number
0330129	Ceratherm 600-2 Nose Segment	521-37247
0330146	Ceratherm 600-2 Circlips	521-999
0330162	Plastic Bracket Cover	521-T37154
0330163	Wall Mounting Cover	523-93008065