## Sheet1
NHS Eclass	Part Number	GHX Description	GHX Extended Description	Price List Description	GHX Product Code	Number Items in Pack	GHX Unit Size	GHX Unit of Measure Description	GHX Brand Name
FDB	0300120	Reflector kit pre-assembled	Reflector, heating element and spacer	Reflector kit pre-assembled\nReflector, heating element and spacer	521-UMBAUKIT-B	1	EA	Each	Nufer
FDB	0330001	Casing			521-7198-3	1	EA	Each	Nufer
FDB	0330002	Protective Glass			521-960003	1	EA	Each	Nufer
FDB	0330120	Ceramic Heating Element			521-753011	1	EA	Each	Nufer
FDB	0330125	Halogen Lamp 12V, 20W			521-0-BAB	1	EA	Each	Nufer
FDB	0330127	Mains Input Socket with Filter			521-175503	1	EA	Each	Nufer
FDB	0330128	Controller Board	With front plate, without front panel	Controller Board\nWith front plate, without front panel	521-185001	1	EA	Each	Nufer
FDB	0330138	Transformer 36 VA			521-175502	1	EA	Each	Nufer
FDB	0330143	Lamp Socket with cable			521-175004	1	EA	Each	Nufer
FDB	0330144	Fuse holder 5 x 20mm, IP40			521-0031-1381	1	EA	Each	Nufer
FDB	0330145	Ceramic Terminals , 3 poles			521-175003	1	EA	Each	Nufer
FDB	0330160	Light Switch	White	Light Switch\nWhite	521-18581105L	1	EA	Each	Nufer
FDB	0330161	ON/OFF Switch	White	ON/OFF Switch\nWhite	521-18581105IO	1	EA	Each	Nufer
FDB	0330170	Fuse 0.2 AT	5 x 20mm FST	Fuse 0.2 AT\n5 x 20mm FST	521-0034.3110	10	PK	Pack	Nufer
FDB	0330171	Fuse 1.6 AT	5 x 20mm FST	Fuse 1.6 AT\n5 x 20mm FST	521-0034.3119	10	PK	Pack	Nufer
FDB	0330172	Fuse 3.15 AT	5 x 20mm FST (2 per socket)	Fuse 3.15 AT\n5 x 20mm FST (2 per socket)	521-0034.3122	10	PK	Pack	Nufer
FDB	0330173	Chasis			521-1145	1	EA	Each	Nufer
FDB	0330174	Front panel			521-935000	1	EA	Each	Nufer
FDB	0330175	Flat Gasket for Lamp			521-965002	1	EA	Each	Nufer
FDB	0330351	Warning label			521-GF2704.07N	2	PK	Pack	Nufer

FDB	0330001	Casing	With warning labels and spacers	Casing\nWith warning labels and spacers	521-7198-3	1	EA	Each	Nufer
FDB	0330124	LED-light	Special version	LED-light\nSpecial version	521-LED-CT	1	EA	Each	Nufer
FDB	0330348	Spacer sleeve (casing)	7.0 x 5.0 x 4.0mm	Spacer sleeve (casing)\n7.0 x 5.0 x 4.0mm	521-70040100.10	12	PK	Pack	Nufer
FDB	0330351	Warning label		Warning label	521-GF2704.07N	2	PK	Pack	Nufer
FDB	0330352	Mounting screw (casing), pack of 12	M5 x 8 / Eco-fix / T25	Mounting screw (casing), pack of 12\nM5 x 8 / Eco-fix / T25	521-817232-3	12	PK	Pack	Nufer
FDB	0330354	Ceramic heating element FSL/2 600W	With mounting brackets	Ceramic heating element FSL/2 600W\nWith mounting brackets	521-75.3012.S2-3	1	EA	Each	Nufer
FDB	0330355	Chasis		Chasis	521-B1170-3	1	EA	Each	Nufer
FDB	0330356	Reflector		Reflector	521-B1171-3	1	EA	Each	Nufer
FDB	0330357	Protection bar, pack of 2	With circlip	Protection bar, pack of 2\nWith circlip	521-A1147.01	2	PK	Pack	Nufer
FDB	0330358	Mounting bolt (Reflector), pack of 4		Mounting bolt (Reflector), pack of 4	521-A1148A	4	PK	Pack	Nufer
FDB	0330360	Mounting screw (Reflector), pack of 12	KA 40 x 12 / WN 1411 / PH2	Mounting screw (Reflector), pack of 12\nKA 40 x 12 / WN 1411 / PH2	521-832448	12	PK	Pack	Nufer
FDB	0330362	Handle, pack of 2		Handle, pack of 2	521-A1146A	2	PK	Pack	Nufer
FDB	0330363	Mounting screw (Handle), pack of 12	SS M4 x 12 Inbus 2.5	Mounting screw (Handle), pack of 12\nSS M4 x 12 Inbus 2.5	521-831013A2	12	PK	Pack	Nufer
FDB	0330365	Cable holder, pack of 12		Cable holder, pack of 12	521-5004.99-3	12	PK	Pack	Nufer
FDB	0330367	LED-holder		LED-holder	521-B1180-3	1	EA	Each	Nufer
FDB	0330368	LED-centering plate		LED-centering plate	521-B1181-3	1	EA	Each	Nufer
FDB	0330369	Mounting screw (LED), pack of 12	M3 x 12 / T10	Mounting screw (LED), pack of 12\nM3 x 12 / T10	521-867316-3	12	PK	Pack	Nufer
FDB	0330371	Spacer sleeve, pack of 12	5.5 x 3.5 x 2mm	Spacer sleeve, pack of 12\n5.5 x 3.5 x 2mm	521-B5.73.028-3	12	PK	Pack	Nufer
FDB	0330373	Locknut, pack of 12	M3 / SW 5.5	Locknut, pack of 12\nM3 / SW 5.5	521-861004-3	12	PK	Pack	Nufer
FDB	0330375	Locknut, pack of 12	M4 / SW 7.0	Locknut, pack of 12\nM4 / SW 7.0	521-861006-3	12	PK	Pack	Nufer
FDB	0330377	LED-base	With connecting wires	LED-base\nWith connecting wires	521-954001-3	1	EA	Each	Nufer
FDB	0330378	Powerboard	Complete with mains filter, plug and main switch	Powerboard\nComplete with mains filter, plug and main switch	521-PB-CT-3	1	EA	Each	Nufer
FDB	0330379	Mounting screw (unit socket), pack of 12	M3 x 8 / T10	Mounting screw (unit socket), pack of 12\nM3 x 8 / T10	521-867314-3	12	PK	Pack	Nufer
FDB	0330381	Spacer sleeve (Powerboard), pack of 12	5.5 x 3.5 x 10.0mm	Spacer sleeve (Powerboard), pack of 12\n5.5 x 3.5 x 10.0mm	521-B5.73.108-3	12	PK	Pack	Nufer
FDB	0330383	CPU-Board	Complete with keys and indicators	CPU-Board\nComplete with keys and indicators	521-CPU-CT-3	1	EA	Each	Nufer
FDB	0330384	Front panel "CERATHERM"	Complete with Front cover	Front panel "CERATHERM"\nComplete with Front cover	521-FP-CT-3	1	EA	Each	Nufer
FDB	0330386	Spacer sleeve (Front panel), pack of 12	5.5 x 3.5 x 7mm	Spacer sleeve (Front panel), pack of 12\n5.5 x 3.5 x 7mm	521- B5.73.078-3	12	PK	Pack	Nufer
FDB	0330388	Mounting screw (Front panel), pack of 12	SS M3 x 6 / T10	Mounting screw (Front panel), pack of 12\nSS M3 x 6 / T10	521-865651-3	12	PK	Pack	Nufer
FDB	0330390	Potential equalisation connector	Complete with bolt, PE-washer, lock washer and nut M6	Potential equalisation connector\nComplete with bolt, PE-washer, lock washer and nut M6	521-POAG-CT-3	1	EA	Each	Nufer
FDB	0330391	Fuse (unit socket), pack of 10	3.15 AT (5 x 20mm) FST	Fuse (unit socket), pack of 10\n3.15 AT (5 x 20mm) FST	521-0034.3122-3	10	PK	Pack	Nufer
FDB	0330393	Fuse (powerboard), pack of 10	800 mAT (5 x 20mm) FST	Fuse (powerboard), pack of 10\n800 mAT (5 x 20mm) FST	521-0034.3116-3	10	PK	Pack	Nufer
FDB	0330395	Insulating tube		Insulating tube	521-502735-3	1m	PK	Pack	Nufer
FDB	0330147	Spacer sleeve (casing)	7.0 x 5.0 x 4.0mm	Spacer sleeve (casing)\n7.0 x 5.0 x 4.0mm	521-70040100.10	6	PK	Pack	Nufer
FDB	0330349	Spacer sleeve (casing)	7.0 x 5.0 x 4.0mm	Spacer sleeve (casing)\n7.0 x 5.0 x 4.0mm	521-70040100.10	1	EA	Each	Nufer
FDB	0330350	Casing	Without warning label or spacers	Casing\nWithout warning label or spacers	521-7198-3	1	EA	Each	Nufer
FDB	0330353	Mounting screw (casing)		Mounting screw (casing)		1	EA	Each	Nufer
FDB	0330359	Mounting bolt (Reflector)		Mounting bolt (Reflector)		1	EA	Each	Nufer
FDB	0330361	Mounting screw (Reflector)	KA 40 x 12 / WN 1411 / PH2	Mounting screw (Reflector)\nKA 40 x 12 / WN 1411 / PH2		1	EA	Each	Nufer
FDB	0330364	Mounting screw (Handle)	SS M4 x 12 Inbus 2.5	Mounting screw (Handle)\nSS M4 x 12 Inbus 2.5		1	EA	Each	Nufer
FDB	0330366	Cable holder		Cable holder		1	EA	Each	Nufer
FDB	0330370	Mounting screw (LED)	M3 x 12 / T10	Mounting screw (LED)\nM3 x 12 / T10		1	EA	Each	Nufer
FDB	0330372	Spacer sleeve	5.5 x 3.5 x 2mm	Spacer sleeve\n5.5 x 3.5 x 2mm		1	EA	Each	Nufer
FDB	0330374	Locknut	M3 / SW 5.5	Locknut\nM3 / SW 5.5		1	EA	Each	Nufer
FDB	0330376	Locknut	M4 / SW 7.0	Locknut\nM4 / SW 7.0		1	EA	Each	Nufer
FDB	0330380	Mounting screw (unit socket)	M3 x 8 / T10	Mounting screw (unit socket)\nM3 x 8 / T10		1	EA	Each	Nufer
FDB	0330382	Spacer sleeve (Powerboard)	5.5 x 3.5 x 10.0mm	Spacer sleeve (Powerboard)\n5.5 x 3.5 x 10.0mm		1	EA	Each	Nufer
FDB	0330385	Front panel "ISOTHERM"	Complete with Front cover	Front panel "ISOTHERM"\nComplete with Front cover	521-FP-IT-3	1	EA	Each	Nufer
FDB	0330387	Spacer sleeve (Front panel)	5.5 x 3.5 x 7mm	Spacer sleeve (Front panel)\n5.5 x 3.5 x 7mm		1	EA	Each	Nufer
FDB	0330389	Mounting screw (Front panel)	SS M3 x 6 / T10	Mounting screw (Front panel)\nSS M3 x 6 / T10		1	EA	Each	Nufer
FDB	0330392	Fuse (unit socket)	3.15 AT (5 x 20mm) FST	Fuse (unit socket)\n3.15 AT (5 x 20mm) FST		1	EA	Each	Nufer
FDB	0330394	Fuse (powerboard)	800 mAT (5 x 20mm) FST	Fuse (powerboard)\n800 mAT (5 x 20mm) FST		1	EA	Each	Nufer
FDB	0330396	Reflector frame "ISOTHERM"		Reflector frame "ISOTHERM"	521-0210072	1	EA	Each	Nufer
FDB	0330397	Power cord (CH)	Length 2.5m (3 x 1.0mm2)	Power cord (CH)\nLength 2.5m (3 x 1.0mm2)	099-6900-113.64	1	EA	Each	Nufer
FDB	0330398	Power cord Schuko (EU)	Length 2.5m (3 x 1.0mm2)	Power cord Schuko (EU)\nLength 2.5m (3 x 1.0mm2)	099-6900-166.64	1	EA	Each	Nufer