## Sheet1
Covidien part number | Covidien Description | Patient type | Application site | Patient condition | Term of usage | Line length | Box quantity | Comments referenced to VersaStream Oridion | Viamed part number
010433 | Smart CapnoLine H Plus | Adult/Intermediate O2 | Oral/Nasal | Non-intubated | Long term | 200 cm | 25 | Direct compatible: | 4420919
010625 | Smart CapnoLine H Plus | Adult/Intermediate O2 100 count | Oral/Nasal | Non-intubated | Long term | 200 cm | 100 | Smaller box quantity, see: | 4420919
012463 | Smart CapnoLine H Plus | Adult/Intermediate O2 Long | Oral/Nasal | Non-intubated | Long term | 400 cm | 25 | Shorter length version, see: | 4420919
010582 | Smart CapnoLine H | Pediatric O2 | Oral/Nasal | Non-intubated | Long term | 200 cm | 25 | Direct compatible: | 4420920
012464 | Smart CapnoLine H | Pediatric O2 Long | Oral/Nasal | Non-intubated | Long term | 400 cm | 25 | Shorter length version, see: | 4420920
008177 | CapnoLine H | Adult | Nasal | Non-intubated | Long term | 200 cm | 25 | Direct compatible: | 4420907
008179 | CapnoLine H | Infant/Neonates | Nasal | Non-intubated | Long term | 200 cm | 25 | Direct compatible: | 4420909
012465 | CapnoLine H | Infant/Neonates Long | Nasal | Non-intubated | Long term | 400 cm | 25 | Shorter length version, see: | 4420909
008180 | CapnoLine H | Adult O2 | Nasal | Non-intubated | Long term | 200 cm | 25 | Direct compatible: | 4420910
008181 | CapnoLine H | Pediatric O2 | Nasal | Non-intubated | Long term | 200 cm | 25 | Direct compatible: | 4420911
012111 | CapnoLine H | Infant/Neonates O2 | Nasal | Non-intubated | Long term | 200 cm | 25 | Direct compatible: | 4420912
009818 | Smart CapnoLine Plus | Adult/Intermediate | Oral/Nasal | Non-intubated | Short term | 200 cm | 25 | No direct equivalent, see nearest alternative: | 4420915
010209 | Smart CapnoLine Plus | Adult/Intermediate 100 count | Oral/Nasal | Non-intubated | Short term | 200 cm | 100 | No direct equivalent, see nearest alternative: | 4420915
010340 | Smart CapnoLine Plus | Adult/Intermediate Long | Oral/Nasal | Non-intubated | Short term | 400 cm | 25 | No direct equivalent, see nearest alternative: | 4420915
010339 | Smart CapnoLine Plus | Adult/Intermediate Long 100 count | Oral/Nasal | Non-intubated | Short term | 400 cm | 100 | No direct equivalent, see nearest alternative: | 4420915
009822 | Smart CapnoLine Plus | Adult/Intermediate O2 | Oral/Nasal | Non-intubated | Short term | 200 cm | 25 | Direct compatible: | 4420915
010210 | Smart CapnoLine Plus | Adult/Intermediate O2 100 count | Oral/Nasal | Non-intubated | Short term | 200 cm | 100 | Smaller box quantity, see: | 4420915
009826 | Smart CapnoLine Plus | Adult/Intermediate O2 Long | Oral/Nasal | Non-intubated | Short term | 400 cm | 25 | Shorter length version, see: | 4420915
010341 | Smart CapnoLine Plus | Adult/Intermediate O2 Long 100 count | Oral/Nasal | Non-intubated | Short term | 400 cm | 100 | Shorter length version & smaller box quantity, see: | 4420915
007266 | Smart Capnoline | Pediatric | Oral/Nasal | Non-intubated | Short term | 200 cm | 25 | Direct compatible: | 4420914
007269 | Smart Capnoline | Pediatric O2 | Oral/Nasal | Non-intubated | Short term | 200 cm | 25 | Direct compatible: | 4420916
007743 | Smart Capnoline | Pediatric O2 Long | Oral/Nasal | Non-intubated | Short term | 400 cm | 25 | Shorter length version, see: | 4420916
012528 | Smart Capnoline Guardian | Adult/Intermediate | Oral/Nasal | Non-intubated | Short term | 200 cm | 25 | No equivalent
012537 | Smart Capnoline Guardian | Adult/Intermediate 100 count | Oral/Nasal | Non-intubated | Short term | 200 cm | 100 | No equivalent
012529 | Smart Capnoline Guardian | Adult/Intermediate O2 | Oral/Nasal | Non-intubated | Short term | 200 cm | 25 | No equivalent
012538 | Smart Capnoline Guardian | Adult/Intermediate O2 100 count | Oral/Nasal | Non-intubated | Short term | 200 cm | 100 | No equivalent
012530 | Smart Capnoline Guardian | Adult/Intermediate O2 Long | Oral/Nasal | Non-intubated | Short term | 400 cm | 25 | No equivalent
012539 | Smart Capnoline Guardian | Adult/Intermediate O2 Long 100 count | Oral/Nasal | Non-intubated | Short term | 400 cm | 100 | No equivalent
012542 | Smart Capnoline Guardian | Hook and Loop Strap |  | Non-intubated |  |  | 25 | No equivalent
006912 | O2/CO2 Nasal FilterLine | Adult O2 | Nasal | Non-intubated | Short term | 200 cm | 25 | Direct compatible: | 4420904
010304 | O2/CO2 Nasal FilterLine | Adult O2 100 count | Nasal | Non-intubated | Short term | 200 cm | 100 | Smaller box quantity, see: | 4420904
007739 | O2/CO2 Nasal FilterLine | Adult O2 Long | Nasal | Non-intubated | Short term | 400 cm | 25 | Shorter length version, see: | 4420904
010344 | O2/CO2 Nasal FilterLine | Adult O2 Long 100 count | Nasal | Non-intubated | Short term | 400 cm | 100 | Shorter length version & smaller box quantity, see: | 4420904
006913 | O2/CO2 Nasal FilterLine | Pediatric O2 | Nasal | Non-intubated | Short term | 200 cm | 25 | Direct compatible: | 4420905
XS4476 | Nasal/NIV Line | Infant/Neonates | Nasal | Non-intubated | Short term | 200 cm | 25 | Direct compatible: | 4420903
008174 | Nasal/NIV Line | Adult | Nasal | Non-intubated | Short term | 200 cm | 25 | Direct compatible: | 4420901
008175 | Nasal/NIV Line | Pediatric | Nasal | Non-intubated | Short term | 200 cm | 25 | Direct compatible: | 4420902
XS04624 | Filterline H Set | Adult/Pediatric | Airway adapter | Intubated | Long term | 200 cm | 25 | Direct compatible: | 4420923
010580 | Filterline H Set | Adult/Pediatric 100 count | Airway adapter | Intubated | Long term | 200 cm | 100 | Smaller box quantity, see: | 4420923
007737 | Filterline H Set | Adult/Pediatric Long | Airway adapter | Intubated | Long term | 400 cm | 25 | Shorter length version, see: | 4420923
006324 | Filterline H Set | Infant/Neonates | Airway adapter | Intubated | Long term | 200 cm | 25 | Direct compatible: | 4420924
007738 | Filterline H Set | Infant/Neonates Long | Airway adapter | Intubated | Long term | 400 cm | 25 | Shorter length version, see: | 4420924
010787 | VitaLine H Set | Adult/Pediatric | Airway adapter | Intubated | Long term | 200 cm | 25 | Direct compatible: | 4420925
010807 | VitaLine H Set | Infant/Neonates | Airway adapter | Intubated | Long term | 200 cm | 25 | Direct compatible: | 4420926
XS04620 | FilterLine Set | Adult/Pediatric | Airway adapter | Intubated | Short term | 200 cm | 25 | Direct compatible: | 4420921
010579 | FilterLine Set | Adult/Pediatric 100 count | Airway adapter | Intubated | Short term | 200 cm | 100 | Smaller box quantity, see: | 4420921
007768 | FilterLine Set | Adult/Pediatric Long | Airway adapter | Intubated | Short term | 400 cm | 25 | Shorter length version, see: | 4420921