

16th October 2006


00004990
Maureen Scott

Estates Department

Sunderland Eye Infirmary

Queen Alexander Rd

Sunderland, Tyne & Wear SR2 9HP   
16th October 2006

Dear Maureen,

Please find on the following page a listing of the Tom Thumb serial numbers and status. Please note that we were not able to locate 2 of the units, resulting in a total of 46 units, not the full 48 detailed on your order (ref RC/7840).

We also had to use some parts, which are chargeable, so I have prepared a quotation to include these parts along with a reduction in the number of services.  Please can you amend and re-send the order, thanks.

If the missing 2 units turn up, they can be sent to us for service but will require a separate order raising to cover the work.

I look forward to receiving the amended order in due course. If you have any queries, please do not hesitate to contact me.

Yours sincerely

Steve Hardaker
UK Sales Manager
VIC has arrived…. 

To purchase any of the Viamed range of products visit Viamed Internet Commerce, which can be found at www.viamed-online.com
Delivery Suite  – 22 units in total (22 pass, 0 fail) 
Location


Serial Number


Pass/Fail

Parts Used (if any)

LDRP1


VMA0110



Pass

LDRP2


VMA0105



Pass


1x 0330210 precision valve

LDRP3


VMA0087



Pass

LDRP4


VMA0084



Pass

LDRP5


VMA0114



Pass

LDRP6


VMA0111



Pass

LDRP7


VMA0077



Pass

LDRP8


VMA0103



Pass

LDRP9


VMA0108



Pass

LDRP10

VMA0081



Pass

LDRP11

VMA0104



Pass

LDRP12

VMI0011



Pass

LDRP14

VMA0086



Pass

LDRP15

VMA0115



Pass

LDRP16

VMA0080



Pass

LDRP17

VMA0082



Pass

LDRP18

VMA0106



Pass

LDRP19

VMA0107



Pass

LDRP20

VMA0112



Pass

LDRP21

VMA0083



Pass

LDRP22

VMA0088



Pass


1x 0330210 precision valve

LDRP23

VMA0109



Pass

Neonatal Unit  – 24 units in total (24 pass, 0 fail, 2 not able to locate)

Serial Number

Pass/Fail  

Parts Used (if any)

040090



Pass

VMC9069


Pass

040085



Pass

040086



Pass

040028



Pass

040019



Pass

040093



Pass

040027



Pass

040022



Pass

040021



Pass

VMC9070


Pass

040024



Pass

C02




Pass

040018



Pass

VMC9071


Pass

040025



Pass





040023



Pass

040026



Pass





VMC9072


Pass


1x 0330210 precision valve, 1x 0330203 gauge

VMA9073


Pass

VMC9068


Pass

VMA9001


Pass



VMA9009


Pass


1x 0330236 gauge face

040091



Pass

040092



Not Serviced

040020



Not Serviced



(  Page 2

