Due to standards requirements and changes, the power supply with the original style connector is not available for use any more. Therefore, the only option is to upgrade to the new approved style connector combination (connector on the power supply cable and the socket on the lower casing assembly.

Option 1

If the actual external power supply is faulty, then parts and labour are as follows:

| Qty | P/N | Description | Unit Price | Total |
| --- | --- | --- | --- | --- |
| 0.25 | 4440000 | Labour | £90.00 | £22.50 |
| 1 | 4400052 | Lower Casing Assembly (with upgraded power socket and battery PCB) | £50.30 | £50.30 |
| 1 | 4420596 | Power Supply (external power pack, V3) | £42.95 | £42.95 |
| 1 | 4430603 | UK Plug Adapter* | £50.30 | £5.53 |
|  |  |  | Total | £121.28 |

If the UK plug adapter from the original power supply is undamaged, then it is easily removed and can be fitted to the replacement power supply

Option 2

If either the cable or the connector of the external power is damaged, it can be repaired and upgraded, therefore the parts and labour required are as follows:

| Qty | P/N | Description | Unit Price | Total |
| --- | --- | --- | --- | --- |
| 0.25 | 4440000 | Labour | £90.00 | £22.50 |
| 1 | 4400052 | Lower Casing Assembly (with upgraded power socket) | £50.30 | £50.30 |
| 1 | 4430065 | Power Pack cable with upgraded connector | £14.75 | £14.75 |
|  |  |  | Total | £87.55 |

Prices exclude VAT and delivery.