## Standard_Lines
Model	REF	TYP			CE Markings - Barcode	CE Markings - actual	CE Classification
Nasal prong	5090121001-40	4420560		4420560	None	CE	I
Nasal – Adult	5090121004-25	4420710		4420710	None	CE	I
Nasal – Paed	5090121002-25	4420711		4420711	None	CE	I
Nasal – Infant	5090121005	4420713		4420713	None	CE	I
Nasal/Oral – Adult	5090121008-25	4420730		4420730	None	CE	I
Nasal/Oral – Paed	5090121009-25	4420731		4420731	None	CE	I
Sampling line	?	4420550		4420550	None	CE	I	Superseded by S-Type line 4421503 ?

Nasal with O2 – Adult	5090121006	4420718		4420718	None	CE0482	IIa
Nasal with O2 - Paed	5090121007	4420719		4420719	None	CE0482	IIa
Nasal/Oral with O2 – Adult	5090121010	4420738		4420738	None	CE0482	IIa
Nasal/Oral with O2 - Paed	5090121011	4420739		4420739	None	CE0482	IIa
Airway adapter	6090121015	4420531		4420531	None	CE0482	IIa

## H_&_S_lines
Model	REF	TYP			CE Markings - Barcode	CE Markings - actual	CE Classification
S-Type	8090121302-V	4421504		4421504	None	CE	Class I
S-Type	8090121303-V	4421505		4421505	None	CE	Class I
S-Type	8090121304-V	4421507		4421507	None	CE	Class I
H-Type	8090121310-V	4421513		4421513	None	CE	Class I
H-Type	8090121315-V	4421523		4421523	None	CE0482	Class IIa
H-Type	8090121316-V	4421533		4421533	None	CE0482	Class IIa

## Full_list_of_VersaStream
	CE Markings - Barcode	CE Markings - actual	CE Classification
4420800	None	CE	Class I
4420801	None	CE	Class I
4420802	None	CE	Class I
4420803	None	CE	Class I
4420807	None	CE	Class I
4420808	None	CE	Class I
4420809	None	CE	Class I
4420813	None	CE	Class I
4420814	None	CE	Class I
4420817	None	CE	Class I
4420818	None	CE	Class I
4420825	None	CE	Class I
4420826	None	CE	Class I
4420829	None	CE	Class I
4420857	None	CE	Class I
4420858	None	CE	Class I
4420859	None	CE	Class I
4420867	None	CE	Class I
4420868	None	CE	Class I
4420876	None	CE	Class I
4420900	None	CE	Class I
4420901	None	CE	Class I
4420902	None	CE	Class I
4420903	None	CE	Class I
4420907	None	CE	Class I
4420908	None	CE	Class I
4420909	None	CE	Class I
4420913	None	CE	Class I
4420914	None	CE	Class I
4420917	None	CE	Class I
4420918	None	CE	Class I
4421504	None	CE	Class I
4421505	None	CE	Class I
4421507	None	CE	Class I
4421513	None	CE	Class I
4420804	None	CE0482	Class IIa
4420805	None	CE0482	Class IIa
4420806	None	CE0482	Class IIa
4420810	None	CE0482	Class IIa
4420811	None	CE0482	Class IIa
4420812	None	CE0482	Class IIa
4420815	None	CE0482	Class IIa
4420816	None	CE0482	Class IIa
4420819	None	CE0482	Class IIa
4420820	None	CE0482	Class IIa
4420821	None	CE0482	Class IIa
4420822	None	CE0482	Class IIa
4420823	None	CE0482	Class IIa
4420824	None	CE0482	Class IIa
4420827	None	CE0482	Class IIa
4420828	None	CE0482	Class IIa
4420860	None	CE0482	Class IIa
4420861	None	CE0482	Class IIa
4420862	None	CE0482	Class IIa
4420869	None	CE0482	Class IIa
4420870	None	CE0482	Class IIa
4420873	None	CE0482	Class IIa
4420874	None	CE0482	Class IIa
4420904	None	CE0482	Class IIa
4420905	None	CE0482	Class IIa
4420906	None	CE0482	Class IIa
4420910	None	CE0482	Class IIa
4420911	None	CE0482	Class IIa
4420912	None	CE0482	Class IIa
4420915	None	CE0482	Class IIa
4420916	None	CE0482	Class IIa
4420919	None	CE0482	Class IIa
4420920	None	CE0482	Class IIa
4420921	None	CE0482	Class IIa
4420922	None	CE0482	Class IIa
4420923	None	CE0482	Class IIa
4420924	None	CE0482	Class IIa
4420925	None	CE0482	Class IIa
4420926	None	CE0482	Class IIa
4420950	None	CE0482	Class IIa
4420951	None	CE0482	Class IIa
4420952	None	CE0482	Class IIa
4420953	None	CE0482	Class IIa
4420954	None	CE0482	Class IIa
4420955	None	CE0482	Class IIa
4420956	None	CE0482	Class IIa
4420957	None	CE0482	Class IIa
4420958	None	CE0482	Class IIa
4420959	None	CE0482	Class IIa
4420960	None	CE0482	Class IIa
4420961	None	CE0482	Class IIa
4420962	None	CE0482	Class IIa
4420963	None	CE0482	Class IIa
4420964	None	CE0482	Class IIa
4420965	None	CE0482	Class IIa
4420966	None	CE0482	Class IIa
4420967	None	CE0482	Class IIa
4420968	None	CE0482	Class IIa
4420969	None	CE0482	Class IIa
4420970	None	CE0482	Class IIa
4420971	None	CE0482	Class IIa
4420972	None	CE0482	Class IIa
4420973	None	CE0482	Class IIa
4420974	None	CE0482	Class IIa
4420975	None	CE0482	Class IIa
4420976	None	CE0482	Class IIa
4421523	None	CE0482	Class IIa
4421533	None	CE0482	Class IIa

## Full_list_for_stock_fields
	CE Markings - Barcode	CE Markings - actual	CE Classification	Country of Origin
4420800	None	CE	Class I	Germany
4420801	None	CE	Class I	Germany
4420802	None	CE	Class I	Germany
4420803	None	CE	Class I	Germany
4420807	None	CE	Class I	Germany
4420808	None	CE	Class I	Germany
4420809	None	CE	Class I	Germany
4420813	None	CE	Class I	Germany
4420814	None	CE	Class I	Germany
4420817	None	CE	Class I	Germany
4420818	None	CE	Class I	Germany
4420825	None	CE	Class I	Germany
4420826	None	CE	Class I	Germany
4420829	None	CE	Class I	Germany
4420857	None	CE	Class I	Germany
4420858	None	CE	Class I	Germany
4420859	None	CE	Class I	Germany
4420867	None	CE	Class I	Germany
4420868	None	CE	Class I	Germany
4420876	None	CE	Class I	Germany
4420900	None	CE	Class I	Germany
4420901	None	CE	Class I	Germany
4420902	None	CE	Class I	Germany
4420903	None	CE	Class I	Germany
4420907	None	CE	Class I	Germany
4420908	None	CE	Class I	Germany
4420909	None	CE	Class I	Germany
4420913	None	CE	Class I	Germany
4420914	None	CE	Class I	Germany
4420917	None	CE	Class I	Germany
4420918	None	CE	Class I	Germany
4421504	None	CE	Class I	Germany
4421505	None	CE	Class I	Germany
4421507	None	CE	Class I	Germany
4421513	None	CE	Class I	Germany
4420804	None	CE0482	Class IIa	Germany
4420805	None	CE0482	Class IIa	Germany
4420806	None	CE0482	Class IIa	Germany
4420810	None	CE0482	Class IIa	Germany
4420811	None	CE0482	Class IIa	Germany
4420812	None	CE0482	Class IIa	Germany
4420815	None	CE0482	Class IIa	Germany
4420816	None	CE0482	Class IIa	Germany
4420819	None	CE0482	Class IIa	Germany
4420820	None	CE0482	Class IIa	Germany
4420821	None	CE0482	Class IIa	Germany
4420822	None	CE0482	Class IIa	Germany
4420823	None	CE0482	Class IIa	Germany
4420824	None	CE0482	Class IIa	Germany
4420827	None	CE0482	Class IIa	Germany
4420828	None	CE0482	Class IIa	Germany
4420860	None	CE0482	Class IIa	Germany
4420861	None	CE0482	Class IIa	Germany
4420862	None	CE0482	Class IIa	Germany
4420869	None	CE0482	Class IIa	Germany
4420870	None	CE0482	Class IIa	Germany
4420873	None	CE0482	Class IIa	Germany
4420874	None	CE0482	Class IIa	Germany
4420904	None	CE0482	Class IIa	Germany
4420905	None	CE0482	Class IIa	Germany
4420906	None	CE0482	Class IIa	Germany
4420910	None	CE0482	Class IIa	Germany
4420911	None	CE0482	Class IIa	Germany
4420912	None	CE0482	Class IIa	Germany
4420915	None	CE0482	Class IIa	Germany
4420916	None	CE0482	Class IIa	Germany
4420919	None	CE0482	Class IIa	Germany
4420920	None	CE0482	Class IIa	Germany
4420921	None	CE0482	Class IIa	Germany
4420922	None	CE0482	Class IIa	Germany
4420923	None	CE0482	Class IIa	Germany
4420924	None	CE0482	Class IIa	Germany
4420925	None	CE0482	Class IIa	Germany
4420926	None	CE0482	Class IIa	Germany
4420950	None	CE0482	Class IIa	Germany
4420951	None	CE0482	Class IIa	Germany
4420952	None	CE0482	Class IIa	Germany
4420953	None	CE0482	Class IIa	Germany
4420954	None	CE0482	Class IIa	Germany
4420955	None	CE0482	Class IIa	Germany
4420956	None	CE0482	Class IIa	Germany
4420957	None	CE0482	Class IIa	Germany
4420958	None	CE0482	Class IIa	Germany
4420959	None	CE0482	Class IIa	Germany
4420960	None	CE0482	Class IIa	Germany
4420961	None	CE0482	Class IIa	Germany
4420962	None	CE0482	Class IIa	Germany
4420963	None	CE0482	Class IIa	Germany
4420964	None	CE0482	Class IIa	Germany
4420965	None	CE0482	Class IIa	Germany
4420966	None	CE0482	Class IIa	Germany
4420967	None	CE0482	Class IIa	Germany
4420968	None	CE0482	Class IIa	Germany
4420969	None	CE0482	Class IIa	Germany
4420970	None	CE0482	Class IIa	Germany
4420971	None	CE0482	Class IIa	Germany
4420972	None	CE0482	Class IIa	Germany
4420973	None	CE0482	Class IIa	Germany
4420974	None	CE0482	Class IIa	Germany
4420975	None	CE0482	Class IIa	Germany
4420976	None	CE0482	Class IIa	Germany
4421523	None	CE0482	Class IIa	Germany
4421533	None	CE0482	Class IIa	Germany
4420850	None	None		Germany
4420851	None	None		Germany
4420852	None	None		Germany
4420853	None	None		Germany
4420854	None	None		Germany
4420855	None	None		Germany
4420856	None	None		Germany
4420863	None	None		Germany
4420864	None	None		Germany
4420865	None	None		Germany
4420866	None	None		Germany
4420871	None	None		Germany
4420872	None	None		Germany
4420880	None	None		Germany

## VersaStream_Viamed_
Model	REF	TYP			CE Markings - Barcode	CE Markings - actual	CE Classification
P-S-VIA-200	7090121001-V	4420800		4420800	None	CE	Class I
NA-S-VIA-200	7090121002-V	4420801		4420801	None	CE	Class I
NP-S-VIA-200	7090121003-V	4420802		4420802	None	CE	Class I
NI-S-VIA-200	7090121004-V	4420803		4420803	None	CE	Class I
NAO2-S-VIA-200	7090121005-V	4420804		4420804	None	CE0482	Class IIa
NPO2-S-VIA-200	7090121006-V	4420805		4420805	None	CE0482	Class IIa
NIO2-S-VIA-200	7090121007-V	4420806		4420806	None	CE0482	Class IIa
NA-L-VIA-200	7090121008-V	4420807		4420807	None	CE	Class I
NP-L-VIA-200	7090121009-V	4420808		4420808	None	CE	Class I
NI-L-VIA-200	7090121010-V	4420809		4420809	None	CE	Class I
NAO2-L-VIA-200	7090121011-V	4420810		4420810	None	CE0482	Class IIa
NPO2-L-VIA-200	7090121012-V	4420811		4420811	None	CE0482	Class IIa
NIO2-L-VIA-200	7090121013-V	4420812		4420812	None	CE0482	Class IIa
ONA-S-VIA-200	7090121014-V	4420813		4420813	None	CE	Class I
ONP-S-VIA-200	7090121015-V	4420814		4420814	None	CE	Class I
ONAO2-S-VIA-200	7090121016-V	4420815		4420815	None	CE0482	Class IIa
ONPO2-S-VIA-200	7090121017-V	4420816		4420816	None	CE0482	Class IIa
ONA-L-VIA-200	7090121018-V	4420817		4420817	None	CE	Class I
ONP-L-VIA-200	7090121019-V	4420818		4420818	None	CE	Class I
ONAO2-L-VIA-200	7090121020-V	4420819		4420819	None	CE0482	Class IIa
ONPO2-L-VIA-200	7090121021-V	4420820		4420820	None	CE0482	Class IIa
A22-S-VIA-200	7090121022-V	4420821		4420821	None	CE0482	Class IIa
A4.0-S-VIA-200	7090121023-V	4420822		4420822	None	CE0482	Class IIa
A22-L-VIA-200	7090121024-V	4420823		4420823	None	CE0482	Class IIa
A4.0-L-VIA-200	7090121025-V	4420824		4420824	None	CE0482	Class IIa
LLM-S-VIA-200	7090121029-V	4420825		4420825	None	CE	Class I
LLM-L-VIA-200	7090121130-V	4420826		4420826	None	CE	Class I
A22-LA-VIA-200	7090121135-V	4420827		4420827	None	CE0482	Class IIa
A4.0-LA-VIA-200	7090121136-V	4420828		4420828	None	CE0482	Class IIa
LLM-LA-VIA-200	7090121137-V	4420829		4420829	None	CE	Class I

## VersaStream_LLM
Model	REF	TYP			CE Markings - Barcode	CE Markings - actual	CE Classification
NA-L-LLM-220	7090121033-V	4420857		4420850	None	None
NP-L-LLM-200	7090121034-V	4420858		4420851	None	None
NI-L-LLM-200	7090121035-V	4420859		4420852	None	None
NAO2-L-LLM-200	7090121036-V	4420860		4420853	None	None
NPO2-L-LLM-200	7090121037-V	4420861		4420854	None	None
NIO2-L-LLM-200	7090121038-V	4420862		4420855	None	None
ONA-L-LLM-200	7090121043-V	4420867		4420856	None	None
ONP-L-LLM-200	7090121044-V	4420868		4420857	None	CE	Class I
ONAO2-L-LLM-200	7090121045-V	4420869		4420858	None	CE	Class I
ONPO2-L-LLM-200	7090121046-V	4420870		4420859	None	CE	Class I
A22-L-LLM-200	7090121049-V	4420873		4420860	None	CE0482	Class IIa
A4.0-L-LLM-200	7090121050-V	4420874		4420861	None	CE0482	Class IIa
LLM-L-LLM-200	7090121131-V	4420876		4420862	None	CE0482	Class IIa
				4420863	None	None
				4420864	None	None
				4420865	None	None
				4420866	None	None
				4420867	None	CE	Class I
				4420868	None	CE	Class I
				4420869	None	CE0482	Class IIa
				4420870	None	CE0482	Class IIa
				4420871	None	None
				4420872	None	None
				4420873	None	CE0482	Class IIa
				4420874	None	CE0482	Class IIa
				4420876	None	CE	Class I
				4420880	None	None

## VersaStream_Respironics
Model	REF	TYP			CE Markings - Barcode	CE Markings - actual	CE Classification
P-S-RES-200	7090121077-V	4420950		4420950	None	CE0482	Class IIa
NA-S-RES-200	7090121078-V	4420951		4420951	None	CE0482	Class IIa
NP-S-RES-200	7090121079-V	4420952		4420952	None	CE0482	Class IIa
NI-S-RES-200	7090121080-V	4420953		4420953	None	CE0482	Class IIa
NAO2-S-RES-200	7090121081-V	4420954		4420954	None	CE0482	Class IIa
NPO2-S-RES-200	7090121082-V	4420955		4420955	None	CE0482	Class IIa
NIO2-S-RES-200	7090121083-V	4420956		4420956	None	CE0482	Class IIa
NA-L-RES-220	7090121084-V	4420957		4420957	None	CE0482	Class IIa
NP-L-RES-200	7090121085-V	4420958		4420958	None	CE0482	Class IIa
NI-L-RES-200	7090121086-V	4420959		4420959	None	CE0482	Class IIa
NAO2-L-RES-200	7090121087-V	4420960		4420960	None	CE0482	Class IIa
NPO2-L-RES-200	7090121088-V	4420961		4420961	None	CE0482	Class IIa
NIO2-L-RES-200	7090121089-V	4420962		4420962	None	CE0482	Class IIa
ONA-S-RES-200	7090121090-V	4420963		4420963	None	CE0482	Class IIa
ONP-S-RES-200	7090121091-V	4420964		4420964	None	CE0482	Class IIa
ONAO2-S-RES-200	7090121092-V	4420965		4420965	None	CE0482	Class IIa
ONPO2-S-RES-200	7090121093-V	4420966		4420966	None	CE0482	Class IIa
ONA-L-RES-200	7090121094-V	4420967		4420967	None	CE0482	Class IIa
ONP-L-RES-200	7090121095-V	4420968		4420968	None	CE0482	Class IIa
ONAO2-L-RES-200	7090121096-V	4420969		4420969	None	CE0482	Class IIa
ONPO2-L-RES-200	7090121097-V	4420970		4420970	None	CE0482	Class IIa
A22-S-RES-200	7090121098-V	4420971		4420971	None	CE0482	Class IIa
A4.0-S-RES-200	7090121099-V	4420972		4420972	None	CE0482	Class IIa
A22-L-RES-200	7090121100-V	4420973		4420973	None	CE0482	Class IIa
A4.0-L-RES-200	7090121101-V	4420974		4420974	None	CE0482	Class IIa
LLM-S-RES-200	7090121127-V	4420975		4420975	None	CE0482	Class IIa
LLM-L-RES-200	7090121128-V	4420976		4420976	None	CE0482	Class IIa

## VersaStream_Oridion
Model	REF	TYP			CE Markings - Barcode	CE Markings - actual	CE Classification
P-S-ORI-200	7090121102-V	4420900		4420900	None	CE	Class I
NA-S-ORI-200	7090121103-V	4420901		4420901	None	CE	Class I
NP-S-ORI-200	7090121104-V	4420902		4420902	None	CE	Class I
NI-S-ORI-200	7090121105-V	4420903		4420903	None	CE	Class I
NAO2-S-ORI-200	7090121106-V	4420904		4420904	None	CE0482	Class IIa
NPO2-S-ORI-200	7090121107-V	4420905		4420905	None	CE0482	Class IIa
NIO2-S-ORI-200	7090121108-V	4420906		4420906	None	CE0482	Class IIa
NA-L-ORI-200	7090121109-V	4420907		4420907	None	CE	Class I
NP-L-ORI-200	7090121110-V	4420908		4420908	None	CE	Class I
NI-L-ORI-200	7090121111-V	4420909		4420909	None	CE	Class I
NAO2-L-ORI-200	7090121112-V	4420910		4420910	None	CE0482	Class IIa
NPO2-L-ORI-200	7090121113-V	4420911		4420911	None	CE0482	Class IIa
NIO2-L-ORI-200	7090121114-V	4420912		4420912	None	CE0482	Class IIa
ONA-S-ORI-200	7090121115-V	4420913		4420913	None	CE	Class I
ONP-S-ORI-200	7090121116-V	4420914		4420914	None	CE	Class I
ONAO2-S-ORI-200	7090121117-V	4420915		4420915	None	CE0482	Class IIa
ONPO2-S-ORI-200	7090121118-V	4420916		4420916	None	CE0482	Class IIa
ONA-L-ORI-200	7090121119-V	4420917		4420917	None	CE	Class I
ONP-L-ORI-200	7090121120-V	4420918		4420918	None	CE	Class I
ONAO2-L-ORI-200	7090121121-V	4420919		4420919	None	CE0482	Class IIa
ONPO2-L-ORI-200	7090121122-V	4420920		4420920	None	CE0482	Class IIa
A22-S-ORI-200	7090121123-V	4420921		4420921	None	CE0482	Class IIa
A4.0-S-ORI-200	7090121124-V	4420922		4420922	None	CE0482	Class IIa
A22-L-ORI-200	7090121125-V	4420923		4420923	None	CE0482	Class IIa
A4.0-L-ORI-200	7090121126-V	4420924		4420924	None	CE0482	Class IIa
A22-HL-ORI-200	7090121140-V	4420925		4420925	None	CE0482	Class IIa
A4.0-HL-ORI-200	7090121141-V	4420926		4420926	None	CE0482	Class IIa