	Internal Audit Check list

	Returns, Repairs & Service

	Created:

	17/May 1995
	Audit No 11
	VOP 09

	Revised:
	15 August 2018
	
	Page 1 of 8

	Audit Date
	
	Auditor
	



	Company / ISO Section 
	Criteria of ISO Section 
	Auditor Comments / Issues

	VST Ltd ISO9001:2015 8.2.1
	Customer communication
Communication with customers shall include: 
a) providing information relating to products and services; 
b) handling enquiries, contracts or orders, including changes; 
c) obtaining customer feedback relating to products and services, including customer complaints; 
d) handling or controlling customer property; 
e) establishing specific requirements for contingency actions, when relevant.
	

	VST Ltd ISO9001:2015 8.5.3
	Property belonging to customers or external providers 
The organization shall exercise care with property belonging to customers or external providers while it is under the organization’s control or being used by the organization. 
The organization shall identify, verify, protect and safeguard customers’ or external providers’ property provided for use or incorporation into the products and services. 
When the property of a customer or external provider is lost, damaged or otherwise found to be unsuitable for use, the organization shall report this to the customer or external provider and retain documented information on what has occurred. 
NOTE A customer’s or external provider’s property can include materials, components, tools and equipment, 
premises, intellectual property and personal data.
	

	Viamed Ltd ISO13485:2016 7.2.2
	Review of requirements related to product
The organization shall review the requirements related to product. This review shall be conducted prior to the organization’s commitment to supply product to the customer (e.g. submission of tenders, 
acceptance of contracts or orders, acceptance of changes to contracts or orders) and shall ensure that: 
a) product requirements are defined and documented; 
b) contract or order requirements differing from those previously expressed are resolved; 
c) applicable regulatory requirements are met; 
d) any user training identified in accordance with 7.2.1 is available or planned to be available; 
e) the organization has the ability to meet the defined requirements. 
Records of the results of the review and actions arising from the review shall be maintained (see 4.2.5). 
When the customer provides no documented statement of requirement, the customer requirements shall be confirmed by the organization before acceptance. 
When product requirements are changed, the organization shall ensure that relevant documents are amended and that relevant personnel are made aware of the changed requirements.
	

	Viamed Ltd ISO13485:2016 7.5.10
	Customer property 
The organization shall identify, verify, protect, and safeguard customer property provided for use or incorporation into the product while it is under the organization’s control or being used by the 
organization. If any customer property is lost, damaged or otherwise found to be unsuitable for use, the organization shall report this to the customer and maintain records (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.5.4
	Servicing activities
If servicing of the medical device is a specified requirement, the organization shall document servicing procedures, reference materials, and reference measurements, as necessary, for performing servicing activities and verifying that product requirements are met. 
The organization shall analyse records of servicing activities carried out by the organization or its supplier: 
a) to determine if the information is to be handled as a complaint; 
b) as appropriate, for input to the improvement process. 
Records of servicing activities carried out by the organization or its supplier shall be maintained (see 
4.2.5).
	

	Viamed Ltd ISO13485:2016 7.5.6
	Validation of processes for production and service provision
The organization shall validate any processes for production and service provision where the resulting output cannot be or is not verified by subsequent monitoring or measurement and, as a consequence, deficiencies become apparent only after the product is in use or the service has been delivered. 
Validation shall demonstrate the ability of these processes to achieve planned results consistently. 
The organization shall document procedures for validation of processes including: 
a) defined criteria for review and approval of the processes; 
b) equipment qualification and qualification of personnel; 
c) use of specific methods, procedures and acceptance criteria; 
d) as appropriate, statistical techniques with rationale for sample sizes 
e) requirements for records (see 4.2.5); 
f) revalidation, including criteria for revalidation; 
g) approval of changes to the processes. 
The organization shall document procedures for the validation of the application of computer software used in production and service provision. Such software applications shall be validated prior to initial use and, as appropriate, after changes to such software or its application. The specific approach and activities associated with software validation and revalidation shall be proportionate to the risk associated with the use of the software including the effect on the ability of the product to conform to specifications. 
Records of the results and conclusion of validation and necessary actions from the validation shall be maintained (see 4.2.4 and 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.5.8
	Identification
The organization shall document procedures for product identification and identify product by suitable means throughout product realization. 
The organization shall identify product status with respect to monitoring and measurement requirements throughout product realization. Identification of product status shall be maintained 
throughout production, storage, installation and servicing of product to ensure that only product that has passed the required inspections and tests or released under an authorized concession is dispatched, 
used or installed. 
If required by applicable regulatory requirements, the organization shall document a system to assign unique device identification to the medical device. 
The organization shall document procedures to ensure that medical devices returned to the organization are identified and distinguished from conforming product.
	

	Viamed Ltd ISO13485:2016 8.2.4
	Internal audit
The organization shall conduct internal audits at planned intervals to determine whether the quality management system: 
a) conforms to planned and documented arrangements, requirements of this International Standard, 
quality management system requirements established by the organization, and applicable regulatory requirements; 
b) is effectively implemented and maintained. 
The organization shall document a procedure to describe the responsibilities and requirements for planning and conducting audits and recording and reporting audit results. 
An audit program shall be planned, taking into consideration the status and importance of the processes and area to be audited, as well as the results of previous audits. The audit criteria, scope, interval and methods shall be defined and recorded (see 4.2.5). The selection of auditors and conduct of audits shall ensure objectivity and impartiality of the audit process. Auditors shall not audit their own work. 
Records of the audits and their results, including identification of the processes and areas audited and the conclusions, shall be maintained (see 4.2.5). 
The management responsible for the area being audited shall ensure that any necessary corrections and corrective actions are taken without undue delay to eliminate detected nonconformities and their 
causes. Follow-up activities shall include the verification of the actions taken and the reporting of verification results. 
NOTE Further information can be found in ISO 19011.
	

	Viamed Ltd ISO13485:2016 8.3.4
	Rework
The organization shall perform rework in accordance with documented procedures that takes into account the potential adverse effect of the rework on the product. These procedures shall undergo the same review and approval as the original procedure. 
After the completion of rework, product shall be verified to ensure that it meets applicable acceptance criteria and regulatory requirements. 
Records of rework shall be maintained (see 4.2.5).
	


	QUESTION:
	RESPONSE:
	Y/N

	Check that out of date warranty repairs have received customer approval prior to any repair work being done.


	
	

	Verify that goods are identified as a Customer Repair and all have identifying / SRS paperwork with them. 


	
	

	Check that the QA Records - final inspection, test sheets and safety records are completed. 

Returns – Repairs Ready for Invoice – View Status. Copy the serial number in to serial number search in Stockbook to get the barcode ID. Paste into QA Report. All available reports will be in here.


	
	

	Check that anti-static precautions are in place and appropriate checks are recorded. Check the workshop, QA and the R+D room. Should these be in place anywhere else around the company. 


	
	

	Check that the correct coloured duckets are being used for Urgent and Export repairs.


	
	

	Check that the repairs are being worked in priority, and then date order.


	
	

	Check that completed duckets are placed on the repaired probes shelf with all appropriate paperwork. Check all duckets on the shelves.


	
	

	Returns – Returns Completed. 

Pick 5 Invoiced and check the paperwork in the ORD file matches the customer paperwork and the invoice. 

1

2

3

4

5


	
	

	Intrastats Service Logs – are any services overdue, list them.

Returns – Service Visits. 

Look in Notes icon for further info and check any issues attached. 


	
	

	Intrastats Service Logs – are any services in progress.
Returns – Service Visits.  

Check the Notes are they being filled in.


	
	

	Returns – Repairs in building. 

Pick 5 from the list and go and find them, check they have the appropriate paperwork. 

1

2

3

4

5


	
	

	Check the number of old repairs. 

Returns – Repairs in building. Find out what is happening with any older than 6 month. 


	
	

	Returns – Ready for quote. 

Check the 5 oldest from the list and go and find them on the repairs shelf, check they have the appropriate paperwork. 

1

2

3

4

5


	
	

	Returns – Quotes sent. 

Check the 5 oldest to the Quotes file in the office. Are there notes on intrastats and on the paperwork. 

1

2

3

4

5


	
	

	Returns – Rep[airs Ready for Invoice. 

Check the oldest 5 of the Viamed / VST SRS’s. Why have they not been invoiced. 

1

2

3

4

5

Using the same 5 copy the Barcode into the QA Report and see if they have QA records.


	
	

	Returns – Calibration Certificates. 

From the list click View, to go to the calibration certificate. Copy the serial number in to serial number search in Stockbook to get the barcode ID. Paste into QA Report. Check there is a QA Report is available.


	
	


Sub Processes Linked to Audit 11

Review the below processes tasks and audits and ensure they are completed in a timely manner.
	Warehouse Team Leader
	
	
	
	
	

	Process Scope
	Roll Task
	Roll Audit
	Risk
	Action
	Notes / Issues

	PROCESSID 6862
The repairs that are currently in the building. Confirm the Stage and Location of repairs
	614
Goods In
	
	Freq 4
Risk 1
Overall 4
	Task 1W
	 

	PROCESSID 7138
To review any new QC 21 Forms
	795
Managing Director
	796
Company Secretary
	Freq 3
Risk 1
Overall 3
	Task 1M 
Audit 12M
	 

	PROCESSID 7674
Review the repairs ready For invoice List in intrastats.
	468
Goods In
	469
Goods In
	Freq 4
Risk 1
Overall 4
	Task 2W 
Audit 3M
	 

	Audits
	
	
	
	
	

	Process Scope
	Roll Task
	Roll Audit
	Risk
	Action
	Notes / Issues

	PROCESSID 7724
To carry out Audit 11 Repairs And Service Viamed
	
	171
Company Secretary
	Freq 1
Risk 2
Overall 2
	Audit 12M
	 

	PROCESSID 7772
To carry out Audit 11 Repairs And Service VST
	
	179
Company Secretary
	Freq 1
Risk 2
Overall 2
	Audit 12M
	 

	Repairs Controller
	
	
	
	
	

	Process Scope
	Roll Task
	Roll Audit
	Risk
	Action
	Notes / Issues

	PROCESSID 7823
Backup the Fluke ESA615 Safety tester CE

Copy any files to the Z Drive - safety tester backupdata
	79
Production Processes
	711
Managing Director
	Freq 1
Risk 1
Overall 1
	Task 12M 
Audit 12M
	 

	Office Processes
	
	
	
	
	

	Process Scope
	Roll Task
	Roll Audit
	Risk
	Action
	Notes / Issues

	PROCESSID 5857
Ensuring customer onsite service visits are completed
	233
Office Processes
	234
UK Sales Controller
	Freq 4
Risk 1
Overall 4
	Task 1W 
Audit 1M
	 

	PROCESSID 5898
Dispose of depleted oxygen sensors and send customer replacement disposal bags
	406
Office Processes
	535
Office Processes
	Freq 4
Risk 1
Overall 4
	Task 1W 
Audit 2W
	 

	PROCESSID 7752
Ensure all outstanding repairs are being dealt with
	792
Office Processes
	793
Goods In
	Freq 3
Risk 1
Overall 3
	Task 1M 
Audit 3M
	 

	PROCESSID 7760
Send letters to existing customers to remind them that a service is due on their equipment
	607
Office Processes
	
	Freq 4
Risk 1
Overall 4
	Task 1W
	 

	Goods Out
	
	
	
	
	

	Process Scope
	Roll Task
	Roll Audit
	Risk
	Action
	Notes / Issues

	PROCESSID 7690
Review the Repairs completed shelf and ship those items that are ready for return to the customer.
	492
Goods Out
	758
Goods In
	Freq 5
Risk 1
Overall 5
	Task 1D 
Audit 1M
	 

	PROCESSID 7748
Check the orders against the customer paperwork, that we have generated, for the repair we have received in.
	575
Goods Out
	
	Freq 5
Risk 2
Overall 10
	Task 1D
	 

	PROCESSID 7749
Check the quotes that we send out for the repairs we have received in.
	576
Goods Out
	
	Freq 5
Risk 2
Overall 10
	Task 1D
	 


Audit 11 Repairs, Servicing and Returns.doc _ID23582.doc                             15/08/2018                       Page 1 of 8



  15/08/2018      Page 8 of 8

