| Part number | Description | Price USD |
| --- | --- | --- |
| 5610051 | PM5300 Series Low Flow Air/O2 Blender. NIST Inlets. 1 x DISS Primary Outlet: 3 to 30 lpm 1 x DISS Auxiliary Outlet: 0 to 30 lpm | $ 672.94 |
| 5620052 | Blender Pole Mount | $ 37.65 |
| 5620081 | Flowmeter, 0-15 lpm with DISS inlet. Brass body. For connection to primary outlet 3-30 lpm | $ 34.56 |
| 5620077 | Flowmeter output connector – knurled hex nut | $ 3.60 |
| 5620140 | Oxygen Hose Assembly, NIST - BS. Hose colour: White Hose length: 6ft | $ 68.20 |
| 5620142 | Air Hose Assembly, NIST - BS. Hose colour: Black Hose length: 6ft | $ 68.20 |

Prices quoted are EXW – Viamed Ltd.

Prices valid for 3 months

Alternative mounting options:

5620051 Blender Wall Mount 		$20.05

5620053 Blender Rail Mount 		$58.41

5620054 Blender DIN Rail Clamp 	$48.94

Alternative flow meter option for connection to auxiliary outlet when flows less than 3 lpm are required:

5620080 Flowmeter, 0-15 lpm with DISS inlet. Brass body.

Other ranges of flow meters are available as options or additions:

0-200 cc, 0-1 lpm, 0-3 lpm, 0-5 lpm, 2-26 lpm

Flow meters can be connected to either of or both of the outlets (primary and auxiliary). The primary is the standard outlet for flows 3-30 lpm. The auxiliary outlet (0-30 lpm) is used when flows less than 3 lpm are required, but the bleed function is enabled to maintain accuracy at such low flow rates.

Hose options: 6ft standard hoses quoted, other lengths are available.