| 17 Air Oxygen Blender (ME11748C) |  |
| --- | --- |
| 17.1 | Yes |
| 17.2.1 | Yes |
| 17.2.2 | Yes, range is 2.1 bar to 5.2 bar |
| 17.2.3 | Yes |
| 17.2.4 | Yes |
| 17.2.5 | Yes. Primary outlet 3 - 30 lpm. Auxiliary outlet 0 - 30 lpm. Standard flow meter 0 - 15 lpm. Other flow meter ranges are available. |
| 17.2.6 | Yes, an audible alarm sounds when there is an excessive pressure drop or deletion of either gas supply. |
| 17.2.7 | Yes |
| 17.3 | Yes. Parts quoted: blender, hoses (air & oxygen), mounting bracket, flow meter, flow meter output connector. |
| 17.4 | Yes, CE marked |
| Origin of goods | USA |
| Warranty period | 2 years |