| R&D Specifications Sampling Lines Type H for Sedana |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Viamed part number | Bluepoint part number | Notes | Material Opaque or clear | Line length | Connectors | Internal diameter | External diameter | External surface, smooth or ridged? | Raised yellow sampling post | For use with anaesthesia | Patent issues | Usage | Packaging |
| 4421515 | 8090121312V | Same material as 4421514 | Opaque | 2.5m | LLM - LLM | 1.00 mm | 2.6 mm | Ridged | No | Requires testing validation | No | Up to 72hrs | Clear plastic pouch with over printed label |
| 4421516 | 8090121313V | New material | Opaque | 2.5m | LLM - LLM | 1.00 mm | 2.6 mm | Ridged | No | Yes, but still to test and validate | No | Up to 72hrs | Clear plastic pouch with over printed label |

To be packed in boxes of 10

For production volumes would be preferential to bulk pack, say 100, 500 or 1000 per box.