Bluepoint Medical New Projects.

Comments regarding John’s notes received 16th January 2019:

Yes, diving sensors are accepted as being in the range of 0 – 2 Bar, but medical usually specified as range 0 – 100% oxygen. Still need to check performance against exposure to CO2, Helium, anaesthetic gases…

Existing galvanic sensor designs are being phased out and replaced either with commercially protected sensors, lead-free versions or alternative technologies. Making direct compatibles to existing galvanic would be more difficult and expensive to implement, would require the drive electronics. In addition, we are scheduled to phase in lead-free sensors as replacements to the existing sensors.

SpO2 compatible sensors.

Disposables range has been reduced and changed over to manufactured by Envisen.