## Slide 1
ABINGDON HEALTH
Marsha Leeman
IVDR - Practical company case study
09th July 2019

## Slide 2: Overview of ABINGDON HEALTH
Rapid diagnostic testing company founded in 2008 by Chris Hand and Chris Yates.
Certified Quality Management System - ISO 9001:2015 & ISO 13485:2016
We support the migration of testing closer to the patient -- in the case of clinical diagnostics or veterinary diagnostics -- or into the field or farm -- in the case of agricultural and food diagnostics.
Our technology focus is lateral flow testing -- which is cost-effective to produce, easy to use, and widely accepted by users and regulatory authorities.

## Slide 3: Our Focus is the Growing Lateral Flow Market
Own-products
Contract services
Reader platform
Innovation
We support our customers through offering a complete development and manufacturing service.
We develop our own products such as Seralite® - FLC Serum, the first product we launched is now sold in 70 countries worldwide.
We invest in new technology, particularly reader and app innovation, to support our growth plans.

## Slide 4: IVDR Readiness – Case Study
Project Timeline of Implementation of IVDR
NB application
5 year transition period
Entry into force
May 2017
Date of application
26th May 2022
Hard deadline
(self – declared IVD’s)
Period grace
May 2024
All unexpired IVDD certificates now expired
May 2024
2017
No IVDD CE may be issued

## Slide 5: IVDR Readiness – Case Study
Impact on Abingdon Health in vitro product range
Seralite® - FLC Serum
Seralite ® - FLC Urine
FLC LFD Controls
ADxLR5® Reader System
ADxLR5® QC Device
Current Classification vs revised IVDR
IVD - Self certification
IVDR – Class C

## Slide 6: IVDR Readiness – Case Study
Classification – IVDR (Annex VIII)
High Population, High Patient Risk
Low Population, High Patient Risk
Medium, low patient Risk
Low patient Risk
Guidance expected from the CAMD
D
C
B
A
Abingdon Health
OEM

## Slide 7: IVDR Readiness – Case Study
Impact on OEM customer products
OEM Scenario 1
OEM Scenario 2
OEM Scenario 3
OEM customer – conducts transition
OEM customer – collaborative transition
OEM customer – Development, IVDR integrated within the project planning
All three impact Abingdon Health Service Provision

## Slide 8: IVDR Readiness – Case Study
Transition Strategy
Conduct Gap Analysis:
  Intended use and product classification
  Revision of current risk assessments
  ERCL vs GSPR
  Authorised Persons
  Increased Clinical requirements
  Note: ERCL replaced by the General Safety and performance requirements summary (GSPRs)
Abingdon Health & OEM

## Slide 9: IVDR Readiness – Case Study
Transition Strategy
Conduct Gap Analysis:
  Notified body review (Who? )
    LRQA withdrawing from the race ‘will not apply to be an NB under the new medical device and in vitro diagnostic regulations (MDR/IVDR)’.
  Engagement with NB early to avoid bottle necks…….
      Designated NB for authorisations of CE Certificates still to be appointed (May 2019).

## Slide 10: IVDR Readiness – Case Study
Clinical Trials – Planning
Abingdon Health:
Identification of clinical test sites
  Ethics
  Sample availability
  Clinical protocols
  Cost
Note: Sample availability is a key factor when planning Clinical Trials (rare, limited availability)
‘Capturing any impact in pre-submissions is critical especially for FDA approval’
ISO 14155:2011 - Clinical investigation of medical devices for human subjects -- Good clinical practice (Third Edition in draft)
and,
ISO 20916:2019 - In vitro diagnostic medical devices. Clinical performance studies using specimens from human subjects. Good Study Practice.

## Slide 11: IVDR Readiness – Case Study
Clinical Evidence:
(Gap analysis identified a number of areas for address)
  Resource
  Active sites (willing and able)
  Clinical investigations protocols
  Clinical data review
  Cost
    Current sales sufficient to offset the
    higher cost of certification
  Operations:
  Impact on manufacturing capacity - for clinical requirements

## Slide 12: IVDR Readiness – Case Study
Clinical Performance
Scientific Validity
Evaluation of performance – product life cycle
  Clinical
  Scientific
  Analytical
Analytical Performance
ERCL replaced by the General Safety and performance requirements summary (GSPRs)

## Slide 13: IVDR Readiness – Case Study
  Post Market Performance Follow-up (Post Market Surveillance)
    Increased frequency
    Post Market clinical follow up
      Changes to population demographics
NB site audits (QMS ISO13485): Abingdon Health
    Product certificate scope
    Product grouping
  NB site audits (QMS ISO13485): OEM
    Product certificate scope
    Product grouping

## Slide 14: IVDR Readiness – Case Study
Thank you
Questions and Answers