Meeting Viamed/BPM, January 31st.

Estimated budget for CY 2019 up to II/2020

Project ECSense /Next steps:

At the moment no further investments required. Waiting for test results.

Design input documents needed. Application, market, applied standards……….

Compatible SpO2 sensor business:

Wolfgang will discuss with Envisen to make changes of current Softsensor design by using BPM’s silicone cable.

Business will be temporary and ongoing for another estimated 2-3 years.

No further investment needed.

Project VM 3160/ OxyTrue AS:

Worst case budget if external consultants for clinical evaluation report and PMS needed.

Clinical study paid within R&D project Cerebro

In total:  60 T€ over the next 9 month.

Project VM 3500 Series/CapnoTrue AMP/ASP:

Included in VM 3160 for EMC testing and clinical evaluation report

Tool changes for all versions: 5 T€ + 5 TUSD (CB report Liion battery)

In total: 10 T€ over the next 9 month

Project Fingeroximeter SCM:

Needs more market research. Discussion III/2019

Project OxyTrue C:

Biocomp for Sensors: 3 TEuro

EMC testing, ESD, temperature, photo energy test report: Estimate max. 15 TEuro

Clinical study paid within project Zerebro by governmental fundings.

PMS, clinical review: 25T€

In total estimate: 45 TEuro

Project Babylog replacement:

Tool for the tube (autoclavable, disposable version): 20 TEuro

Full biocomp test: 5 T€

In total: 25 TEuro over a period of 15 month

Estimate over all projects for unforeseeables: 10 kEuro

Estimate in total over all agreed projects: 150 kEuro