Re-work Risk  Analysuis  


	Product:  Microstim DBS III



	Can the product be impaired by re-work 
	
	
	
	

	
	Mechanical
	
	
	

	Damage to plastic enclosure whilst dismantling
	
	Metal Fatigue
	
	N

	
	
	Visible damage to product
	Y
	

	
	
	Bends
	
	N

	
	
	Dents
	Y
	

	
	
	Scratches
	Y
	

	
	Electrical
	
	
	

	Repair to PCB & component replacement
	
	Visible joints
	
	N

	
	
	Dry joints
	Y
	

	
	
	Added components
	
	N

	
	
	Piggy back components
	
	N

	
	Heat
	
	
	

	
	
	Visible scorch marks
	Y
	

	Components on PCB
	
	Damage to heat sensitive components
	Y
	

	
	
	Insulation shrinkage
	Y
	

	Will re-work shorten product life
	
	
	
	N

	
	
	
	
	

	Will re-work reduce specification
	
	
	
	N

	
	
	
	
	

	Will re-work reduce any safety factors
	
	
	
	N

	Compiled by 
	
	
	
	


