| Viamed P/N | Supplier P/N | Supplier Description | Viamed Description |
| --- | --- | --- | --- |
| 0111290 | AII-2000PALM O2 | AII-2000PALM O2 Oxygen Analyzer | AII-2000PALM O2 Oxygen Analyzer, with built in sensor |
| 0111291 | AII-2000PALM O2R | AII-2000PALM O2R Oxygen Analyzer | AII-2000PALM O2R Oxygen Analyzer, with sensor cable |
| 0111292 | AII-2000 A | AII-2000 A Oxygen Analyzer | AII-2000 A Oxygen Analyzer, with sensor cable |
| 0111293 | AII-2000 HC | AII-2000 HC Oxygen Analyzer | AII-2000 HC Oxygen Analyzer, with built in sensor |
| 0111294 | AII-2000 M | AII-2000 M Oxygen Monitor | AII-2000 M Oxygen Monitor, with sensor cable |