- Certificate of Calibration

- Certificate number:

- Model Number:

Part Number:

Serial number:

This certificate reports recorded values for the instrument specified above.

The output rates were measured in accordance with procedure: VM3COP38.20.

| Equipment used: | Time Electronics LTD Microcal 1030 – Calibrated Voltage source (CE076) - calibration traceable to UKAS calibration standards. |
| --- | --- |

| Microcal output | AX/MX300 expecting reading (≤ 2% relative) | AX/MX300 actual reading | Pass/Fail |
| --- | --- | --- | --- |
| 50.0 mV | 100% (98.0 - 102.0%) |  |  |
| 45.0 mV | 90% (88.2 - 91.8%) |  |  |
| 40.0 mV | 80% (78.4 - 81.6%) |  |  |
| 35.0 mV | 70% (68.6 - 71.4%) |  |  |
| 30.0 mV | 60% (58.8 - 61.2%) |  |  |
| 25.0 mV | 50% (49.0 - 51.0% |  |  |
| 20.0 mV | 40% (39.2 - 40.8%) |  |  |
| 15.0 mV | 30% (29.4 - 30.6%) |  |  |
| 10.5 mV | 20.9% (20.5 – 21.3%) |  |  |
| 9.0 mV | 18% (17.6 - 18.4%) |  |  |

Name:

Date:

Signed: 	______________________