## Sheet1
|  |  |  | Fixed cost | [9 empty] | Fixed cost | [8 empty] | Charge per hour + parts
|  |  |  | For new and in service units | [9 empty] | For in service units | [8 empty] | Min 1/2hr then 1/4hr increments | [13 empty] | Warranty
|  |  |  | Calibration certification | GBP | GBP dist | EUR | EUR Dist | USD | USD Dist | Certificate | Manual In System | Calibration Procedure | Functional check service | GBP | GBP dist | EUR | EUR Dist | USD | USD Dist | Function Check Procedure | QA Procedure | Labour charge - Repair of | GBP | GBP dist | EUR | EUR Dist | USD | USD Dist | Labour - fixed price | GBP | GBP dist | EUR | EUR Dist | USD | USD Dist | Labour
Oxygen monitoring | Maxtec | 0111250 | Handi+ (medical) | 0180011 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | VM3COP43.10 | 0180041 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUESTED WITH DL | 0140111 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Maxtec | 0111249 | Handi+ (industrial) | 0180012 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | REQUIRED | 0180042 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUESTED WITH DL | 0140112 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Maxtec | 0111270 | Handi+ (SCUBA) | 0180013 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | REQUIRED | 0180043 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUESTED WITH DL | 0140113 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Maxtec | 0111248 | Handi+N2 | 0180014 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | REQUIRED | 0180044 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140114 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Maxtec | 0111260 | MAXO2+A (medical) | 0180015 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | VM3COP43.11 | 0180045 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140115 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Maxtec | 0111271 | MAXO2+A (SCUBA) | 0180016 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | REQUIRED | 0180046 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140116 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Maxtec | 0111261 | MAXO2+AE (medical) | 0180017 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | REQUIRED | 0180047 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140117 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Maxtec | 0111272 | MAXO2+AE (SCUBA) | 0180018 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | REQUIRED | 0180048 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140118 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Maxtec | 0111262 | MAXO2+AE short cable (medical) | 0180019 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | REQUIRED | 0180049 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140119 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Maxtec | 0111263 | MAXO2 ME | 0180020 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | VM3COP43.14 | 0180050 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | VM3COP43.06 | 0140120 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Maxtec | 0111273 | MAXN2+A | 0180021 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | REQUESTED WITH DL | 0180051 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140121 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Maxtec | 0111274 | MAXN2+AE | 0180022 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | REQUESTED WITH DL | 0180052 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140122 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Maxtec | 0111265 | UltraMax | 0180010 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | VM3COP43.07 | 0180040 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | VM3COP43.07 | 0140110 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Teledyne | 0111230 | AX300 | 0180028 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 | Yes | Yes | VM3COP38.20 | 0180004 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140004 | 90 | 63 | 100 | 70 | $120.00 | $84.00 | [7 empty] | 0140006 | DELETE
Oxygen monitoring | Teledyne | 0111232 | AX300 | 0180028 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 | Yes | Yes | VM3COP38.20 | 0180004 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140004 | 90 | 63 | 100 | 70 | $120.00 | $84.00 | [7 empty] | 0140006 | DELETE
Oxygen monitoring | Teledyne | 0111233 | AX300 | 0180028 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 | Yes | Yes | VM3COP38.20 | 0180004 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140004 | 90 | 63 | 100 | 70 | $120.00 | $84.00 | [7 empty] | 0140006 | DELETE
Oxygen monitoring | Teledyne | 0111234 | AX300 | 0180028 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 | Yes | Yes | VM3COP38.20 | 0180004 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140004 | 90 | 63 | 100 | 70 | $120.00 | $84.00 | [7 empty] | 0140006 | DELETE
Oxygen monitoring | Teledyne | 0111235 | MX300 | 0180029 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 | Yes | Yes | VM3COP38.20 | 0180005 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140005 | 90 | 63 | 100 | 70 | $120.00 | $84.00 | [7 empty] | 0140007 | DELETE
Oxygen monitoring | Teledyne | 0111237 | MX300 | 0180029 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 | Yes | Yes | VM3COP38.20 | 0180005 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140005 | 90 | 63 | 100 | 70 | $120.00 | $84.00 | [7 empty] | 0140006 | DELETE
Oxygen monitoring | Teledyne | 0111238 | MX300 | 0180029 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 | Yes | Yes | VM3COP38.20 | 0180005 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140005 | 90 | 63 | 100 | 70 | $120.00 | $84.00 | [7 empty] | 0140006 | DELETE
Oxygen monitoring | Teledyne | 0111239 | MX300 | 0180029 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 | Yes | Yes | VM3COP38.20 | 0180005 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140005 | 90 | 63 | 100 | 70 | $120.00 | $84.00 | [7 empty] | 0140006 | DELETE
Oxygen monitoring | Analytical Industries | 0111290 | AII-2000PALM O2 Oxygen Analyzer | 0180030 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 | Yes | Yes | VM3COP64.03 | 0180060 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140130 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Analytical Industries | 0111291 | AII-2000PALM O2R Oxygen Analyzer | 0180031 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 | Yes | Yes | VM3COP64.02 | 0180061 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140131 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Analytical Industries | 0111292 | AII-2000 A Oxygen Analyzer | 0180032 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 | Yes | Yes | REQUIRED | 0180062 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140132 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Analytical Industries | 0111293 | AII-2000 HC Oxygen Analyser | 0180033 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 | Yes | Yes | REQUIRED | 0180063 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140133 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Analytical Industries | 0111294 | AII-2000 M Oxygen Monitor | 0180034 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 | Yes | Yes | REQUIRED | 0180064 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140134 | 90 | 63 | 100 | 70 | $120.00 | $84.00
REQUIRED
Oxygen monitoring | Envitec | 0111275 | OxiQuant S | 0180037 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | VM3COP44.02 | 0180067 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | VM3COP44.01 | 0140137 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Envitec | 0111276 | MySign O | 0180038 | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  | Yes | VM3COP44.03 | 0180068 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED | REQUIRED | 0140138 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Nerve Stimulation | MIPM - Mammendorfer Instut fuer Physik und Medizin GmbH | 2510091 | TOF 3D Neuromuscular Transmission Monitor | n/a | [8 empty] | REQUESTED WITH DL | 2580100 | £45.00 | [5 empty] | REQUIRED | NEARLY COMPLETED | 2540100 | 90
Oxygen monitoring |  |  | General oxygen analyzer/monitor repair | Not applicable | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  |  |  | 0180001 | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 |  |  | 0140000 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring |  |  | General oxygen analyzer/monitor evaluation | Not applicable | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  |  |  |  | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 |  |  | 0140050 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Vandagraph | 7910100 | VN202 MkII (auto off) |  | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  |  | REQUIRED |  | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED |  | 0140009 | 90 | 63 | 100 | 70 | $120.00 | $84.00 |  | £8.00 | £8.00
Oxygen monitoring | Vandagraph | 7910110 | VN202 MkII (manual off) |  | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  |  | REQUIRED |  | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 | REQUIRED |  | 0140009 | 90 | 63 | 100 | 70 | $120.00 | $84.00
Oxygen monitoring | Maxtec |  | Maxtec - old version monitors |  | £40.00 | £30.00 | €45.00 | €33.75 | $50.00 | $37.75 |  |  |  |  | £45.00 | £33.75 | €50.00 | €37.75 | $60.00 | $45.00 |  |  | 0140020 | 90 | 63 | 100 | 70 | $120.00 | $84.00
|  |  | Custom Expedition Analyzer/Monitor | [26 empty] | 0140008 | £30.00 | £30.00
|  |  | Oxygen Sensor | [19 empty] | 0140010 | [13 empty] | 0140010
|  |  | Oxygen Sensor | [19 empty] | 0140011 | [13 empty] | 0140011
|  |  | Oxygen Sensor | [19 empty] | 0140012 | [13 empty] | 0140012
|  |  | Oxygen Sensor | [19 empty] | 0140013 | [13 empty] | 0140013
|  |  | Oxygen Sensor | [19 empty] | 0140014 | [13 empty] | 0140014
|  |  | Oxygen Sensor | [19 empty] | 0140015 | [13 empty] | 0140015
|  |  | Oxygen Sensor | [19 empty] | 0140016 | [13 empty] | 0140016
|  |  | Oxygen Sensor | [19 empty] | 0140017 | [13 empty] | 0140017
|  |  | Oxygen Sensor | [19 empty] | 0140018 | [13 empty] | 0140018
|  |  | Oxygen Sensor | [19 empty] | 0140019 | [13 empty] | 0140019
|  |  | Oxygen Sensor Cable | [19 empty] | 0140025

## Sheet2
|  |  |  | Calibration Procedure | Function Check Procedure | QA Procedure
Oxygen monitoring | Maxtec | 0111250 | Handi+ (medical) | VM3COP43.10 | REQUIRED | REQUIRED
Oxygen monitoring | Maxtec | 0111249 | Handi+ (industrial) | REQUIRED | REQUIRED | REQUIRED
Oxygen monitoring | Maxtec | 0111270 | Handi+ (SCUBA) | REQUIRED | REQUIRED | REQUIRED
Oxygen monitoring | Maxtec | 0111248 | Handi+N2 | REQUIRED | REQUIRED | REQUIRED
Oxygen monitoring | Maxtec | 0111260 | MAXO2+A (medical) | VM3COP43.11 | REQUIRED | REQUIRED
Oxygen monitoring | Maxtec | 0111271 | MAXO2+A (SCUBA) | REQUIRED | REQUIRED | REQUIRED
Oxygen monitoring | Maxtec | 0111261 | MAXO2+AE (medical) | REQUIRED | REQUIRED | REQUIRED
Oxygen monitoring | Maxtec | 0111272 | MAXO2+AE (SCUBA) | REQUIRED | REQUIRED | REQUIRED
Oxygen monitoring | Maxtec | 0111262 | MAXO2+AE short cable (medical) | REQUIRED | REQUIRED | REQUIRED
Oxygen monitoring | Maxtec | 0111263 | MAXO2 ME | VM3COP43.14 | REQUIRED | VM3COP43.06
Oxygen monitoring | Maxtec | 0111273 | MAXN2+A | REQUIRED | REQUIRED | REQUIRED
Oxygen monitoring | Maxtec | 0111274 | MAXN2+AE | REQUIRED | REQUIRED | REQUIRED
Oxygen monitoring | Maxtec | 0111265 | UltraMax | VM3COP43.07 | REQUIRED | VM3COP43.07
Oxygen monitoring | Teledyne | 0111230 | AX300 | VM3COP38.20 | REQUIRED | REQUIRED
Oxygen monitoring | Teledyne | 0111232 | AX300 | VM3COP38.20 | REQUIRED | REQUIRED
Oxygen monitoring | Teledyne | 0111233 | AX300 | VM3COP38.20 | REQUIRED | REQUIRED
Oxygen monitoring | Teledyne | 0111234 | AX300 | VM3COP38.20 | REQUIRED | REQUIRED
Oxygen monitoring | Teledyne | 0111235 | MX300 | VM3COP38.20 | REQUIRED | REQUIRED
Oxygen monitoring | Teledyne | 0111237 | MX300 | VM3COP38.20 | REQUIRED | REQUIRED
Oxygen monitoring | Teledyne | 0111238 | MX300 | VM3COP38.20 | REQUIRED | REQUIRED
Oxygen monitoring | Teledyne | 0111239 | MX300 | VM3COP38.20 | REQUIRED | REQUIRED
Oxygen monitoring | Analytical Industries | 0111290 | AII-2000PALM O2 Oxygen Analyzer | VM3COP64.03 | REQUIRED | REQUIRED
Oxygen monitoring | Analytical Industries | 0111291 | AII-2000PALM O2R Oxygen Analyzer | VM3COP64.02 | REQUIRED | REQUIRED
Oxygen monitoring | Analytical Industries | 0111292 | AII-2000 A Oxygen Analyzer | REQUIRED | REQUIRED | REQUIRED
Oxygen monitoring | Analytical Industries | 0111293 | AII-2000 HC Oxygen Analyser | REQUIRED | REQUIRED | REQUIRED
Oxygen monitoring | Analytical Industries | 0111294 | AII-2000 M Oxygen Monitor | REQUIRED | REQUIRED | REQUIRED
Oxygen monitoring | Envitec | 0111275 | OxiQuant S | REQUIRED | REQUIRED | VM3COP44.01
Oxygen monitoring | Envitec | 0111276 | MySign O | REQUIRED | REQUIRED | REQUIRED
Nerve Stimulation | MIPM - Mammendorfer Instut fuer Physik und Medizin GmbH | 2510091 | TOF 3D Neuromuscular Transmission Monitor | REQUIRED | REQUIRED | REQUIRED
Oxygen monitoring | Vandagraph | 7910100 | VN202 MkII (auto off) | REQUIRED | REQUIRED
Oxygen monitoring | Vandagraph | 7910110 | VN202 MkII (manual off) | REQUIRED | REQUIRED