QC 21 Non Conformance Report
	Date
	22.10.2020

	Issue id
unique identifier 
	201667

	BSI Ref (if applicable) 
unique identifier 
	1970716-202010-N1

	Responsibility
Person Overall responsible 
	Derek Lamb

	Non-Conformance
statement of the problem 
	The statement of the problem:
The Non-applicable and exclusion clauses were not clearly defined. 

 

	Investigation By:
Person responsible 
	Derek Lamb / Helen Lamb

	Investigation Issue id
(if applicable)
Root Cause Analysis 
	201673
Root Cause Analysis 
When we reduced our scope, from manufacturing CE products under the MDD, to just supplying other manufactures finished CE products.
We were not clear enough in which sections were Excluded from scope, and which sections had 'parts' that were Not Applicable.


	Corrective Action By:
Person responsible 
	Derek Lamb

	Corrective Action Issue ID (if applicable):
Relevant and Proportionate Corrective Action 
	#200653


	Time Scale for Corrective Action
Time for completion of all identified actions 
	Immediate Action and 
Corrective Action to be carried out by 22nd November 2020

	Corrective Action:
	Immediate Action
Review these sections in the route map labelled as Excluded. Correct those that are labelled incorrectly. 
Make sure that those section that are Not Applicable should be labelled as such. 
Corrective Action 
Review the route map the make sure there are no other miss labelled sections. Add notes to the section indicated as Not Applicable or Excluded, to state why they are described as such. 
In the recurring issue to review the Route Map add a specific statement to review these section that are labelled as Not Applicable or Excluded.


	Follow-up future issue id
(Effectiveness verification)
	

	Effectiveness verification
	

	Closed By:
	

	Closed on
	


