QC 21 Non Conformance Report
	Date
	22.10.2020

	Issue id
unique identifier 
	201668

	BSI Ref (if applicable) 
unique identifier 
	1970716-202010-N2

	Responsibility
Person Overall responsible 
	Derek Lamb

	Non-Conformance
statement of the problem 
	The statement of the problem:
The internal audit process isn't fully effective as no evidence were provided for the internal auditor to have been trained to the ISO 13485
version 2016. 
 

	Investigation By:
Person responsible 
	Derek Lamb / Helen Lamb

	Investigation Issue id
(if applicable)
Root Cause Analysis 
	201674
In the training records there is no specific training for auditing of ISO 13483:2016. Audit training is present but not specific to 13485:2016.
Root Cause Analysis 
When the auditor has done audit training in the past and the training record filled in, on the Training Manager, not enough detail has been added. So no details as to what version of the ISO standard training has been carried out.


	Corrective Action By:
Person responsible 
	Derek Lamb

	Corrective Action Issue ID (if applicable):
Relevant and Proportionate Corrective Action 
	#201708

	Time Scale for Corrective Action
Time for completion of all identified actions 
	Immediate Action and 
Corrective Action to be carried out by 22nd November 2020

	Corrective Action:
	Immediate Action
To update the training manager with details of the training carried out in house. Including more details of what has been trained / covered in the training. 
Corrective Action 
To make sure more details are added to the training as it is entered in to the Training Manager. 


	Follow-up future issue id
(Effectiveness verification)
	#201708 


	Effectiveness verification
	To be able to look at the training carried out and be able to see specifics of what has been done and what areas or versions covered.

	Closed By:
	

	Closed on
	


