Post Market Surveillance Review to 31st December 2020

4310064 Flowsensor SpiroTrue D, 3.2m

OEM pack of 20 sets

Bluepoint Medical ref.: 6030131001

First sold: 15th May 2017

Total sales to date: 125 packs

Total failures: No reported failures or issues

To 31st December 2020 there has not been any reported failures.

The design, functionality and reliability of the sensor is very good. We do include feedback forms within each pack of sensors for the OEM to be able to easily report possible issues and/or for confirming compatibility.

Reviewed by:

Steve Nixon

Director – Viamed Ltd.

Date:                5th February 2021