## Sheet1
OEM | 212009 | 212010 | 212011 | 212012 | 212013 | 212014 | 212015 | 212016 | 212017 | 212018 | 212019 | 212020 | 212021 | 212022 | 212023 | 212024 | 212025 | 212026 | 212027 | 212028 | 212029 | 212030 | 212031 | 212032 | No Equivalent
Arrow |  |  |  |  | 008402 081102 Model 402 Model 402AC | 881101 008401 081103 (tubular) Model 401 Model 401AC Model 403 (tubular) | [9 empty] | 081117 Model 427 | 008409 081208 081209 Model 409A Model 409AC Model 409B
Asmuth GmbH Medinzintechnik | ASD-RB2A | ASD-RB3A | ASD-RA4A |  |  |  | ASD-RB2SA15 | ASD-RB3SA15 | ASD-RA4SA15 | ASD-RB2HP | ASD-RB3HP | ASD-RA4HP | ASD-S06A | ASD-S10A | ASD-S18A |  |  |  | ASD-S06SA15 | ASD-S10SA15 | ASD-S18SA15 | ASD-S06HP | ASD-S10HP | ASD-S18HP
Bluepoint Medical | 1010132009 | 1010132010 | 1010132011 | 1010132012 | 1010132013 | 1010132014 | 1010132015 | 1010132016 | 1010132017 | 1010132018 | 1010132019 | 1010132020 | 1010132021 | 1010132022 | 1010132023 | 1010132024 | 1010132025 | 1010132026 | 1010132027 | 1010132028 | 1010132029 | 1010132030 | 1010132031 | 1010132032
Datex |  | 16561 | 16561 | [9 empty] | 16560 | 16560 | 16560
Draeger |  | 5201343 | 5201327 |  |  |  | Infinity M540 (direct) Infinity Delta Infinity Delta XL Infinity Gamma X XL Infinity Gamma XL Infinity Hemo2 Pod Infinity Hemo4 Pod Infinity Kappa Infinity Kappa XLT Infinity M540 (via Infinity Mpod-Quad Hemo) Infinity Mpod-Quad Hemo Infinity Omega Infinity Omega-S Infinity Vista via Multimed Pods Infinity Vista XL Zeus Infinity Empowered via MultiMed Pods | 43 29 848 (1.5m) 52 04 651 (3.0m) Infinity Delta Infinity Delta XL Infinity Gamma X XL Infinity Gamma XL Infinity Hemo2 Pod Infinity Hemo4 Pod Infinity Kappa Infinity Kappa XLT Infinity M540 (direct) Infinity M540 (via Infinity Mpod-Quad Hemo) Infinity Mpod-Quad Hemo Infinity Omega Infinity Omega-S Infinity Vista via Multimed Pods Infinity Vista XL Zeus Infinity Empowered via MultiMed Pods | 52 04 644 (3.0m) 43 29 889 (1.5m) Infinity Delta Infinity Delta XL Infinity Gamma X XL Infinity Gamma XL Infinity Hemo2 Pod Infinity Hemo4 Pod Infinity Kappa Infinity Kappa XLT Infinity M540 (direct) Infinity M540 (via Infinity Mpod-Quad Hemo) Infinity Mpod-Quad Hemo Infinity Omega Infinity Omega-S Infinity Vista via Multimed Pods Infinity Vista XL Zeus Infinity Empowered via MultiMed Pods |  |  |  | 5201335 | 5201335 | 5201335 |  |  |  | 43 29 822 (1.5m) 52 04 669 (3.0m) Infinity Delta Infinity Delta XL Infinity Gamma X XL Infinity Gamma XL Infinity Hemo2 Pod Infinity Hemo4 Pod Infinity Kappa Infinity Kappa XLT Infinity M540 (direct) Infinity M540 (via Infinity Mpod-Quad Hemo) Infinity Mpod-Quad Hemo Infinity Omega Infinity Omega-S Infinity Vista via Multimed Pods Infinity Vista XL Zeus Infinity Empowered via MultiMed Pods | 52 04 669 (3.0m) 43 29 822 (1.5m) Infinity Delta Infinity Delta XL Infinity Gamma X XL Infinity Gamma XL Infinity Hemo2 Pod Infinity Hemo4 Pod Infinity Kappa Infinity Kappa XLT Infinity M540 (direct) Infinity M540 (via Infinity Mpod-Quad Hemo) Infinity Mpod-Quad Hemo Infinity Omega Infinity Omega-S Infinity Vista via Multimed Pods Infinity Vista XL Zeus Infinity Empowered via MultiMed Pods | 43 29 822 (1.5m) 52 04 669 (3.0m) Infinity Delta Infinity Delta XL Infinity Gamma X XL Infinity Gamma XL Infinity Hemo2 Pod Infinity Hemo4 Pod Infinity Kappa Infinity Kappa XLT Infinity M540 (direct) Infinity M540 (via Infinity Mpod-Quad Hemo) Infinity Mpod-Quad Hemo Infinity Omega Infinity Omega-S Infinity Vista via Multimed Pods Infinity Vista XL Zeus Infinity Empowered via MultiMed Pods
Envitec | 37-00-0006 PH-NR-275PA YSI | 37-00-0004 PH-PR-275A YSI | PH-AR-275A YSI 37-00-0002 | PHR-NR-275A YSI 37-00-0018 | PHR-PR-275A YSI 37-00-0016 | PHR-AR-275A YSI 37-00-0014 | SI-NR-275A SIEMENS 37-00-0042 | SI-PR-275A SIEMENS 37-00-0040 | SI-AR-275A SIEMENS 37-00-0038 | HP-NR-275A HP 37-00-0030 | HP-PR-275A HP 37-00-0028 | HP-AR-275A HP 37-00-0026 | PH-SNR-275A YSI 37-00-0012 | PH-SPR-275A YSI 37-00-0010 | PH-SAR-275A YSI 37-00-0008 | PHR-SNR-275A YSI 37-00-0024 | PHR-SPR-275A YSI 37-00-0022 | PHR-SAR-275A YSI 37-00-0020 | SI-SNR-275A SIEMENS 37-00-0048 | SI-SPR-275A SIEMENS 37-00-0046 | SI-SAR-275A SIEMENS 37-00-0044 | HP-SNR-275A HP 37-00-0036 | HP-SPR-275A HP 37-00-0034 | HP-SAR-275A HP 37-00-0032
Exacon Scientific A/S | D-OS2A D-RB2A (rectal-stiff) | D-OS3A D-RB3A (rectal-stiff) | D-OS4A D-RA4A (rectal-stiff) |  |  |  | D-OS25A D-RB2SA (rectal-stiff) | D-OS3SA D-RB3SA (rectal-stiff) | D-OS4SA D-RA4SA (rectal-stiff) | D-OS2HP D-RB2HP (rectal-stiff) | D-OS3HP D-RB3HP (rectal-stiff) | D-OS4HP D-RA5HP (rectal-stiff. 5mm) D-RA4HP (rectal-stiff. 4mm) | D-S06A | D-S10A | D-S18A |  |  |  | D-S06SA | D-S10SA | D-S18SA | D-S06HP | D-S10HP | D-S18HP
GE Healthcare | 21733501 | M1024251 21730003 21730002 | M1024247 21729402 21729403 | [9 empty] | 21729501 21733601 | M1024254 21729501 21733601 | 21729501 21733601
Hewlett Packard | [10 empty] | HP21076A | HP21075A 21075A 21076A | [9 empty] | HP21078A | HP21078A 21078A | HP21078A
Honeywell | PH-NR-275PA YSI 37-00-0006 | 37-00-0004 PH-PR-275A YSI | PH-AR-275A YSI 37-00-0002 | PHR-NR-275A YSI 37-00-0018 | PHR-PR-275A YSI 37-00-0016 | PHR-AR-275A YSI 37-00-0014 | SI-NR-275A SIEMENS 37-00-0042 | SI-PR-275A SIEMENS 37-00-0040 | SI-AR-275A SIEMENS 37-00-0038 | HP-NR-275A HP 37-00-0030 | HP-PR-275A HP 37-00-0028 | HP-AR-275A HP 37-00-0026 | PH-SNR-275A YSI 37-00-0012 | PH-SPR-275A YSI 37-00-0010 | PH-SAR-275A YSI 37-00-0008 | PHR-SNR-275A YSI 37-00-0024 | PHR-SPR-275A YSI 37-00-0022 | PHR-SAR-275A YSI 37-00-0020 | SI-SNR-275A SIEMENS 37-00-0048 | SI-SPR-275A SIEMENS 37-00-0046 | SI-SAR-275A SIEMENS 37-00-0044 | HP-SNR-275A HP 37-00-0036 | HP-SPR-275A HP 37-00-0034 | HP-SAR-275A HP 37-00-0032
Integral Process | D-OS2A D-RB2A (rectal-stiff) | D-OS3A D-RB3A (rectal-stiff) | D-OS4A D-RA4A (rectal-stiff) |  |  |  | D-OS25A D-RB2SA (rectal-stiff) | D-OS3SA D-RB3SA (rectal-stiff) | D-OS4SA D-RA4SA (rectal-stiff) | D-OS2HP D-RB2HP (rectal-stiff) | D-OS3HP 21075A D-RB3HP (rectal-stiff) | D-OS4HP 21075A D-RA5HP (rectal-stiff. 5mm) D-RA4HP (rectal-stiff. 4mm) | D-S06A | D-S10A | D-S18A |  |  |  | D-S06SA | D-S10SA | D-S18SA | D-S06HP | D-S10HP 21078A | D-S18HP
Measurement Specialities Inc. |  |  |  |  | 008402 081102 Model 402 Model 402AC | 881101 008401 081103 (tubular) Model 401 Model 401AC Model 403 (tubular) | [9 empty] | 081117 Model 427 | 008409 081208 081209 Model 409A Model 409AC Model 409B
Medacx | 1010132009 TRRE 1010132009 | 1010132010 TRRE 1010132010 | 1010132011 TRRE 1010132011 | 1010132012 TRRE 1010132012 | 1010132013 TRRE 1010132013 | 1010132014 TRRE 1010132014 | 1010132015 TRRE 1010132015 | 1010132016 TRRE 1010132016 | 1010132017 TRRE 1010132017 | 1010132018 TRRE 1010132018 | 1010132019 TRRE 1010132019 | 1010132020 TRRE 1010132020 | 1010132021 TRSC 1010132021 | 1010132022 TRSC 1010132022 | 1010132023 TRSC 1010132023 | 1010132024 TRSC 1010132024 | 1010132025 TRSC 1010132025 | 1010132026 TRSC 1010132026 | 1010132027 TRSC 101013207 | 1010132028 TRSC 1010132028 | 1010132029 TRSC 1010132029 | 1010132030 TRSC 1010132030 | 1010132031 TRSC 1010132031 | 1010132032 TRSC 1010132032
Nihon Kohden |  |  |  |  | NKD-P241A YSI-402 TEC-8300 PVM-2703 BSM | BSM TEC-8300 YSI-401 NKD-P240A | [10 empty] | MEB-2300 MEB-9200 TEC-8300 PVM-2703 BSM NKD-P242B YSI-409B
Philips Healthcare | [11 empty] | 21075A 21076A | [10 empty] | 21078A
Sensatronic GmbH | NR-275PA | PR-275PA | AR-275PA | NR-275PRA | PR-275PRA | AR-275PRA | NR-275SA | PR-275SA | AR-275SA | NR-275HA |  | AR-275HA | SNR-275PA | SPR-275PA | SAR-275PA | SNR-275PRA | SPR-275PRA | SAR-275PRA | SNR-275SA | SPR-275SA | SAR-275SA | SNR-275HA | SPR-275HA | SAR-275HA
Siemens | [6 empty] | SC 6002XL via MultiMed Pods SC 6802XL via MultiMed Pods SC 7000 via MultiMed Pods SC 8000 via MultiMed Pods SC 9000XL via MultiMed Pods | 43 29 848 (1.5m) 52 04 651 (3.0m) SC 6002XL via MultiMed Pods SC 6802XL via MultiMed Pods SC 7000 via MultiMed Pods SC 8000 via MultiMed Pods SC 9000XL via MultiMed Pods | 43 29 889 (1.5m) 52 04 644 (3.0m) SC 6002XL via MultiMed Pods SC 6802XL via MultiMed Pods SC 7000 via MultiMed Pods SC 8000 via MultiMed Pods SC 9000XL via MultiMed Pods | [9 empty] | 43 29 822 (1.5m) 52 04 669 (3.0m) SC 6002XL via MultiMed Pods SC 6802XL via MultiMed Pods SC 7000 via MultiMed Pods SC 8000 via MultiMed Pods SC 9000XL via MultiMed Pods | 43 29 822 (1.5m) 52 04 669 (3.0m) SC 6002XL via MultiMed Pods SC 6802XL via MultiMed Pods SC 7000 via MultiMed Pods SC 8000 via MultiMed Pods SC 9000XL via MultiMed Pods | 43 29 822 (1.5m) 52 04 669 (3.0m) SC 6002XL via MultiMed Pods SC 6802XL via MultiMed Pods SC 7000 via MultiMed Pods SC 8000 via MultiMed Pods SC 9000XL via MultiMed Pods
TE Connectivity |  |  |  |  | 008402 081102 Model 402 Model 402AC | 881101 008401 081103 (tubular) Model 401 Model 401AC Model 403 (tubular) | [9 empty] | 081117 Model 427 | 008409 081208 081209 Model 409A Model 409AC Model 409B
TTI Inc. |  |  |  |  | 008402 081102 Model 402 Model 402AC | 881101 008401 081103 (tubular) Model 401 Model 401AC Model 403 (tubular) | [9 empty] | 081117 Model 427 | 008409 081208 081209 Model 409A Model 409AC Model 409B
Variohm EuroSensor |  |  |  |  | 008402 081102 Model 402 Model 402AC | 881101 008401 Model 401 Model 401AC | [9 empty] | 081117 Model 427 | 008409 081208 081209 Model 409A Model 409AC Model 409B
Viamed | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
YSI |  |  |  |  | YSI 402AC YSI 402 | PVM-2703 YSI 401AC YSI 401 | [9 empty] | YSI 427 | YSI 409AC YSI 409B | [7 empty] | YSI 406 YSI 403 YSI 423