## Sheet1
Customer ref	SRS Number	Sensor Type	Serial No.	Mfg Date	Date Sold	Date Reported	Duration - Days	Warr. Period	In Warr.	Notes	Status

CC1064	67795	R-47V	V104675	10/2020	28/10/2020	30/03/2021	153	15 months	Y	Failed under warranty	Not yet received

CC756	67794	R-47V	V103418	03/2019	17/12/2019	10/07/2020	206	15 months	Y	Failed under warranty	Received but incomplete SRS

CC1054	67793	R-47V	V104603	10/2020	28/10/2020	23/03/2021	146	15 months	Y	Failed under warranty	Not yet received
CC1047	67793	R-47V	V104220	03/2020	18/03/2020	23/03/2021	370	15 months	Y	Failed under warranty	Not yet received
CC1046	67793	R-47V	V104457	05/2020	10/09/2020	23/03/2021	194	15 months	Y	Failed under warranty	Not yet received
CC1045	67793	R-47V	V104511	05/2020	01/07/2020	23/03/2021	265	15 months	Y	Failed under warranty	Not yet received

CC1032	67788	R-47V	V104376	04/2020	26/05/20	17/03/2021	295	15 months	Y	Sensor in Ireland, customer unable to retrieve – replace in advance? - Won't calibrate	To be replaced in advance?

CC1056	67779	R-47V	V104689	10/2020	28/10/2020	23/03/2021	146	15 months	Y	Failed under warranty	Replaced under warranty with S/N V105203
CC1049	67779	R-22MEDV	V115661	07/2020	11/12/2020	23/03/2021	102	15 months	Y	Failed under warranty	Replaced under warranty with S/N V116102

CC10115	67770	R-47V	V104810	10/2020	20/11/2020	25/02/2021	97	15 months	Y	Replaced in advance as sensor in Ireland - Failed from packet	Replaced under warranty with S/N V105199

CC1013	67742	R-47V	V104582	10/2020	28/10/2020	24/02/2021	119	15 months	Y	Failed under warranty	Not yet received

CC996	67734	R-47V	V104576	10/2020	28/10/2020	16/02/2021	111	15 months	Y	Failed under warranty	Replaced under warranty with S/N V105200
CC996	67734	R-47V	V104584	10/2020	28/10/2020	16/02/2021	111	15 months	Y	Failed under warranty	Replaced under warranty with S/N V105201
CC994	67734	R-47V	V104589	10/2020	28/10/2020	16/02/2021	111	15 months	Y	Failed under warranty	Replaced under warranty with S/N V105202

CC973	67731	R-47V	V104167	01/2020	25/02/2020	11/02/2021	352	15 months	Y	Replaced in advance as sensor in Ireland	Replaced under warranty with S/N V104973

CC959	67707	R-47V	V104251	03/2020	01/04/2020	22/01/2021	296	15 months	Y	Intermittently high output, apparent when sensor is moved	Replaced under warranty with S/N V104968
CC959	67707	R-47V	V104575	10/2020	28/10/2020	22/01/2021	86	15 months	Y	Intermittently high output, apparent when sensor is moved	Replaced under warranty with S/N V104969
CC959	67707	R-47V	V104578	10/2020	28/10/2020	22/01/2021	86	15 months	Y	Intermittently high output, apparent when sensor is moved	Replaced under warranty with S/N V104970
CC959	67707	R-22MEDV	V114652	04/2020	14/04/2020	22/01/2021	283	15 months	Y	No fault found during routine test	Replaced under warranty with S/N V115945

CC951	67705	R-22MEDV	V115148	05/2020	10/09/2020	21/01/2021	133	15 months	Y	Failed from packet. Not yet received	Not yet received

CC944	67668	R-47V	V104325	03/2020	15/05/2020	07/12/2020	206	15 months	Y	Intermittently high output on 1 cathode. Replaced	Replaced under warranty with S/N V104964

CC756	67545	R-47V	V103295		01/05/2019	21/07/2020	447	15 months	Y	12 days within warranty. Suspect depleted. Not received back until 26/3/21.	Warranty claim rejected, out of warranty. SRS raised 21/7/20, not received until 26/3/21
CC756	67545	R-47V	V103314		01/05/2019	21/07/2020	447	15 months	Y	12 days within warranty. Suspect depleted. Not received back until 26/3/21.	Warranty claim rejected, out of warranty. SRS raised 21/7/20, not received until 26/3/21

## Sheet2
October 2020	10
March 2020	3
May 2020	2
April 2020	1
January 2020	1