| Serial number | SRS number | SRN number |  |
| --- | --- | --- | --- |
| 002134023 | SRS67792 | SRN33546 | Out of warranty, replaced as a good-will gesture. |
| 012137304 | SRS67792 | SRN33547 | Unstable output signal |
| 101137781 | SRS67792 | SRN33548 | No fault found, but replaced as a good-will gesture |
| 101137971 | SRS67792 | SRN33549 | No fault found, but replaced as a good-will gesture |
| 101137983 | SRS67792 | SRN33550 | No output |