Supplementary Management review and Board meeting 18/11/21 Derek Lamb, Helen Lamb, Jean Lamb , Steve Nixon

Supplementary Board meeting held by Zoom 12th November 21
Derek Lamb, Jean Lamb, Helen Lamb, Steve Nixon. Minutes taken by Helen Lamb

(15.4) Preventive and corrective actions
Objective	Review Risk/Benefit Processes Report
See Report Review Risk Benefit Processes Report

Reviewed risk benefits from the rolling tasks area. No corrective actions required. Report made so we can assess risk more easily.

No other new risk identified with old products no action required.

(16.1) Regulatory Changes
### Objective To review any standards we hold for regulatory changes See Report Regulatory Requirements task 48
Reviewed and no changes to the 13485:2016. We had missed that we needed to up date or system Documents and Processes to reflect the MDR from the MDD for our old legacy products that we discontinued previously.

We have had a BSI assessment and received several Non conformances on the MMD MDR transition that we discovered was relevant to our discontinued products.

(16.5) Changes to the Management system
Effectiveness of the systems has been assessed. We are documenting Risk analysis throughout the system.
We fundamentally need to add more proof of risk assessments, to prove changes do not affect the current ISO system and or require external notification.

(17.3)	Resources required
Review resources – Equipment, Training, Staffing, Standards, Systems, Building and fabric
Objective	Do we need to change any resource, we need to discuss all areas do they need any further resources
Equipment - On going computer equipment improvements and repairs/updates
Training – Michael Lamb to do audit training for 13485 and 9001, Helen to do appraisal training
Staffing – staffing effectiveness needs to be separated from staffing appraisals. As we could not have a controlled document available to assess by external body due to GDPR.
Standards – Transition between MDD and MDR is relevant to us as we have to comply for our discontinued products.
Systems – Update to document more risk assessments
Building fabric – Noting new needed

(19.0) Responsibilities, Staff, Training Issues
The Effectiveness of training was discussed it was agreed it was effective.