## Sheet1
Viamed Part Number | Maxtec PART NUMBER ITEM
0191215 | R217M40 User’s Guide and Operating Instructions
RP76P06 Lanyard
0120095 | R110P10-001 Flow Diverter
0120398 | RP16P02 Blue Tee Adapter
0120399 | RP16P02 Honeywell Equivalent
0121302 | R217P23 Dovetail Bracket
0110427 | R125P02-011 Max-250+ Oxygen Sensor x
0110429 | R125P03-002 Max-250E Oxygen Sensor
0110430 | R115P85 Max-250ESF Oxygen Sensor
0131600 | R217P08 Gasket
0131601 | RP06P25 #4-40 Pan Head Stainless Steel Screw
0131602 | R217P16-001 Front Assembly (Includes Board & LCD)
0131603 | R217P11-002 Back Assembly
0131604 | R217P24 Coiled Cable Assembly
0131605 | R217P24-001 Coiled Cable Assembly
0131606 | R217P09-001 Overlay
0110452 | R140P02 Max-550E Sensor
0131702 | R228P87 Battery Cover
0131700 | R228P16 Sensor Cable
0131701 | R228P10 Kickstand
R230M01 MaxO2 ME Operation Manual
0120120 | R207P17 Barbed Concentrator Adapter for Sensor