## Sheet1
Viamed Part Number | Maxtec PART NUMBER ITEM
0191215 | R217M40 User’s Guide and Operating Instructions | Not included
0121300 | RP76P06 Lanyard | Included
0120095 | R110P10-001 Flow Diverter | Not Included
0120398 | RP16P02 Blue Tee Adapter | Not Included
0120399 | RP16P02 Honeywell Equivalent | Included
0121302 | R217P23 Dovetail Bracket | Included
0110427 | R125P02-011 Max-250+ Oxygen Sensor x | Included
0110429 | R125P03-002 Max-250E Oxygen Sensor | Included
0110430 | R115P85 Max-250ESF Oxygen Sensor | Included
0131600 | R217P08 Gasket | Not Included
0131601 | RP06P25 #4-40 Pan Head Stainless Steel Screw | Not Included
0131602 | R217P16-001 Front Assembly (Includes Board & LCD) | Not Included
0131603 | R217P11-002 Back Assembly | Not Included
0131604 | R217P24 Coiled Cable Assembly | Not Included
0131605 | R217P24-001 Coiled Cable Assembly | Not Included
0131606 | R217P09-001 Overlay | Not Included
0110452 | R140P02 Max-550E Sensor | Included
0131702 | R228P87 Battery Cover | Not Included
0131700 | R228P16 Sensor Cable | Not Included
0131701 | R228P10 Kickstand | Not Included
| R230M01 MaxO2 ME Operation Manual | Not Included
0120120 | R207P17 Barbed Concentrator Adapter for Sensor | Not Included