## Sheet1
Viamed Part Number | Maxtec PART NUMBER ITEM
0191215 | R217M40 User’s Guide and Operating Instructions | Not included | 9.36
0121300 | RP76P06 Lanyard | Included on Monitors Price List | 3.97
0120095 | R110P10-001 Flow Diverter | Included on Monitors Price List | 7.48
0120398 | RP16P02 Blue Tee Adapter | Included on Monitors Price List | 7.65
0120399 | RP16P02 Honeywell Equivalent | Included on Monitors Price List
0121302 | R217P23 Dovetail Bracket | Included on Monitors Price List
0110427 | R125P02-011 Max-250+ Oxygen Sensor x | Included on Monitors Price List
0110429 | R125P03-002 Max-250E Oxygen Sensor | Included on Monitors Price List
0110430 | R115P85 Max-250ESF Oxygen Sensor | Included on Monitors Price List
0131600 | R217P08 Gasket | Not Included | 3.29
0131601 | RP06P25 #4-40 Pan Head Stainless Steel Screw | Not Included | 1.13
0131602 | R217P16-001 Front Assembly (Includes Board & LCD) | Not Included | 179.3
0131603 | R217P11-002 Back Assembly | Not Included
0131604 | R217P24 Coiled Cable Assembly | Not Included | 50.18
0131605 | R217P24-001 Coiled Cable Assembly | Not Included
0131606 | R217P09-001 Overlay | Not Included | 18.25
0110452 | R140P02 Max-550E Sensor | Included on Monitors Price List
0131702 | R228P87 Battery Cover | Not Included | 11.96
0131700 | R228P16 Sensor Cable | Not Included | 30.05
0131701 | R228P10 Kickstand | Not Included | 2.84
0191219 | R230M01 MaxO2 ME Operation Manual | Not Included
0120120 | R207P17 Barbed Concentrator Adapter for Sensor | Included on Monitors Price List | 7.94
R228P52 | R228P52 Battery Door T-Screw | Not Included | 7.8
RP81P12 | RP81P12 Compression Spring | Not Included | 1