QC 21 Non Conformance Report
	Date
	11/11/2021

	Issue id
unique identifier 
	241890

	BSI Ref (if applicable) 
unique identifier 
	2128198-202111-N1 

	Responsibility
Person Overall responsible 
	Derek Lamb

	Non-Conformance
statement of the problem 
	 [image: image1.png]bsi. S

Minor (9) nonconformities arising from this assessment.

Fdiea] 2128198-202111-N1

Certificate
Reference Reference M 78787
Certificate 150 13485:2016 & EN 15O

= I Clause 562
Location

0009370214000

‘Rssessment
= 3000498
Category. Winor
‘Area/process: | Management Review & Data Analysis|
‘Statement of

Management review was not flly effective as not allinputs were:
reviewed or addressed by management review report.

Review input
“The input to management review shallinciude, but is not limited to,
information arising from:

2) feedback;

b) complaint handing;

) reporting to requiatory authorites;

) audts;

5 ) monitoring and measurement of processes;

) moritoring and measurement of product;

9) corrective action;

) preventive action;

1) follow-up actions from previous management reviews;

§) changes that could affect the quality management system;

k) recommendations for improvement;

1) applicable new o revised regulatory requirements.

Management review report 3. 08. 2021 (Status of CA/PA and

newrevised requiatory requirements were not seen to be addressed by
last management review)

/containment






	Investigation By:
Person responsible 
	Derek Lamb

	Investigation Issue id
(if applicable)
Root Cause Analysis 
	

	Corrective Action By:
Person responsible 
	

	Corrective Action Issue ID (if applicable):
Relevant and Proportionate Corrective Action 
	

	Time Scale for Corrective Action
Time for completion of all identified actions 
	

	Corrective Action:
	

	Risk Review 
Confirm action does not have negative affects and/or risks to any other part of the ISO system 
	

	Follow-up future issue id
(Effectiveness verification)
	

	Effectiveness verification
	

	Closed By:
	

	Closed on
	


