QC 21 Non Conformance Report
	Date
	11/11/2021

	Issue id
unique identifier 
	241900

	BSI Ref (if applicable) 
unique identifier 
	2128198-202111-N5

	Responsibility
Person Overall responsible 
	Derek Lamb

	Non-Conformance
statement of the problem 
	[image: image1.png]Finding ¥ Certificate
0. [omseaaiiie o 75757
Cortitcate |50 139852016 8 EN TS0
= [2E= Clause 7
Tocation
0009370214000
Assessment
- 000455
Category [ Finor
‘Area/process: _| Froducion Ris Haragemert
Statement of |y Management process was not fully effective as procedure was not
o emance: | o 1 be updated ccoding 150 14871201,

ra 2 making excellence a ha

bsi. I

Planning of product realization

The organization shallplan and develop the processes needie for

product ealzation. Planning of product realization shall be consistent

with the requirements of the other processes of the qualty management

system.

“The organization shall document one or more processes for risk

management n product reslzation.

Records of risk management actvites shal be maintained (see 4.2.5).

In planning product realizaton, the organizatin shall determine the

folowing, as appropriate:

Clause 3) qualty objectives and requirements for the product;

requirements | b) the need to establsh processes and documents (see 4.2.4) and to
provide resources specific to the product, inclucing nfrastructure and

work environment;

) required verificaton, validation, monitoring, measurement,inspection

and test, handiing, storage, distribution and raceabilty acvities secific

tothe product together with the criteriafor product acceptance;

) records nesded to provide evidence tha the realization processes and

resuling product meet requirements (see 4.2.5).

The output o this planning shallbe documented in form stitable for

the organizaton's method of operatios.

NOTE Further nformation can be found in 150 14971

Objective 'VM3C0P27.11 Performing a Technical File PMS and Risk Management
Evidence Ver. 17824,3. 11. 2016

Cause

Correction/containment

Corrective action





 

	Investigation By:
Person responsible 
	

	Investigation Issue id
(if applicable)
Root Cause Analysis 
	

	Corrective Action By:
Person responsible 
	

	Corrective Action Issue ID (if applicable):
Relevant and Proportionate Corrective Action 
	

	Time Scale for Corrective Action
Time for completion of all identified actions 
	

	Corrective Action:
	

	Risk Review 
Confirm action does not have negative affects and/or risks to any other part of the ISO system 
	

	Follow-up future issue id
(Effectiveness verification)
	

	Effectiveness verification
	

	Closed By:
	

	Closed on
	


