PAQ Questions and Where information saved in Intrastats

| Questions | Required from | Field |
| --- | --- | --- |
| GTIN | Manufacturer | GTIN EAN13 |
| Device Description | Intrastats | Stock Description |
| Make | Manufacturer | Brand |
| Model |  |  |
| Manufacturer | Manufacturer |  |
| EU Authorised Rep | Declaration of Conformity | Documents - Declaration of Conformities |
| When was the model first placed on the market? | Manufacturer | New Field |
| Which EC directives apply? |  |  |
| Notified Body Conformity Assessment |  |  |
| Quality Systems | Manufacturer | ISO 13485 Certificate |
| Date manufacturer support for the model is guaranteed? | Manufacturer | New Field |
| Device Warranty Period + copy of statement | Intrastats | “Our Warranty to Customer” |
| Recommended working lifetime of device | Manufacturer | New Field |
| End of Life Waste Management | User Manual | “Instruction Manuals” |
| Copy of User Manual | User Manual | “Instruction Manuals” |
| Copy of Technical Manual | Technical/Service Manual | “Technical Document” |
| Protocol for Post Delivery Inspection | User Manual | “Instruction Manuals” |
| Servicing Organisations Management Standards | Viamed Ltd. | ISO 13485 |
| Device Decontamination i.e. cleaning, disinfection, sterilisation | User Manual | New Field |
| Reprocessing between uses | User Manual | “Instruction Manuals” |
| Limit to the number of reprocessing cycles | User Manual | New Field |
| Does the device store or transmit patient information that will require information governance measures? |  |  |
| Does the interface, wired or wireless connection, with IT equipment or network systems? |  |  |
| Does the device present particular hazards that require special safety management measures? | MSDS |  |
| Does the device require particular performance quality assurance measures? | User Manual |  |