Re Breather Regulatory Requirements


The diving industry is heading towards international regulation. This may take many years but it has started, and companies world-wide are being urged to follow this path.

The basic minimum is ISO9001:2008

ISO 9000 is a set of standards for for implementing a quality management system

It is maintained   the International Organization for Standardization  (ISO) and is administered by accreditation and certification bodies ( Notified Bodies )

The rules are periodically updated, as the requirement change over time. 

ISO 9001:2008  includes

· procedures that cover all key processes in the business; 

· monitoring processes to ensure they are effective; 

· adequate records keeping; 

· checking output for defects, 

· corrective action where necessary; 

· regularly reviewing individual processes and the quality system itself for effectiveness;

· facilitating continual improvement

Unfortunately certification to an ISO 9001 standard does not guarantee any quality of end products and services; rather, it certifies that formalized business processes are being applied.

Industries involved with life support systems have special ISO and EN standards to meet

Medical it is ISO13485 With EN 60601wit  Pt II for individual products 

In the EU Diving re breathers must comply with Personal Protecion Equipment (PPE) Directive 89/686/EEC

This defines re-breathers as complex PPE.

Certfication of devices takes three stages.

1. Equipment must be tested and demonstrated to be compliant with EN14143

2. Equipment and manufactures Technical Construction File (TCF) must be type examined by a Notified Body (NB)  Article 10

3. In addition to type examination. QA activities of manufacturers/importers of rebreathers must also be audited by a NB. Either

1. Samples are drawn each year and tested for compliance :Article 11a

2. The manufacturer must be audited to Article 11b of directive which is based on ISO9000 requirements with some product specific adjustments.


Components are covered by EN61508.

The component is excluded if it not re-breather specific.
e.g. Sensors can be used in surface equipment.

Re-Breather regulations  100825.doc                     25 August 2010              1

