<<Name

Job Title

Department

Company

Address

Address 2

Address 3>>

Date

Dear ?????

Compatibility information for GE Datex-Ohmeda Instruments

Many customers contact us asking if we can supply compatible finger sensors for their GE Datex-Ohmeda Monitors.

There are two different types of ports which can be found on the GE Datex-Ohmeda Monitors, that Viamed currently have compatibles for, these are:

| GE Datex-Ohmeda Datex style (N) Port | GE Datex-Ohmeda GE style (FM) Port |
| --- | --- |

Viamed are carrying out on-going research and currently can confirm the following:

| Monitor | Connector | Compatible Sensor |
| --- | --- | --- |
| FM Monitor (F-FM-00, F-FML-00) | FM | 0014625, 0014725 |
| Compact Anaesthesia Monitor (F-CM1) | FM | 0014625, 0014725 |
| Compact Critical Care Monitor (F-CMC1) | FM | 0014625, 0014725 |
| Cardiocap 5 Anaesthesia Monitor | N | 0114606, 0014706 |
| Cardiocap 5 Critical Care Monitor | N | 0114606, 0114706 |
| Cardiocap | N | 0114606, 0114706 |
| Cardiocap II | N | 0114606, 0114706 |
| S/5 Light | N | 0114606, 0114706 |
| AS/3 (typically uses N-port modules, but can use FM port modules) | N | 0114606, 0114706 |
| Satlite/Satlite Trans | N | 0114606, 0114706 |

| Module | Connector | Compatible Sensor |
| --- | --- | --- |
| E-PRESTN | FM | 0014625, 0014725 |
| E-RESTN | FM | 0014625, 0014725 |
| E-PSM | FM | 0014625, 0014725 |
| E-PSMP | FM | 0014625, 0014725 |
| E-PSMW | FM | 0014625, 0014725 |
| E-PSMPW | FM | 0014625, 0014725 |
| M-NESTPR | N | 0114606, 0114706 |
| M-ESTPR | N | 0114606, 0114706 |
| M-ESTR | N | 0114606, 0114706 |
| M-NESTR | N | 0114606, 0114706 |
| M-PRESTN | N | 0114606, 0114706 |
| M-RESTN | N | 0114606, 0114706 |

If the instrument uses a module, it is important to check the module model number and connector type, as some instruments can use modules that utilise either FM port or Nicolet connectors.

If your monitor is not listed above please contact me on (01535) 634 542 as we may have further information regarding your unit.

Yours sincerely

Steve Hardaker

UK Sales Manager