<<Name

Job Title

Department

Company

Address

Address 2

Address 3>>
Date

Dear ?????
Compatibility information for GE Datex-Ohmeda Instruments
Many customers contact us asking if we can supply compatible finger sensors for their GE Datex-Ohmeda Monitors.

There are two different types of ports which can be found on the GE Datex-Ohmeda Monitors, that Viamed currently have compatibles for, these are:

	GE Datex-Ohmeda

Datex style

(N) Port
	GE Datex-Ohmeda

GE style

(FM) Port

	
	[image: image1.jpg]





Viamed are carrying out on-going research and currently can confirm the following:
	Monitor
	Connector
	Compatible Sensor

	FM Monitor (F-FM-00, F-FML-00)
	FM
	0014625, 0014725

	Compact Anaesthesia Monitor (F-CM1)
	FM
	0014625, 0014725

	Compact Critical Care Monitor (F-CMC1)
	FM
	0014625, 0014725

	Cardiocap 5 Anaesthesia Monitor
	N
	0114606, 0014706

	Cardiocap 5 Critical Care Monitor
	N
	0114606, 0114706

	Cardiocap
	N
	0114606, 0114706

	Cardiocap II
	N
	0114606, 0114706

	S/5 Light
	N
	0114606, 0114706

	AS/3 (typically uses N-port modules, but can use FM port modules)
	N
	0114606, 0114706

	Satlite/Satlite Trans
	N
	0114606, 0114706


	Module
	Connector
	Compatible Sensor

	E-PRESTN
	FM
	0014625, 0014725

	E-RESTN
	FM
	0014625, 0014725

	E-PSM
	FM
	0014625, 0014725

	E-PSMP
	FM
	0014625, 0014725

	E-PSMW
	FM
	0014625, 0014725

	E-PSMPW
	FM
	0014625, 0014725

	M-NESTPR
	N
	0114606, 0114706

	M-ESTPR
	N
	0114606, 0114706

	M-ESTR
	N
	0114606, 0114706

	M-NESTR
	N
	0114606, 0114706

	M-PRESTN
	N
	0114606, 0114706

	M-RESTN
	N
	0114606, 0114706


If the instrument uses a module, it is important to check the module model number and connector type, as some instruments can use modules that utilise either FM port or Nicolet connectors.
If your monitor is not listed above please contact me on (01535) 634 542 as we may have further information regarding your unit.

Yours sincerely 

Steve Hardaker

UK Sales Manager
