VM3COP20.88 Items that should not be cleaned

- Oxygen sensors

- Disposable items should be disposed of in the relevant manner.

- Batteries – check if they are in the unit, if so, remove. Once lose, place in a small plastic bag and placed with product.