QC 21 Non Conformance Report

Date	16/05/23
Viamed / VST* Issue id / unique identifier / *delete as appropriate	295339
BSI Ref (if applicable) / unique identifier	2342435-202305-N4
Responsibility / Person Overall responsible	Derek Lamb
Non-Conformance / statement of the problem	The process for the control of suppliers is not fully effective as it was not observed that an agreement was in place to determine the controls applied to Viamend as a supplier. / 8.4 Control of externally provided processes, products and services VViamed to VST PO: 143026 19 April 2023
Investigation By: / Person responsible	Derek Lamb
Investigation / Root Cause Analysis / Issue id (if applicable)	VST Came from Viamed Ltd, effectively as a sister company, VST uses the computers,staff, building and infrastructure of Viamed. VST and Viamed have the same directors and owners. As such a clearly defined set of responsibilities between Viamed and VST had not be put into a formal agreement.
Corrective Action By: / Person responsible	Derek Lamb
Corrective Action / Issue ID (if applicable): / Relevant Immediate Corrective action (if applicable)	Agreement between VST and Viamed to be produced outlining defined responsibilities of each party.
Time Scale for Immediate Corrective Action / Time for completion of all identified actions	30 Days
Corrective Action: / Relevant and Proportionate Corrective Action
Time Scale for Corrective Action / Time for completion of all identified actions
Risk Review Confirm action does not have negative affects and/or risks to any other part of the ISO system
Follow-up future issue id / (Effectiveness verification)
Effectiveness verification
Closed By:
Closed on