	   [image: image4.png]



	VIAMED


Post Market Surveillance Review to 21[image: image1.png]


st March 2024
4310064 Flowsensor SpiroTrue D, 3.2m 
OEM pack of 20 sets
Bluepoint Medical ref.: 6030131001 
First sold: 15th May 2017 
Total sales to date: 175 packs, sold to:
OES Medical Ltd. 
ABC House, Cotswold Dene 
Standlake Witney OX29 7QG 
United Kingdom
Total failures: No reported failures or issues 
To 31st July 2022 there has not been any reported failures. 
The design, functionality and reliability of the sensor is very good. We do include feedback forms within each box of sensors for end users to be able to easily report possible issues and/or for confirming compatibility. Unfortunately, we get very few feedback forms returned as the customers are happy with the sensors and have nothing to report 
[image: image2.jpg]



1030132002
Hook for SpiroTrue H. Pack of 200
1030132003
Adapter for SpiroTrue H. Pack of 200
Reviewed by: Steve Nixon
D[image: image3.png]


irector – Viamed Ltd.
Date:  21st  March 2024
