	   [image: image4.png]



	VIAMED


[image: image1.png]



Post Market Surveillance Review to 21st March 2024
4310003, 4310009 Flowsensor SpiroTrue H. Box of 6 
Bluepoint Medical ref.: 1030132000, 3030131005
First sold: 8th May 2009 
Total sales to date: 9,218 boxes, 53 different customers across 31 countries 
Total failures: 2 boxes 
Total returns: 2 boxes 
Total returns: 2 packs – failed calibration on Hamilton G5 ventilator, reported then returned to Viamed for credit 10/12/2009. Sensors supplied to Bluepoint Medical for evaluation 29/12/2009 Customer: Royal Sussex County Hospital SRS61983 
Total customer failures: 0.02% 
For the period from 30th December 2009 to 11st March 2022, there has not been any new reported failures or failures that refer to the claims listed above. 
The design, functionality and reliability of the sensor is very good. We do include feedback forms within each box of sensors for end users to be able to easily report possible issues and/or for confirming compatibility. Unfortunately, we get very few feedback forms returned as the customers are happy with the sensors and have nothing to report 
[image: image2.jpg]



Applications: 
	OEM
	OEM Part Number
	Equipment Type

	Asmuth GmbH Medinzintechnik
	2 42516796 0163 4
	Flow Sensor

	Asmuth GmbH Medinzintechnik
	4030131003
	Flow Sensor

	Asmuth GmbH Medinzintechnik
	SpiroTrue H
	Flow Sensor

	Biometric Cables
	910246002
	Flow Sensor

	Biometric Cables
	FS2
	Flow Sensor

	Bluepoint Medical
	1030132000
	Flow Sensor

	Bluepoint Medical
	2 422516796 0156 6
	Flow Sensor

	Bluepoint Medical
	SprioTrue H
	Flow Sensor

	Draeger
	Oxylog 2000 Plus 
(if disposable circuits used)
	Ventilator

	Draeger
	Oxylog 3000 
(if disposable circuits used)
	Ventilator

	Draeger
	Oxylog 3000 Plus 
(if disposable circuits used)
	Ventilator

	Draeger
	VentStar
	Ventilator

	Hamilton Medical
	155362
	Flow Sensor

	Hamilton Medical
	279331
	Flow Sensor

	Hamilton Medical
	53120
	Flow Sensor

	Hamilton Medical
	Amadeus
	Ventilator

	Hamilton Medical
	C1
	Ventilator

	Hamilton Medical
	C2
	Ventilator

	Hamilton Medical
	G5
	Ventilator

	Hamilton Medical
	Galileo
	Ventilator

	Hamilton Medical
	H72
	Ventilator

	Hamilton Medical
	H7200
	Ventilator

	Hamilton Medical
	H7400 AccuTach
	Flow Sensor

	Hamilton Medical
	MR1
	Ventilator

	Hamilton Medical
	Raphael
	Ventilator

	Hamilton Medical
	S1
	Ventilator

	Hamilton Medical
	T1
	Ventilator

	Hamilton Medical
	Veolar
	Ventilator

	Hamilton Medical
	VR-1
	Ventilator

	Lub Dub Medical
	OX-2530
	Flow Sensor

	Med-Shopping
	MAC-VTA-OTH-FSH7200
	Flow Sensor

	Viamed
	1030132000
	Flow Sensor

	Viamed
	2 422516796 0164 0
	Flow Sensor

	Viamed
	3030131005
	Flow Sensor

	Viamed
	Flowsensor H
	Flow Sensor

	Viamed
	SpiroTrue H
	Flow Sensor


Reviewed by: Steve Nixon
D[image: image3.png]


irector – Viamed Ltd.
Date:  21st March 2024
