## Sheet1
6010xxx | SpO2 Sensor | SSD-001XC-W09A | Compatible with Nellcor-Oximax/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-005M-W09A | Compatible with Masimo LNCS/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-005RB-W09A | Compatible with Masimo LNCS/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-006M-W09A | Compatible with Masimo LNOP/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-006RB-W09A | Compatible with Masimo LNOP/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-007RB-W09A | Compatible with Masimo M-LNCS/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-012-W09A | Compatible with Ohmeda/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-013-W09A | Compatible with Datex/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-018-W09A | Compatible with GE TruSignal/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-019-W09A | Compatible with GE OxyTip/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-024-W09A | Compatible with Philips/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-030-W09A | Compatible with Novametrix/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-032-W09A | Compatible with Novametrix/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-034-W09A | Compatible with DIXTAL/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-036-W09A | Compatible with BCI/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-039-W09A | Compatible with CSI/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-040-W09A | Compatible with Nonin/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-043-W09A | Compatible with Nihon Kohden/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-058-W09A | Compatible with Datascope/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-064D-W09A | Compatible with Biolight/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-073D-W09A | Compatible with Digital/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-079-W09A | Compatible with MEK/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-031-W09A | Compatible with Dixtal Novametrix/Disposable/Adult/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-001-W09P | Compatible with Nellcor/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-001XC-W09P | Compatible with Nellcor-Oximax/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-005M-W09P | Compatible with Masimo LNCS/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-005RB-W09P | Compatible with Masimo LNCS/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-006M-W09P | Compatible with Masimo LNOP/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-006RB-W09P | Compatible with Masimo LNOP/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-007RB-W09P | Compatible with Masimo M-LNCS/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-012-W09P | Compatible with Ohmeda/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-013-W09P | Compatible with Datex/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-018-W09P | Compatible with GE TruSignal/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-019-W09P | Compatible with GE OxyTip/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-024-W09P | Compatible with Philips/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-030-W09P | Compatible with Novametrix/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-032-W09P | Compatible with Novametrix/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-034-W09P | Compatible with DIXTAL/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-036-W09P | Compatible with BCI/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-039-W09P | Compatible with CSI/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-040-W09P | Compatible with Nonin/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-043-W09P | Compatible with Nihon Kohden/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-058-W09P | Compatible with Datascope/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-064D-W09P | Compatible with Biolight/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-073D-W09P | Compatible with Digital/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-079-W09P | Compatible with MEK/Disposable/Child/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-001-W09I | Compatible with Nellcor/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-001XC-W09I | Compatible with Nellcor-Oximax/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-005M-W09I | Compatible with Masimo LNCS/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-005RB-W09I | Compatible with Masimo LNCS/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-006M-W09I | Compatible with Masimo LNOP/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-006RB-W09I | Compatible with Masimo LNOP/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-007RB-W09I | Compatible with Masimo M-LNCS/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-012-W09I | Compatible with Ohmeda/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-013-W09I | Compatible with Datex/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-018-W09I | Compatible with GE TruSignal/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-019-W09I | Compatible with GE OxyTip/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-024-W09I | Compatible with Philips/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-030-W09I | Compatible with Novametrix/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-032-W09I | Compatible with Novametrix/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-034-W09I | Compatible with DIXTAL/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-036-W09I | Compatible with BCI/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-039-W09I | Compatible with CSI/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-040-W09I | Compatible with Nonin/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-043-W09I | Compatible with Nihon Kohden/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-058-W09I | Compatible with Datascope/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-064D-W09I | Compatible with Biolight/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-073D-W09I | Compatible with Digital/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-079-W09I | Compatible with MEK/Disposable/Infant/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-001-W09AN | Compatible with Nellcor/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-001XC-W09AN | Compatible with Nellcor-Oximax/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-005M-W09AN | Compatible with Masimo LNCS/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-005RB-W09AN | Compatible with Masimo LNCS/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-006M-W09AN | Compatible with Masimo LNOP/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-006RB-W09AN | Compatible with Masimo LNOP/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-007RB-W09AN | Compatible with Masimo M-LNCS/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-012-W09AN | Compatible with Ohmeda/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-013-W09AN | Compatible with Datex/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-018-W09AN | Compatible with GE TruSignal/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-019-W09AN | Compatible with GE OxyTip/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-024-W09AN | Compatible with Philips/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-030-W09AN | Compatible with Novametrix/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-032-W09AN | Compatible with Novametrix/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-034-W09AN | Compatible with DIXTAL/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-036-W09AN | Compatible with BCI/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-039-W09AN | Compatible with CSI/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-040-W09AN | Compatible with Nonin/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-043-W09AN | Compatible with Nihon Kohden/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-058-W09AN | Compatible with Datascope/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-064D-W09AN | Compatible with Biolight/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-073D-W09AN | Compatible with Digital/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-079-W09AN | Compatible with MEK/Disposable/Adult+Neonate/Adhesive/ non-woven fabric/0.9M
| SpO2 Sensor | SSD-001-S09AN | Compatible with Nellcor/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-001XC-S09AN | Compatible with Nellcor-Oximax/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-005M-S09AN | Compatible with Masimo LNCS/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-005RB-S09AN | Compatible with Masimo LNCS/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-006M-S09AN | Compatible with Masimo LNOP/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-006RB-S09AN | Compatible with Masimo LNOP/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-007RB-S09AN | Compatible with Masimo M-LNCS/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-012-S09AN | Compatible with Ohmeda/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-013-S09AN | Compatible with Datex/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-018-S09AN | Compatible with GE TruSignal/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-019-S09AN | Compatible with GE OxyTip/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-024-S09AN | Compatible with Philips/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-030-S09AN | Compatible with Novametrix/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-032-S09AN | Compatible with Novametrix/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-034-S09AN | Compatible with DIXTAL/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-036-S09AN | Compatible with BCI/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-039-S09AN | Compatible with CSI/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-040-S09AN | Compatible with Nonin/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-043-S09AN | Compatible with Nihon Kohden/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-058-S09AN | Compatible with Datascope/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-064D-S09AN | Compatible with Biolight/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-073D-S09AN | Compatible with Digital/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-079-S09AN | Compatible with MEK/Disposable/Adult+Neonate/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-001-S09PI | Compatible with Nellcor/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-001XC-S09PI | Compatible with Nellcor-Oximax/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-005M-S09PI | Compatible with Masimo LNCS/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-005RB-S09PI | Compatible with Masimo LNCS/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-006M-S09PI | Compatible with Masimo LNOP/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-006RB-S09PI | Compatible with Masimo LNOP/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-007RB-S09PI | Compatible with Masimo M-LNCS/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-012-S09PI | Compatible with Ohmeda/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-013-S09PI | Compatible with Datex/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-018-S09PI | Compatible with GE TruSignal/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-019-S09PI | Compatible with GE OxyTip/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-024-S09PI | Compatible with Philips/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-030-S09PI | Compatible with Novametrix/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-032-S09PI | Compatible with Novametrix/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-034-S09PI | Compatible with DIXTAL/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-036-S09PI | Compatible with BCI/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-039-S09PI | Compatible with CSI/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-040-S09PI | Compatible with Nonin/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-043-S09PI | Compatible with Nihon Kohden/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-058-S09PI | Compatible with Datascope/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-064D-S09PI | Compatible with Biolight/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-073D-S09PI | Compatible with Digital/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M
| SpO2 Sensor | SSD-079-S09PI | Compatible with MEK/Disposable/Child+Infant/Non-adhesive/Sponge/0.9M