## Sheet1
Category | Model | product | CE certificate | CE Class | Declaration of Conformity | GMDN
Patient Cable | EKA-LCA-A | ECG Accessories/Limb clamp/Adult/AHA(White/Green/Red/Black) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-LCA-I | ECG Accessories/Limb clamp/Adult/IEC(Red/Black/Green/Yellow) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-LCP-A | ECG Accessories/Limb clamp/Child/AHA(White/Green/Red/Black) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-LCP-I | ECG Accessories/Limb clamp/Child/IEC(Red/Black/Green/Yellow) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-SEA | ECG Accessories/Chest suction ball/Adult/Gray*6 | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-SEP | ECG Accessories/Chest suction ball/Child/Green*6 | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-B-G-10 | ECG Accessories/Electrode Adapter Cable/Banana plug/ clamp/0.15m(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-B-S-10 | ECG Accessories/Electrode Adapter Cable/Banana plug/ Kont/0.15m(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-BG-10 | ECG Accessories/Electrode Adapter/Banana plug/ clamp(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-NG-10 | ECG Accessories/Electrode Adapter/3mm Pin-Type/Clamp(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-BS-10 | ECG Accessories/Electrode Adapter/Banana plug/ Kont(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-NS-10 | ECG Accessories/Electrode Adapter/3mm Pin-Type/Knot(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-BF-10 | ECG Accessories/Electrode Adapter/Banana plug and transfer mutifunction/Gray(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-NF-10 | ECG Accessories/Electrode Adapter/3mm Pin transfer to multifunction/Blue(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-BA-10 | ECG Accessories/Electrode Adapter/Pen holder Style/Banana plug transfer to clip/Red(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-NA-10 | ECG Accessories/Electrode Adapter/Pen holder Style/3mm Pin transfer to clip/Blue(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-BW-10 | ECG Accessories/Electrode Adapter/Wide mouth/Banana plug transfer to clip/Gray(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-NW-10 | ECG Accessories/Electrode Adapter/Wide mouth/3mm Pin transfer to clip/Blue(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UG-10-A | ECG Accessories/Electrode Adapter/GE Universal To clamp/AHA(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UG-10-I | ECG Accessories/Electrode Adapter/GE Universal To clamp/IEC(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UB-10-A | ECG Accessories/Electrode Adapter/GE UniversalTo banana plug/AHA(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UB-10-I | ECG Accessories/Electrode Adapter/GE UniversalTo banana plug/IEC(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UG-14-A | ECG Accessories/Electrode Adapter/GE Universal To clamp/AHA(14PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UG-14-I | ECG Accessories/Electrode Adapter/GE Universal To clamp/IEC(14PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-US-10-A | ECG Accessories/Electrode Adapter/GE Universal To knot type/AHA(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-US-10-I | ECG Accessories/Electrode Adapter/GE Universal To knot type/IEC(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UA-10-A | ECG Accessories/Electrode Adapter/GE Universal To Pen holder Style/AHA(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UA-10-I | ECG Accessories/Electrode Adapter/GE Universal To Pen holder Style/IEC(10PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-BW-14 | ECG Accessories/Electrode Adapter/Wide mouth/Banana plug transfer to clip/Gray(14PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UW-14-A | ECG Accessories/Electrode Adapter/GE Universal To wide mouth type/AHA(14PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UW-14-I | ECG Accessories/Electrode Adapter/GE Universal To wide mouth type/IEC(14PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UB-14-A | ECG Accessories/Electrode Adapter/GE UniversalTo banana plug/AHA(14PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UB-14-I | ECG Accessories/Electrode Adapter/GE UniversalTo banana plug/IEC(14PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UB-12-A | ECG Accessories/Electrode Adapter/GE UniversalTo banana plug/AHA(12PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UB-12-I | ECG Accessories/Electrode Adapter/GE UniversalTo banana plug/IEC(12PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UG-12-A | ECG Accessories/Electrode Adapter/GE Universal To clamp/AHA(12PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-UG-12-I | ECG Accessories/Electrode Adapter/GE Universal To clamp/IEC(12PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-US-12-A | ECG Accessories/Electrode Adapter/GE Universal To knot type/AHA(12PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-US-12-I | ECG Accessories/Electrode Adapter/GE Universal To knot type/IEC(12PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-US-14-A | ECG Accessories/Electrode Adapter/GE Universal To knot type/AHA(14PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | EKA-US-14-I | ECG Accessories/Electrode Adapter/GE Universal To knot type/IEC(14PCS/Set) | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | CTA-M01 | ETCO2 Accessories/Mainstream/Disposable/Pneumatic adapter/Adult+Child | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | CTA-M02 | ETCO2 Accessories/Mainstream/Disposable/Pneumatic adapter/Child+Neonate | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | CTA-S01 | ETCO2 Accessories/External Sidestream/Dehydration column | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | CTA-S02 | ETCO2 Accessories/External Sidestream/90°connector | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | CTA-S03 | ETCO2 Accessories/External Sidestream/Sampling tube | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | CTA-S04 | ETCO2 Accessories/External Sidestream/Nasal cannula | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | CTA-M03 | ETCO2 Accessories/Mainstream/Reusable/Pneumatic adapter/Adult+Child | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | CTA-M04 | ETCO2 Accessories/Mainstream/Reusable/Pneumatic adapter/Child+Neonate | NA | Class I | DOC-009-01 Declaration of Conformity - Fitting -Adapters Rev. A2 | 11726
Patient Cable | DCC-FN01-30 | Compatible with Fresenius 5008S dialysis machine/3.0M | NA | Class I | DOC-001-09Declaration of Conformity- Patient Cable Rev. A0 | 47487
Patient Cable | DCC-PH01-09 | Compatible with Philips 2601B Telemetry box/0.9M | NA | Class I | DOC-001-09Declaration of Conformity- Patient Cable Rev. A0 | 47487
Patient Cable | DCC-AD01-30 | Compatible with analogue data cable/3.0M | NA | Class I | DOC-001-09Declaration of Conformity- Patient Cable Rev. A0 | 47487
Patient Cable | BISA-MR01-30 | Compatible with Mindray/BIS MIC Cable/3.0M/380S | NA | Class I | DOC-001-09Declaration of Conformity- Patient Cable Rev. A0 | 47487
Patient Cable | BISA-AP01-30 | Compatible with Aspect/BIS MIC Cable/3.0M/377 | NA | Class I | DOC-001-09Declaration of Conformity- Patient Cable Rev. A0 | 47487
Patient Cable | TNC-IBPT-MXT | Disposable IBP Sensor/Medex-TranStar/Single channel | CL 104783 0003 Rev. 00 | class IIb | EC DECLARATION OF CONFORMITY | 35927
Patient Cable | TNC-IBPT-UT | Disposable IBP Sensor/Utah/Single channel | CL 104783 0003 Rev. 00 | class IIb | EC DECLARATION OF CONFORMITY | 35927
Patient Cable | TNC-IBPT-BB | Disposable IBP Sensor/B.Braun/Single channel | CL 104783 0003 Rev. 00 | class IIb | EC DECLARATION OF CONFORMITY | 35927
Patient Cable | TNC-IBPT-EW | Disposable IBP Sensor/Edwards/Single channel | CL 104783 0003 Rev. 00 | class IIb | EC DECLARATION OF CONFORMITY | 35927
Patient Cable | TNC-IBPT-BD | Disposable IBP Sensor/BD/Single channel | CL 104783 0003 Rev. 00 | class IIb | EC DECLARATION OF CONFORMITY | 35927
Patient Cable | TNC-IBPT-PVB | Disposable IBP Sensor/PVB/Single channel | CL 104783 0003 Rev. 00 | class IIb | EC DECLARATION OF CONFORMITY | 35927
Patient Cable | TNC-IBPT-MIR | Disposable IBP Sensor/Mindray/Single channel | CL 104783 0003 Rev. 00 | class IIb | EC DECLARATION OF CONFORMITY | 35927
Patient Cable | TNC-IBPT-AG | Disposable IBP Sensor/Argon/Single channel | CL 104783 0003 Rev. 00 | class IIb | EC DECLARATION OF CONFORMITY | 35927
Patient Cable | FM-001 | Compatible with Philips/Fetal Monitoring Marking Cable/3.0M/353S | NA | Class I | DOC-001-09Declaration of Conformity- Patient Cable Rev. A0 | 47487
Patient Cable | FM-002 | Compatible with Philips/Fetal Monitoring Marking Cable/3.0M/062 | NA | Class I | DOC-001-09Declaration of Conformity- Patient Cable Rev. A0 | 47487
Patient Cable | FM-003 | Compatible with OXFORD/Fetal Monitoring Marking Cable/3.0M/347S | NA | Class I | DOC-001-09Declaration of Conformity- Patient Cable Rev. A0 | 47487
Patient Cable | FDELA-PH01-SPE | Compatible with Philips/FDECG Legplate Cables/Philips/2.5M/066 | NA | Class I | DOC-001-02 Declaration of Conformity-DECG Legplate Adapter Cables Rev. A7 | 47487
Patient Cable | FDELA-GE01-SPE | Compatible with GE/FDECG Legplate Cables/Philips/2.5M/001 | NA | Class I | DOC-001-02 Declaration of Conformity-DECG Legplate Adapter Cables Rev. A7 | 47487
Patient Cable | FDELA-GE02-SPE | Compatible with GE/FDECG Legplate Cables/Philips/2.5M/161S | NA | Class I | DOC-001-02 Declaration of Conformity-DECG Legplate Adapter Cables Rev. A7 | 47487
Patient Cable | FDELA-HL01-SPE | Compatible with HUNTLEIGH/FDECG Legplate Cables/Philips/2.5M/183S | NA | Class I | DOC-001-02 Declaration of Conformity-DECG Legplate Adapter Cables Rev. A7 | 47487
Patient Cable | FDELA-HL02-SPE | Compatible with HUNTLEIGH/FDECG Legplate Cables/Philips/2.5M/185S | NA | Class I | DOC-001-02 Declaration of Conformity-DECG Legplate Adapter Cables Rev. A7 | 47487
Patient Cable | FDELA-PH01-SGE06 | Compatible with Philips/FDECG Legplate Cables/GE/0.6M/066 | NA | Class I | DOC-001-02 Declaration of Conformity-DECG Legplate Adapter Cables Rev. A7 | 47487
Patient Cable | FDELA-GE01-SKE | Compatible with GE/FDECG Legplate Cables/Kendall/2.5M/001 | NA | Class I | DOC-001-02 Declaration of Conformity-DECG Legplate Adapter Cables Rev. A7 | 47487
Patient Cable | FDELA-GE02-SKE | Compatible with GE/FDECG Legplate Cables/Kendall/2.5M/161S | NA | Class I | DOC-001-02 Declaration of Conformity-DECG Legplate Adapter Cables Rev. A7 | 47487
Patient Cable | FDELA-PH01-SKE | Compatible with Philips/FDECG Legplate Cables/Kendall/2.5M/066 | NA | Class I | DOC-001-02 Declaration of Conformity-DECG Legplate Adapter Cables Rev. A7 | 47487
Patient Cable | FDELA-PH01-SKE06 | Compatible with Philips/FDECG Legplate Cables/Kendall/0.6M/066 | NA | Class I | DOC-001-02 Declaration of Conformity-DECG Legplate Adapter Cables Rev. A7 | 47487
Patient Cable | FDELA-PH03-SKE | Compatible with Philips/FDECG Legplate Cables/Kendall/2.5M/057B | NA | Class I | DOC-001-02 Declaration of Conformity-DECG Legplate Adapter Cables Rev. A7 | 47487
Patient Cable | FDELA-HL01-SKE | Compatible with HUNTLEIGH/FDECG Legplate Cables/Kendall/2.5M/183S | NA | Class I | DOC-001-02 Declaration of Conformity-DECG Legplate Adapter Cables Rev. A7 | 47487
Patient Cable | FDELA-HL02-SKE | Compatible with HUNTLEIGH/FDECG Legplate Cables/Kendall/2.5M/185S | NA | Class I | DOC-001-02 Declaration of Conformity-DECG Legplate Adapter Cables Rev. A7 | 47487
Patient Cable | IPC-BT01 | Compatible with Baxter/Infusion pump control cable/2.0M/LM03-G0B | NA | Class I | DOC-001-09Declaration of Conformity- Patient Cable Rev. A0 | 47487
Patient Cable | IPC-ST01 | Compatible with Smiths/Infusion pump control cable/2.0M/LM07-A0B | NA | Class I | DOC-001-09Declaration of Conformity- Patient Cable Rev. A0 | 47487