## Sheet1
60179xx | Patient Cable | EKC10R-MQ-G-A | Compatible with GE Marquette/ECG integrated cable/10-Leads/Clamp/AHA/501
| Patient Cable | EKC10R-MQ-G-I | Compatible with GE Marquette/ECG integrated cable/10-Leads/Clamp/IEC/501
| Patient Cable | EKC10-HL-G-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/Clamp/AHA/500
| Patient Cable | EKC10-HL-G-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/Clamp/IEC/500
| Patient Cable | EKC10R-HL-G-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/Clamp/AHA/500
| Patient Cable | EKC10R-HL-G-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/Clamp/IEC/500
| Patient Cable | EKC10-PH-G-A | Compatible with Philips/ECG integrated cable/10-Leads/Clamp/AHA/502
| Patient Cable | EKC10-PH-G-I | Compatible with Philips/ECG integrated cable/10-Leads/Clamp/IEC/502
| Patient Cable | EKC10R-PH-G-A | Compatible with Philips/ECG integrated cable/10-Leads/Clamp/AHA/502
| Patient Cable | EKC10R-PH-G-I | Compatible with Philips/ECG integrated cable/10-Leads/Clamp/IEC/502
| Patient Cable | EKC10-NKA-G-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/AHA/505
| Patient Cable | EKC10-NKA-G-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/IEC/505
| Patient Cable | EKC10R-NKA-G-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/AHA/505
| Patient Cable | EKC10R-NKA-G-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/IEC/505
| Patient Cable | EKC10-NKB-G-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/AHA/504
| Patient Cable | EKC10-NKB-G-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/IEC/504
| Patient Cable | EKC10R-NKB-G-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/AHA/504
| Patient Cable | EKC10R-NKB-G-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/IEC/504
| Patient Cable | EKC10R-SHA-G-A | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/AHA/503L
| Patient Cable | EKC10R-SHA-G-I | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/IEC/503L
| Patient Cable | EKC10R-SHB-G-A | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/AHA/503
| Patient Cable | EKC10R-SHB-G-I | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/IEC/503
| Patient Cable | EKC10-FDA-G-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/AHA/506
| Patient Cable | EKC10-FDA-G-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/IEC/506
| Patient Cable | EKC10R-FDA-G-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/AHA/506
| Patient Cable | EKC10R-FDA-G-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/IEC/506
| Patient Cable | EKC10-FDB-G-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/AHA/507
| Patient Cable | EKC10-FDB-G-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/IEC/507
| Patient Cable | EKC10R-FDB-G-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/AHA/507
| Patient Cable | EKC10R-FDB-G-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/IEC/507
| Patient Cable | EKC10-BKA-G-A | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/AHA/509
| Patient Cable | EKC10-BKA-G-I | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/IEC/509
| Patient Cable | EKC10R-BKA-G-A | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/AHA/509
| Patient Cable | EKC10R-BKA-G-I | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/IEC/509
| Patient Cable | EKC10-BKB-G-A | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/AHA/510
| Patient Cable | EKC10-BKB-G-I | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/IEC/510
| Patient Cable | EKC10R-BKB-G-A | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/AHA/510
| Patient Cable | EKC10R-BKB-G-I | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/IEC/510
| Patient Cable | EKC10R-BKC-G-A | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/AHA/244
| Patient Cable | EKC10R-BKC-G-I | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/IEC/244
| Patient Cable | EKC10-QT-G-A | Compatible with Quinton/ECG integrated cable/10-Leads/Clamp/AHA/333
| Patient Cable | EKC10-QT-G-I | Compatible with Quinton/ECG integrated cable/10-Leads/Clamp/IEC/333
| Patient Cable | EKC10-KZA-G-A | Compatible with Kenz/ECG integrated cable/10-Leads/Clamp/AHA/511
| Patient Cable | EKC10-KZA-G-I | Compatible with Kenz/ECG integrated cable/10-Leads/Clamp/IEC/511
| Patient Cable | EKC10-KZB-G-A | Compatible with Kenz/ECG integrated cable/10-Leads/Clamp/AHA/512
| Patient Cable | EKC10-KZB-G-I | Compatible with Kenz/ECG integrated cable/10-Leads/Clamp/IEC/512
| Patient Cable | EKC10R-ED-G-A | Compatible with Edan/ECG integrated cable/10-Leads/Clamp/AHA/504
| Patient Cable | EKC10R-ED-G-I | Compatible with Edan/ECG integrated cable/10-Leads/Clamp/IEC/504
| Patient Cable | EKC10-MT-G-A | Compatible with Mortara/ECG integrated cable/10-Leads/Clamp/AHA/508
| Patient Cable | EKC10-MT-G-I | Compatible with Mortara/ECG integrated cable/10-Leads/Clamp/IEC/508
| Patient Cable | EKC10R-MT-G-A | Compatible with Mortara/ECG integrated cable/10-Leads/Clamp/AHA/508
| Patient Cable | EKC10R-MT-G-I | Compatible with Mortara/ECG integrated cable/10-Leads/Clamp/IEC/508
| Patient Cable | EKC10R-DLA-G-A | Compatible with Dixtal/ECG integrated cable/10-Leads/Clamp/AHA/514
| Patient Cable | EKC10R-DLA-G-I | Compatible with Dixtal/ECG integrated cable/10-Leads/Clamp/IEC/514
| Patient Cable | EKC10R-DLB-G-A | Compatible with Dixtal/ECG integrated cable/10-Leads/Clamp/AHA/176S
| Patient Cable | EKC10R-DLB-G-I | Compatible with Dixtal/ECG integrated cable/10-Leads/Clamp/IEC/176S
| Patient Cable | EKC10-CW-G-A | Compatible with CareWell/ECG integrated cable/10-Leads/Clamp/AHA/504
| Patient Cable | EKC10-CW-G-I | Compatible with CareWell/ECG integrated cable/10-Leads/Clamp/IEC/504
| Patient Cable | EKC10R-CBM-G-A | Compatible with COMBIOMED/ECG integrated cable/10-Leads/Clamp/AHA/505
| Patient Cable | EKC10R-CBM-G-I | Compatible with COMBIOMED/ECG integrated cable/10-Leads/Clamp/IEC/505
| Patient Cable | EKC10R(06)-WA-G-A | Compatible with Welch Allyn/ECG integrated cable/10-Leads/Clamp/AHA/LP14-0GWith fixed sleeve
| Patient Cable | EKC10R(06)-WA-G-I | Compatible with Welch Allyn/ECG integrated cable/10-Leads/Clamp/IEC/LP14-0GWith fixed sleeve
| Patient Cable | EKC10R(44)-SHA-G-A | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/AHA/503
| Patient Cable | EKC10R(44)-SHA-G-I | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/IEC/503
| Patient Cable | EKC10R(50)-BKC-G-A | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/AHA/244
| Patient Cable | EKC10R-SHC-G-A | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/AHA/515
| Patient Cable | EKC10R-SHC-G-I | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/IEC/515
| Patient Cable | EKC10R-MQ-S-A | Compatible with GE Marquette/ECG integrated cable/10-Leads/Knot/AHA/501
| Patient Cable | EKC10R-MQ-S-I | Compatible with GE Marquette/ECG integrated cable/10-Leads/Knot/IEC/501
| Patient Cable | EKC10-HL-S-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/Knot/AHA/500
| Patient Cable | EKC10-HL-S-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/Knot/IEC/500
| Patient Cable | EKC10R-HL-S-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/Knot/AHA/500
| Patient Cable | EKC10R-HL-S-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/Knot/IEC/500
| Patient Cable | EKC10-PH-S-A | Compatible with Philips/ECG integrated cable/10-Leads/Knot/AHA/502
| Patient Cable | EKC10-PH-S-I | Compatible with Philips/ECG integrated cable/10-Leads/Knot/IEC/502
| Patient Cable | EKC10R-PH-S-A | Compatible with Philips/ECG integrated cable/10-Leads/Knot/AHA/502
| Patient Cable | EKC10R-PH-S-I | Compatible with Philips/ECG integrated cable/10-Leads/Knot/IEC/502
| Patient Cable | EKC10-NKA-S-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/AHA/505
| Patient Cable | EKC10-NKA-S-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/IEC/505
| Patient Cable | EKC10R-NKA-S-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/AHA/505
| Patient Cable | EKC10R-NKA-S-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/IEC/505
| Patient Cable | EKC10-NKB-S-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/AHA/504
| Patient Cable | EKC10-NKB-S-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/IEC/504
| Patient Cable | EKC10R-NKB-S-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/AHA/504
| Patient Cable | EKC10R-NKB-S-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/IEC/504
| Patient Cable | EKC10R-SHA-S-A | Compatible with Schiller/ECG integrated cable/10-Leads/Knot/AHA/503L
| Patient Cable | EKC10R-SHA-S-I | Compatible with Schiller/ECG integrated cable/10-Leads/Knot/IEC/503L
| Patient Cable | EKC10R-SHB-S-A | Compatible with Schiller/ECG integrated cable/10-Leads/Knot/AHA/503
| Patient Cable | EKC10R-SHB-S-I | Compatible with Schiller/ECG integrated cable/10-Leads/Knot/IEC/503
| Patient Cable | EKC10-FDA-S-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/AHA/506
| Patient Cable | EKC10-FDA-S-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/IEC/506
| Patient Cable | EKC10R-FDA-S-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/AHA/506
| Patient Cable | EKC10R-FDA-S-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/IEC/506
| Patient Cable | EKC10-FDB-S-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/AHA/507
| Patient Cable | EKC10-FDB-S-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/IEC/507
| Patient Cable | EKC10R-FDB-S-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/AHA/507
| Patient Cable | EKC10R-FDB-S-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/IEC/507
| Patient Cable | EKC10-BKA-S-A | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/AHA/509
| Patient Cable | EKC10-BKA-S-I | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/IEC/509
| Patient Cable | EKC10R-BKA-S-A | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/AHA/509
| Patient Cable | EKC10R-BKA-S-I | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/IEC/509
| Patient Cable | EKC10-BKB-S-A | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/AHA/510
| Patient Cable | EKC10-BKB-S-I | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/IEC/510
| Patient Cable | EKC10R-BKB-S-A | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/AHA/510
| Patient Cable | EKC10R-BKB-S-I | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/IEC/510
| Patient Cable | EKC10R-BKC-S-A | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/AHA/244
| Patient Cable | EKC10R-BKC-S-I | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/IEC/244
| Patient Cable | EKC10-QT-S-A | Compatible with Quinton/ECG integrated cable/10-Leads/Knot/AHA/333
| Patient Cable | EKC10-QT-S-I | Compatible with Quinton/ECG integrated cable/10-Leads/Knot/IEC/333
| Patient Cable | EKC10-KZA-S-A | Compatible with Kenz/ECG integrated cable/10-Leads/Knot/AHA/511
| Patient Cable | EKC10-KZA-S-I | Compatible with Kenz/ECG integrated cable/10-Leads/Knot/IEC/511
| Patient Cable | EKC10-KZB-S-A | Compatible with Kenz/ECG integrated cable/10-Leads/Knot/AHA/512
| Patient Cable | EKC10-KZB-S-I | Compatible with Kenz/ECG integrated cable/10-Leads/Knot/IEC/512
| Patient Cable | EKC10R-ED-S-A | Compatible with Edan/ECG integrated cable/10-Leads/Knot/AHA/504
| Patient Cable | EKC10R-ED-S-I | Compatible with Edan/ECG integrated cable/10-Leads/Knot/IEC/504
| Patient Cable | EKC10-MT-S-A | Compatible with Mortara/ECG integrated cable/10-Leads/Knot/AHA/508
| Patient Cable | EKC10-MT-S-I | Compatible with Mortara/ECG integrated cable/10-Leads/Knot/IEC/508
| Patient Cable | EKC10R-MT-S-A | Compatible with Mortara/ECG integrated cable/10-Leads/Knot/AHA/508
| Patient Cable | EKC10R-MT-S-I | Compatible with Mortara/ECG integrated cable/10-Leads/Knot/IEC/508
| Patient Cable | EKC10R-DLA-S-A | Compatible with Dixtal/ECG integrated cable/10-Leads/Knot/AHA/514
| Patient Cable | EKC10R-DLA-S-I | Compatible with Dixtal/ECG integrated cable/10-Leads/Knot/IEC/514
| Patient Cable | EKC10R-DLB-S-A | Compatible with Dixtal/ECG integrated cable/10-Leads/Knot/AHA/176
| Patient Cable | EKC10R-DLB-S-I | Compatible with Dixtal/ECG integrated cable/10-Leads/Knot/IEC/176
| Patient Cable | EKC10-CW-S-A | Compatible with CareWell/ECG integrated cable/10-Leads/Knot/AHA/504
| Patient Cable | EKC10-CW-S-I | Compatible with CareWell/ECG integrated cable/10-Leads/Knot/IEC/504
| Patient Cable | EKC10R-CBM-S-A | Compatible with COMBIOMED/ECG integrated cable/10-Leads/Knot/AHA/505
| Patient Cable | EKC10R-CBM-S-I | Compatible with COMBIOMED/ECG integrated cable/10-Leads/Knot/IEC/505
| Patient Cable | EKC10R(06)-WA-S-A | Compatible with Welch Allyn/ECG integrated cable/10-Leads/Knot/AHA/LP14-0GWith fixed sleeve
| Patient Cable | EKC10R(06)-WA-S-I | Compatible with Welch Allyn/ECG integrated cable/10-Leads/Knot/IEC/LP14-0GWith fixed sleeve
| Patient Cable | EKC10R(50)-BKC-S-A | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/AHA/244
| Patient Cable | EKC10(40)-NKB-S-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/AHA/504
| Patient Cable | EKC10R-SHC-S-A | Compatible with Schiller/ECG integrated cable/10-Leads/Knot/AHA/515
| Patient Cable | EKC10R-SHC-S-I | Compatible with Schiller/ECG integrated cable/10-Leads/Knot/IEC/515
| Patient Cable | EKC10R-MQ-B-A | Compatible with GE Marquette/ECG integrated cable/10-Leads/Banana plug type/AHA/501
| Patient Cable | EKC10R-MQ-B-I | Compatible with GE Marquette/ECG integrated cable/10-Leads/Banana plug type/IEC/501
| Patient Cable | EKC10-HL-B-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/Banana plug type/AHA/500
| Patient Cable | EKC10-HL-B-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/Banana plug type/IEC/500
| Patient Cable | EKC10R-HL-B-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/Banana plug type/AHA/500
| Patient Cable | EKC10R-HL-B-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/Banana plug type/IEC/500
| Patient Cable | EKC10-PH-B-A | Compatible with Philips/ECG integrated cable/10-Leads/Banana plug type/AHA/502
| Patient Cable | EKC10-PH-B-I | Compatible with Philips/ECG integrated cable/10-Leads/Banana plug type/IEC/502
| Patient Cable | EKC10R-PH-B-A | Compatible with Philips/ECG integrated cable/10-Leads/Banana plug type/AHA/502
| Patient Cable | EKC10R-PH-B-I | Compatible with Philips/ECG integrated cable/10-Leads/Banana plug type/IEC/502
| Patient Cable | EKC10-NKA-B-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/AHA/505
| Patient Cable | EKC10-NKA-B-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/IEC/505
| Patient Cable | EKC10R-NKA-B-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/AHA/505
| Patient Cable | EKC10R-NKA-B-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/IEC/505
| Patient Cable | EKC10-NKB-B-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/AHA/504
| Patient Cable | EKC10-NKB-B-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/IEC/504
| Patient Cable | EKC10R-NKB-B-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/AHA/504
| Patient Cable | EKC10R-NKB-B-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/IEC/504
| Patient Cable | EKC10R-SHA-B-A | Compatible with Schiller/ECG integrated cable/10-Leads/Banana plug type/AHA/503L
| Patient Cable | EKC10R-SHA-B-I | Compatible with Schiller/ECG integrated cable/10-Leads/Banana plug type/IEC/503L
| Patient Cable | EKC10R-SHB-B-A | Compatible with Schiller/ECG integrated cable/10-Leads/Banana plug type/AHA/503
| Patient Cable | EKC10R-SHB-B-I | Compatible with Schiller/ECG integrated cable/10-Leads/Banana plug type/IEC/503
| Patient Cable | EKC10-FDA-B-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/AHA/506
| Patient Cable | EKC10-FDA-B-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/IEC/506
| Patient Cable | EKC10R-FDA-B-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/AHA/506
| Patient Cable | EKC10R-FDA-B-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/IEC/506
| Patient Cable | EKC10-FDB-B-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/AHA/507
| Patient Cable | EKC10-FDB-B-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/IEC/507
| Patient Cable | EKC10R-FDB-B-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/AHA/507
| Patient Cable | EKC10R-FDB-B-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/IEC/507
| Patient Cable | EKC10-BKA-B-A | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/AHA/509
| Patient Cable | EKC10-BKA-B-I | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/IEC/509
| Patient Cable | EKC10R-BKA-B-A | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/AHA/509
| Patient Cable | EKC10R-BKA-B-I | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/IEC/509
| Patient Cable | EKC10-BKB-B-A | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/AHA/510
| Patient Cable | EKC10-BKB-B-I | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/IEC/510
| Patient Cable | EKC10R-BKB-B-A | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/AHA/510
| Patient Cable | EKC10R-BKB-B-I | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/IEC/510
| Patient Cable | EKC10R-BKC-B-A | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/AHA/244
| Patient Cable | EKC10R-BKC-B-I | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/IEC/244
| Patient Cable | EKC10-QT-B-A | Compatible with Quinton/ECG integrated cable/10-Leads/Banana plug type/AHA/333
| Patient Cable | EKC10-QT-B-I | Compatible with Quinton/ECG integrated cable/10-Leads/Banana plug type/IEC/333
| Patient Cable | EKC10-KZA-B-A | Compatible with Kenz/ECG integrated cable/10-Leads/Banana plug type/AHA/511
| Patient Cable | EKC10-KZA-B-I | Compatible with Kenz/ECG integrated cable/10-Leads/Banana plug type/IEC/511
| Patient Cable | EKC10-KZB-B-A | Compatible with Kenz/ECG integrated cable/10-Leads/Banana plug type/AHA/512
| Patient Cable | EKC10-KZB-B-I | Compatible with Kenz/ECG integrated cable/10-Leads/Banana plug type/IEC/512
| Patient Cable | EKC10R-ED-B-A | Compatible with Edan/ECG integrated cable/10-Leads/Banana plug type/AHA/504
| Patient Cable | EKC10R-ED-B-I | Compatible with Edan/ECG integrated cable/10-Leads/Banana plug type/IEC/504
| Patient Cable | EKC10-MT-B-A | Compatible with Mortara/ECG integrated cable/10-Leads/Banana plug type/AHA/508
| Patient Cable | EKC10-MT-B-I | Compatible with Mortara/ECG integrated cable/10-Leads/Banana plug type/IEC/508
| Patient Cable | EKC10R-MT-B-A | Compatible with Mortara/ECG integrated cable/10-Leads/Banana plug type/AHA/508
| Patient Cable | EKC10R-MT-B-I | Compatible with Mortara/ECG integrated cable/10-Leads/Banana plug type/IEC/508
| Patient Cable | EKC10R-DLA-B-A | Compatible with Dixtal/ECG integrated cable/10-Leads/Banana plug type/AHA/514
| Patient Cable | EKC10R-DLA-B-I | Compatible with Dixtal/ECG integrated cable/10-Leads/Banana plug type/IEC/514
| Patient Cable | EKC10R-DLB-B-A | Compatible with Dixtal/ECG integrated cable/10-Leads/Banana plug type/AHA/176
| Patient Cable | EKC10R-DLB-B-I | Compatible with Dixtal/ECG integrated cable/10-Leads/Banana plug type/IEC/176
| Patient Cable | EKC10-CW-B-A | Compatible with CareWell/ECG integrated cable/10-Leads/Banana plug type/AHA/504
| Patient Cable | EKC10-CW-B-I | Compatible with CareWell/ECG integrated cable/10-Leads/Banana plug type/IEC/504
| Patient Cable | EKC10R-CBM-B-A | Compatible with COMBIOMED/ECG integrated cable/10-Leads/Banana plug type/AHA/505
| Patient Cable | EKC10R-CBM-B-I | Compatible with COMBIOMED/ECG integrated cable/10-Leads/Banana plug type/IEC/505
| Patient Cable | EKC10R(06)-WA-B-A | Compatible with Welch Allyn/ECG integrated cable/10-Leads/Banana plug type/AHA/LP14-0GWith fixed sleeve
| Patient Cable | EKC10R(06)-WA-B-I | Compatible with Welch Allyn/ECG integrated cable/10-Leads/Banana plug type/IEC/LP14-0GWith fixed sleeve
| Patient Cable | EKC10(03)-PH-B-A | Compatible with Philips/ECG integrated cable/10-Leads/Banana plug type/AHA/502
| Patient Cable | EKC10R-SHC-B-A | Compatible with Schiller/ECG integrated cable/10-Leads/Banana plug type/AHA/515
| Patient Cable | EKC10R-SHC-B-I | Compatible with Schiller/ECG integrated cable/10-Leads/Banana plug type/IEC/515
| Patient Cable | EKC10R(03)-PH-B-A | Compatible with Philips/ECG integrated cable/10-Leads/Banana plug type/AHA/502
| Patient Cable | EKC10R-MQ-N-A | Compatible with GE Marquette/ECG integrated cable/10-Leads/3mmPin type/AHA/501
| Patient Cable | EKC10R-MQ-N-I | Compatible with GE Marquette/ECG integrated cable/10-Leads/3mmPin type/IEC/501
| Patient Cable | EKC10-HL-N-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/3mmPin type/AHA/500
| Patient Cable | EKC10-HL-N-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/3mmPin type/IEC/500
| Patient Cable | EKC10R-HL-N-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/3mmPin type/AHA/500
| Patient Cable | EKC10R-HL-N-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/3mmPin type/IEC/500
| Patient Cable | EKC10-PH-N-A | Compatible with Philips/ECG integrated cable/10-Leads/3mmPin type/AHA/502
| Patient Cable | EKC10-PH-N-I | Compatible with Philips/ECG integrated cable/10-Leads/3mmPin type/IEC/502
| Patient Cable | EKC10R-PH-N-A | Compatible with Philips/ECG integrated cable/10-Leads/3mmPin type/AHA/502
| Patient Cable | EKC10R-PH-N-I | Compatible with Philips/ECG integrated cable/10-Leads/3mmPin type/IEC/502
| Patient Cable | EKC10-NKA-N-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mmPin type/AHA/505
| Patient Cable | EKC10-NKA-N-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mmPin type/IEC/505
| Patient Cable | EKC10R-NKA-N-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mmPin type/AHA/505
| Patient Cable | EKC10R-NKA-N-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mmPin type/IEC/505
| Patient Cable | EKC10-NKB-N-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mmPin type/AHA/504
| Patient Cable | EKC10-NKB-N-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mmPin type/IEC/504
| Patient Cable | EKC10R-NKB-N-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mmPin type/AHA/504
| Patient Cable | EKC10R-NKB-N-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mmPin type/IEC/504
| Patient Cable | EKC10R-SHA-N-A | Compatible with Schiller/ECG integrated cable/10-Leads/3mmPin type/AHA/503L
| Patient Cable | EKC10R-SHA-N-I | Compatible with Schiller/ECG integrated cable/10-Leads/3mmPin type/IEC/503L
| Patient Cable | EKC10R-SHB-N-A | Compatible with Schiller/ECG integrated cable/10-Leads/3mmPin type/AHA/503
| Patient Cable | EKC10R-SHB-N-I | Compatible with Schiller/ECG integrated cable/10-Leads/3mmPin type/IEC/503
| Patient Cable | EKC10-FDA-N-A | Compatible with Fukuda/ECG integrated cable/10-Leads/3mmPin type/AHA/506
| Patient Cable | EKC10-FDA-N-I | Compatible with Fukuda/ECG integrated cable/10-Leads/3mmPin type/IEC/506
| Patient Cable | EKC10R-FDA-N-A | Compatible with Fukuda/ECG integrated cable/10-Leads/3mmPin type/AHA/506
| Patient Cable | EKC10R-FDA-N-I | Compatible with Fukuda/ECG integrated cable/10-Leads/3mmPin type/IEC/506
| Patient Cable | EKC10-FDB-N-A | Compatible with Fukuda/ECG integrated cable/10-Leads/3mmPin type/AHA/507
| Patient Cable | EKC10-FDB-N-I | Compatible with Fukuda/ECG integrated cable/10-Leads/3mmPin type/IEC/507
| Patient Cable | EKC10R-FDB-N-A | Compatible with Fukuda/ECG integrated cable/10-Leads/3mmPin type/AHA/507
| Patient Cable | EKC10R-FDB-N-I | Compatible with Fukuda/ECG integrated cable/10-Leads/3mmPin type/IEC/507
| Patient Cable | EKC10-BKA-N-A | Compatible with Burdick/ECG integrated cable/10-Leads/3mmPin type/AHA/509
| Patient Cable | EKC10-BKA-N-I | Compatible with Burdick/ECG integrated cable/10-Leads/3mmPin type/IEC/509
| Patient Cable | EKC10R-BKA-N-A | Compatible with Burdick/ECG integrated cable/10-Leads/3mmPin type/AHA/509
| Patient Cable | EKC10R-BKA-N-I | Compatible with Burdick/ECG integrated cable/10-Leads/3mmPin type/IEC/509
| Patient Cable | EKC10-BKB-N-A | Compatible with Burdick/ECG integrated cable/10-Leads/3mmPin type/AHA/510
| Patient Cable | EKC10-BKB-N-I | Compatible with Burdick/ECG integrated cable/10-Leads/3mmPin type/IEC/510
| Patient Cable | EKC10R-BKB-N-A | Compatible with Burdick/ECG integrated cable/10-Leads/3mmPin type/AHA/510
| Patient Cable | EKC10R-BKB-N-I | Compatible with Burdick/ECG integrated cable/10-Leads/3mmPin type/IEC/510
| Patient Cable | EKC10R-BKC-N-A | Compatible with Burdick/ECG integrated cable/10-Leads/3mmPin type/AHA/244
| Patient Cable | EKC10R-BKC-N-I | Compatible with Burdick/ECG integrated cable/10-Leads/3mmPin type/IEC/244
| Patient Cable | EKC10-QT-N-A | Compatible with Quinton/ECG integrated cable/10-Leads/3mmPin type/AHA/333
| Patient Cable | EKC10-QT-N-I | Compatible with Quinton/ECG integrated cable/10-Leads/3mmPin type/IEC/333
| Patient Cable | EKC10-KZA-N-A | Compatible with Kenz/ECG integrated cable/10-Leads/3mmPin type/AHA/511
| Patient Cable | EKC10-KZA-N-I | Compatible with Kenz/ECG integrated cable/10-Leads/3mmPin type/IEC/511
| Patient Cable | EKC10-KZB-N-A | Compatible with Kenz/ECG integrated cable/10-Leads/3mmPin type/AHA/512
| Patient Cable | EKC10-KZB-N-I | Compatible with Kenz/ECG integrated cable/10-Leads/3mmPin type/IEC/512
| Patient Cable | EKC10R-ED-N-A | Compatible with Edan/ECG integrated cable/10-Leads/3mmPin type/AHA/504
| Patient Cable | EKC10R-ED-N-I | Compatible with Edan/ECG integrated cable/10-Leads/3mmPin type/IEC/504
| Patient Cable | EKC10-MT-N-A | Compatible with Mortara/ECG integrated cable/10-Leads/3mmPin type/AHA/508
| Patient Cable | EKC10-MT-N-I | Compatible with Mortara/ECG integrated cable/10-Leads/3mmPin type/IEC/508
| Patient Cable | EKC10R-MT-N-A | Compatible with Mortara/ECG integrated cable/10-Leads/3mmPin type/AHA/508
| Patient Cable | EKC10R-MT-N-I | Compatible with Mortara/ECG integrated cable/10-Leads/3mmPin type/IEC/508
| Patient Cable | EKC10R-DLA-N-A | Compatible with Dixtal/ECG integrated cable/10-Leads/3mmPin type/AHA/514
| Patient Cable | EKC10R-DLA-N-I | Compatible with Dixtal/ECG integrated cable/10-Leads/3mmPin type/IEC/514
| Patient Cable | EKC10R-DLB-N-A | Compatible with Dixtal/ECG integrated cable/10-Leads/3mmPin type/AHA/176
| Patient Cable | EKC10R-DLB-N-I | Compatible with Dixtal/ECG integrated cable/10-Leads/3mmPin type/IEC/176
| Patient Cable | EKC10-CW-N-A | Compatible with CareWell/ECG integrated cable/10-Leads/3mmPin type/AHA/504
| Patient Cable | EKC10-CW-N-I | Compatible with CareWell/ECG integrated cable/10-Leads/3mmPin type/IEC/504
| Patient Cable | EKC10R-CBM-N-A | Compatible with COMBIOMED/ECG integrated cable/10-Leads/3mmPin type/AHA/505
| Patient Cable | EKC10R-CBM-N-I | Compatible with COMBIOMED/ECG integrated cable/10-Leads/3mmPin type/IEC/505
| Patient Cable | EKC10R(06)-WA-N-A | Compatible with Welch Allyn/ECG integrated cable/10-Leads/3mmPin type/AHA/LP14-0GWith fixed sleeve
| Patient Cable | EKC10R(06)-WA-N-I | Compatible with Welch Allyn/ECG integrated cable/10-Leads/3mmPin type/IEC/LP14-0GWith fixed sleeve
| Patient Cable | EKT10R-MQ-GE-A | Compatible with GE Marquette/GE-Type/10-Leads/AHA/501-729
| Patient Cable | EKT10R-MQ-GE-I | Compatible with GE Marquette/GE-Type/10-Leads/IEC/501-729
| Patient Cable | EKT10R-HL-GE-A | Compatible with GE Hellige/GE-Type/10-Leads/AHA/500-729
| Patient Cable | EKT10R-HL-GE-I | Compatible with GE Hellige/GE-Type/10-Leads/IEC/500-729
| Patient Cable | EKT10R-BKB-GE-A | Compatible with Burdick/GE-Type/10-Leads/AHA/510-729
| Patient Cable | EKT10R-BKB-GE-I | Compatible with Burdick/GE-Type/10-Leads/IEC/510-729
| Patient Cable | EKT-GE-CAM14 | Compatible with GE CAM14/4.6+0.3M/325-247
| Patient Cable | EKT-GE-CAM14-S | Compatible with GE CAM14/1.3+0.3M/325-247
| Patient Cable | EKT-GE-AM4 | Compatible with GE AM4/4.6+0.3M/352-351
| Patient Cable | EKT-GE-AM4-S | Compatible with GE AM4/1.3+0.3M/352-351
| Patient Cable | EKT-GE-MAXP | Compatible with GE AM4 MAX-Personal/4.6+0.3M/363-363
| Patient Cable | EKT-GE-MAXP-S | Compatible with GE AM4 MAX-Personal/1.3+0.3M/363-363
| Patient Cable | EKT-GE-MAX1 | Compatible with GE AM4 MAX-1/4.6+0.3M/345-351
| Patient Cable | ELA-TMX5-PH5 | Compatible with ECG Adapter/TMX-PH/5-leads/855-704
| Patient Cable | ELA-TMX5-MQ5 | Compatible with ECG Adapter/TMX-MQ/5-leads/855-706
| Patient Cable | ELA-TMX5-CV5 | Compatible with ECG Adapter/TMX-CV/5-leads/855-742
| Patient Cable | ELA-TMX5PH-PH5 | Compatible with ECG Adapter/TMX-PH With SpO2/5-leads/855-704
| Patient Cable | ELA-TPH5-CV5 | Compatible with ECG Adapter/TPH-CV/5-leads/804-742
| Patient Cable | ELA-TMX5NE-PH5 | Compatible with ECG Adapter/TMX-PH With SpO2NE/5-leads/855-704
| Patient Cable | ELA-TMX5PH-MQ5 | Compatible with ECG Adapter/TMX-MQ With SpO2/5-leads/855-706
| Patient Cable | ELA-TMX5NE-MQ5 | Compatible with ECG Adapter/TMX-MQ With SpO2NE/5-leads/855-706
| Patient Cable | ELA-TMX5PH-CV5 | Compatible with ECG Adapter/TMX-CV With SpO2/5-leads/855-742
| Patient Cable | ELA-TMX5NE-CV5 | Compatible with ECG Adapter/TMX-CV With SpO2NE/5-leads/855-742
| Patient Cable | ELA-MQ5-CV5 | Compatible with ECG Adapter/MQ-CV/5-leads/807-742
| Patient Cable | ETM-SM-E5ST | Compatible with Draeger-Siemens/Multi-parameter main cable for ECG monitoring/ECG-5-leads+SpO2+Temperature/SM-Type/2.5M/094-736
| Patient Cable | ETM-SM15-E5ST | Compatible with Draeger-Siemens/Multi-parameter main cable for ECG monitoring/ECG-5-leads+SpO2+Temperature/SM-Type/1.5M/094-736
| Patient Cable | ETM-SM-E6ST | Compatible with Draeger-Siemens/Multi-parameter main cable for ECG monitoring/ECG 6Leads+SpO2+Temperature/SM-Type/2.5M/094-737
| Patient Cable | ETM-SM-E3ST2F | Compatible with Draeger-Siemens/Multi-parameter main cable for ECG monitoring/ECG+SpO2+Temperature+氧浓度/SM-Type/2.5M/094-739
| Patient Cable | ETM-DG-E6ST | Compatible with Draeger-Siemens/Multi-parameter main cable for ECG monitoring/ECG 6Leads+SpO2+Temperature/DG-Type/2.5M/094-738
| Patient Cable | ETM-DG-E6ST-OR | Compatible with Draeger-Siemens/Multi-parameter main cable for ECG monitoring/ECG 6Leads+SpO2+Temperature/DG-Type/2.5M/094-738