## Sheet1
Part Number |  | DescriptionExtra | Original Description | OperaDescription | paperworkdescription & pricedesc
6017900 | Patient Cable | EKC10R-MQ-G-A | Compatible with GE Marquette/ECG integrated cable/10-Leads/Clamp/AHA/501 | Patient Cable Compatible with GE Marquette - ECG integrated cable - 10-Leads - Clamp - AHA - 501 | Patient Cable Compatible with GE Marquette{R}ECG integrated cable - 10-Leads - Clamp - AHA - 501
6017901 | Patient Cable | EKC10R-MQ-G-I | Compatible with GE Marquette/ECG integrated cable/10-Leads/Clamp/IEC/501 | Patient Cable Compatible with GE Marquette - ECG integrated cable - 10-Leads - Clamp - IEC - 501 | Patient Cable Compatible with GE Marquette{R}ECG integrated cable - 10-Leads - Clamp - IEC - 501
6017902 | Patient Cable | EKC10-HL-G-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/Clamp/AHA/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - Clamp - AHA - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - Clamp - AHA - 500
6017903 | Patient Cable | EKC10-HL-G-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/Clamp/IEC/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - Clamp - IEC - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - Clamp - IEC - 500
6017904 | Patient Cable | EKC10R-HL-G-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/Clamp/AHA/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - Clamp - AHA - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - Clamp - AHA - 500
6017905 | Patient Cable | EKC10R-HL-G-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/Clamp/IEC/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - Clamp - IEC - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - Clamp - IEC - 500
6017906 | Patient Cable | EKC10-PH-G-A | Compatible with Philips/ECG integrated cable/10-Leads/Clamp/AHA/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Clamp - AHA - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Clamp - AHA - 502
6017907 | Patient Cable | EKC10-PH-G-I | Compatible with Philips/ECG integrated cable/10-Leads/Clamp/IEC/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Clamp - IEC - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Clamp - IEC - 502
6017908 | Patient Cable | EKC10R-PH-G-A | Compatible with Philips/ECG integrated cable/10-Leads/Clamp/AHA/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Clamp - AHA - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Clamp - AHA - 502
6017909 | Patient Cable | EKC10R-PH-G-I | Compatible with Philips/ECG integrated cable/10-Leads/Clamp/IEC/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Clamp - IEC - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Clamp - IEC - 502
6017910 | Patient Cable | EKC10-NKA-G-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/AHA/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Clamp - AHA - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Clamp - AHA - 505
6017911 | Patient Cable | EKC10-NKA-G-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/IEC/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Clamp - IEC - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Clamp - IEC - 505
6017912 | Patient Cable | EKC10R-NKA-G-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/AHA/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Clamp - AHA - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Clamp - AHA - 505
6017913 | Patient Cable | EKC10R-NKA-G-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/IEC/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Clamp - IEC - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Clamp - IEC - 505
6017914 | Patient Cable | EKC10-NKB-G-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/AHA/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Clamp - AHA - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Clamp - AHA - 504
6017915 | Patient Cable | EKC10-NKB-G-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/IEC/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Clamp - IEC - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Clamp - IEC - 504
6017916 | Patient Cable | EKC10R-NKB-G-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/AHA/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Clamp - AHA - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Clamp - AHA - 504
6017917 | Patient Cable | EKC10R-NKB-G-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Clamp/IEC/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Clamp - IEC - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Clamp - IEC - 504
6017918 | Patient Cable | EKC10R-SHA-G-A | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/AHA/503L | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Clamp - AHA - 503L | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Clamp - AHA - 503L
6017919 | Patient Cable | EKC10R-SHA-G-I | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/IEC/503L | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Clamp - IEC - 503L | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Clamp - IEC - 503L
6017920 | Patient Cable | EKC10R-SHB-G-A | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/AHA/503 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Clamp - AHA - 503 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Clamp - AHA - 503
6017921 | Patient Cable | EKC10R-SHB-G-I | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/IEC/503 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Clamp - IEC - 503 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Clamp - IEC - 503
6017922 | Patient Cable | EKC10-FDA-G-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/AHA/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Clamp - AHA - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Clamp - AHA - 506
6017923 | Patient Cable | EKC10-FDA-G-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/IEC/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Clamp - IEC - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Clamp - IEC - 506
6017924 | Patient Cable | EKC10R-FDA-G-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/AHA/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Clamp - AHA - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Clamp - AHA - 506
6017925 | Patient Cable | EKC10R-FDA-G-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/IEC/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Clamp - IEC - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Clamp - IEC - 506
6017926 | Patient Cable | EKC10-FDB-G-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/AHA/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Clamp - AHA - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Clamp - AHA - 507
6017927 | Patient Cable | EKC10-FDB-G-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/IEC/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Clamp - IEC - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Clamp - IEC - 507
6017928 | Patient Cable | EKC10R-FDB-G-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/AHA/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Clamp - AHA - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Clamp - AHA - 507
6017929 | Patient Cable | EKC10R-FDB-G-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Clamp/IEC/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Clamp - IEC - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Clamp - IEC - 507
6017930 | Patient Cable | EKC10-BKA-G-A | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/AHA/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Clamp - AHA - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Clamp - AHA - 509
6017931 | Patient Cable | EKC10-BKA-G-I | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/IEC/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Clamp - IEC - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Clamp - IEC - 509
6017932 | Patient Cable | EKC10R-BKA-G-A | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/AHA/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Clamp - AHA - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Clamp - AHA - 509
6017933 | Patient Cable | EKC10R-BKA-G-I | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/IEC/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Clamp - IEC - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Clamp - IEC - 509
6017934 | Patient Cable | EKC10-BKB-G-A | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/AHA/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Clamp - AHA - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Clamp - AHA - 510
6017935 | Patient Cable | EKC10-BKB-G-I | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/IEC/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Clamp - IEC - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Clamp - IEC - 510
6017936 | Patient Cable | EKC10R-BKB-G-A | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/AHA/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Clamp - AHA - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Clamp - AHA - 510
6017937 | Patient Cable | EKC10R-BKB-G-I | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/IEC/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Clamp - IEC - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Clamp - IEC - 510
6017938 | Patient Cable | EKC10R-BKC-G-A | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/AHA/244 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Clamp - AHA - 244 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Clamp - AHA - 244
6017939 | Patient Cable | EKC10R-BKC-G-I | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/IEC/244 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Clamp - IEC - 244 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Clamp - IEC - 244
6017940 | Patient Cable | EKC10-QT-G-A | Compatible with Quinton/ECG integrated cable/10-Leads/Clamp/AHA/333 | Patient Cable Compatible with Quinton - ECG integrated cable - 10-Leads - Clamp - AHA - 333 | Patient Cable Compatible with Quinton{R}ECG integrated cable - 10-Leads - Clamp - AHA - 333
6017941 | Patient Cable | EKC10-QT-G-I | Compatible with Quinton/ECG integrated cable/10-Leads/Clamp/IEC/333 | Patient Cable Compatible with Quinton - ECG integrated cable - 10-Leads - Clamp - IEC - 333 | Patient Cable Compatible with Quinton{R}ECG integrated cable - 10-Leads - Clamp - IEC - 333
6017942 | Patient Cable | EKC10-KZA-G-A | Compatible with Kenz/ECG integrated cable/10-Leads/Clamp/AHA/511 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - Clamp - AHA - 511 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - Clamp - AHA - 511
6017943 | Patient Cable | EKC10-KZA-G-I | Compatible with Kenz/ECG integrated cable/10-Leads/Clamp/IEC/511 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - Clamp - IEC - 511 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - Clamp - IEC - 511
6017944 | Patient Cable | EKC10-KZB-G-A | Compatible with Kenz/ECG integrated cable/10-Leads/Clamp/AHA/512 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - Clamp - AHA - 512 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - Clamp - AHA - 512
6017945 | Patient Cable | EKC10-KZB-G-I | Compatible with Kenz/ECG integrated cable/10-Leads/Clamp/IEC/512 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - Clamp - IEC - 512 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - Clamp - IEC - 512
6017946 | Patient Cable | EKC10R-ED-G-A | Compatible with Edan/ECG integrated cable/10-Leads/Clamp/AHA/504 | Patient Cable Compatible with Edan - ECG integrated cable - 10-Leads - Clamp - AHA - 504 | Patient Cable Compatible with Edan{R}ECG integrated cable - 10-Leads - Clamp - AHA - 504
6017947 | Patient Cable | EKC10R-ED-G-I | Compatible with Edan/ECG integrated cable/10-Leads/Clamp/IEC/504 | Patient Cable Compatible with Edan - ECG integrated cable - 10-Leads - Clamp - IEC - 504 | Patient Cable Compatible with Edan{R}ECG integrated cable - 10-Leads - Clamp - IEC - 504
6017948 | Patient Cable | EKC10-MT-G-A | Compatible with Mortara/ECG integrated cable/10-Leads/Clamp/AHA/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - Clamp - AHA - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - Clamp - AHA - 508
6017949 | Patient Cable | EKC10-MT-G-I | Compatible with Mortara/ECG integrated cable/10-Leads/Clamp/IEC/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - Clamp - IEC - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - Clamp - IEC - 508
6017950 | Patient Cable | EKC10R-MT-G-A | Compatible with Mortara/ECG integrated cable/10-Leads/Clamp/AHA/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - Clamp - AHA - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - Clamp - AHA - 508
6017951 | Patient Cable | EKC10R-MT-G-I | Compatible with Mortara/ECG integrated cable/10-Leads/Clamp/IEC/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - Clamp - IEC - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - Clamp - IEC - 508
6017952 | Patient Cable | EKC10R-DLA-G-A | Compatible with Dixtal/ECG integrated cable/10-Leads/Clamp/AHA/514 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - Clamp - AHA - 514 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - Clamp - AHA - 514
6017953 | Patient Cable | EKC10R-DLA-G-I | Compatible with Dixtal/ECG integrated cable/10-Leads/Clamp/IEC/514 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - Clamp - IEC - 514 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - Clamp - IEC - 514
6017954 | Patient Cable | EKC10R-DLB-G-A | Compatible with Dixtal/ECG integrated cable/10-Leads/Clamp/AHA/176S | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - Clamp - AHA - 176S | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - Clamp - AHA - 176S
6017955 | Patient Cable | EKC10R-DLB-G-I | Compatible with Dixtal/ECG integrated cable/10-Leads/Clamp/IEC/176S | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - Clamp - IEC - 176S | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - Clamp - IEC - 176S
6017956 | Patient Cable | EKC10-CW-G-A | Compatible with CareWell/ECG integrated cable/10-Leads/Clamp/AHA/504 | Patient Cable Compatible with CareWell - ECG integrated cable - 10-Leads - Clamp - AHA - 504 | Patient Cable Compatible with CareWell{R}ECG integrated cable - 10-Leads - Clamp - AHA - 504
6017957 | Patient Cable | EKC10-CW-G-I | Compatible with CareWell/ECG integrated cable/10-Leads/Clamp/IEC/504 | Patient Cable Compatible with CareWell - ECG integrated cable - 10-Leads - Clamp - IEC - 504 | Patient Cable Compatible with CareWell{R}ECG integrated cable - 10-Leads - Clamp - IEC - 504
6017958 | Patient Cable | EKC10R-CBM-G-A | Compatible with COMBIOMED/ECG integrated cable/10-Leads/Clamp/AHA/505 | Patient Cable Compatible with COMBIOMED - ECG integrated cable - 10-Leads - Clamp - AHA - 505 | Patient Cable Compatible with COMBIOMED{R}ECG integrated cable - 10-Leads - Clamp - AHA - 505
6017959 | Patient Cable | EKC10R-CBM-G-I | Compatible with COMBIOMED/ECG integrated cable/10-Leads/Clamp/IEC/505 | Patient Cable Compatible with COMBIOMED - ECG integrated cable - 10-Leads - Clamp - IEC - 505 | Patient Cable Compatible with COMBIOMED{R}ECG integrated cable - 10-Leads - Clamp - IEC - 505
6017960 | Patient Cable | EKC10R(06)-WA-G-A | Compatible with Welch Allyn/ECG integrated cable/10-Leads/Clamp/AHA/LP14-0GWith fixed sleeve | Patient Cable Compatible with Welch Allyn - ECG integrated cable - 10-Leads - Clamp - AHA - LP14-0G with fixed sleeve | Patient Cable Compatible with Welch Allyn{R}ECG integrated cable - 10-Leads - Clamp - AHA - LP14-0G with fixed sleeve
6017961 | Patient Cable | EKC10R(06)-WA-G-I | Compatible with Welch Allyn/ECG integrated cable/10-Leads/Clamp/IEC/LP14-0GWith fixed sleeve | Patient Cable Compatible with Welch Allyn - ECG integrated cable - 10-Leads - Clamp - IEC - LP14-0G with fixed sleeve | Patient Cable Compatible with Welch Allyn{R}ECG integrated cable - 10-Leads - Clamp - IEC - LP14-0G with fixed sleeve
6017962 | Patient Cable | EKC10R(44)-SHA-G-A | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/AHA/503 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Clamp - AHA - 503 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Clamp - AHA - 503
6017963 | Patient Cable | EKC10R(44)-SHA-G-I | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/IEC/503 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Clamp - IEC - 503 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Clamp - IEC - 503
6017964 | Patient Cable | EKC10R(50)-BKC-G-A | Compatible with Burdick/ECG integrated cable/10-Leads/Clamp/AHA/244 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Clamp - AHA - 244 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Clamp - AHA - 244
6017965 | Patient Cable | EKC10R-SHC-G-A | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/AHA/515 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Clamp - AHA - 515 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Clamp - AHA - 515
6017966 | Patient Cable | EKC10R-SHC-G-I | Compatible with Schiller/ECG integrated cable/10-Leads/Clamp/IEC/515 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Clamp - IEC - 515 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Clamp - IEC - 515
6017967 | Patient Cable | EKC10R-MQ-S-A | Compatible with GE Marquette/ECG integrated cable/10-Leads/Knot/AHA/501 | Patient Cable Compatible with GE Marquette - ECG integrated cable - 10-Leads - Knot - AHA - 501 | Patient Cable Compatible with GE Marquette{R}ECG integrated cable - 10-Leads - Knot - AHA - 501
6017968 | Patient Cable | EKC10R-MQ-S-I | Compatible with GE Marquette/ECG integrated cable/10-Leads/Knot/IEC/501 | Patient Cable Compatible with GE Marquette - ECG integrated cable - 10-Leads - Knot - IEC - 501 | Patient Cable Compatible with GE Marquette{R}ECG integrated cable - 10-Leads - Knot - IEC - 501
6017969 | Patient Cable | EKC10-HL-S-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/Knot/AHA/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - Knot - AHA - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - Knot - AHA - 500
6017970 | Patient Cable | EKC10-HL-S-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/Knot/IEC/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - Knot - IEC - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - Knot - IEC - 500
6017971 | Patient Cable | EKC10R-HL-S-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/Knot/AHA/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - Knot - AHA - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - Knot - AHA - 500
6017972 | Patient Cable | EKC10R-HL-S-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/Knot/IEC/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - Knot - IEC - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - Knot - IEC - 500
6017973 | Patient Cable | EKC10-PH-S-A | Compatible with Philips/ECG integrated cable/10-Leads/Knot/AHA/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Knot - AHA - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Knot - AHA - 502
6017974 | Patient Cable | EKC10-PH-S-I | Compatible with Philips/ECG integrated cable/10-Leads/Knot/IEC/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Knot - IEC - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Knot - IEC - 502
6017975 | Patient Cable | EKC10R-PH-S-A | Compatible with Philips/ECG integrated cable/10-Leads/Knot/AHA/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Knot - AHA - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Knot - AHA - 502
6017976 | Patient Cable | EKC10R-PH-S-I | Compatible with Philips/ECG integrated cable/10-Leads/Knot/IEC/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Knot - IEC - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Knot - IEC - 502
6017977 | Patient Cable | EKC10-NKA-S-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/AHA/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Knot - AHA - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Knot - AHA - 505
6017978 | Patient Cable | EKC10-NKA-S-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/IEC/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Knot - IEC - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Knot - IEC - 505
6017979 | Patient Cable | EKC10R-NKA-S-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/AHA/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Knot - AHA - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Knot - AHA - 505
6017980 | Patient Cable | EKC10R-NKA-S-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/IEC/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Knot - IEC - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Knot - IEC - 505
6017981 | Patient Cable | EKC10-NKB-S-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/AHA/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Knot - AHA - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Knot - AHA - 504
6017982 | Patient Cable | EKC10-NKB-S-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/IEC/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Knot - IEC - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Knot - IEC - 504
6017983 | Patient Cable | EKC10R-NKB-S-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/AHA/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Knot - AHA - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Knot - AHA - 504
6017984 | Patient Cable | EKC10R-NKB-S-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/IEC/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Knot - IEC - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Knot - IEC - 504
6017985 | Patient Cable | EKC10R-SHA-S-A | Compatible with Schiller/ECG integrated cable/10-Leads/Knot/AHA/503L | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Knot - AHA - 503L | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Knot - AHA - 503L
6017986 | Patient Cable | EKC10R-SHA-S-I | Compatible with Schiller/ECG integrated cable/10-Leads/Knot/IEC/503L | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Knot - IEC - 503L | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Knot - IEC - 503L
6017987 | Patient Cable | EKC10R-SHB-S-A | Compatible with Schiller/ECG integrated cable/10-Leads/Knot/AHA/503 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Knot - AHA - 503 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Knot - AHA - 503
6017988 | Patient Cable | EKC10R-SHB-S-I | Compatible with Schiller/ECG integrated cable/10-Leads/Knot/IEC/503 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Knot - IEC - 503 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Knot - IEC - 503
6017989 | Patient Cable | EKC10-FDA-S-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/AHA/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Knot - AHA - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Knot - AHA - 506
6017990 | Patient Cable | EKC10-FDA-S-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/IEC/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Knot - IEC - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Knot - IEC - 506
6017991 | Patient Cable | EKC10R-FDA-S-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/AHA/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Knot - AHA - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Knot - AHA - 506
6017992 | Patient Cable | EKC10R-FDA-S-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/IEC/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Knot - IEC - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Knot - IEC - 506
6017993 | Patient Cable | EKC10-FDB-S-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/AHA/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Knot - AHA - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Knot - AHA - 507
6017994 | Patient Cable | EKC10-FDB-S-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/IEC/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Knot - IEC - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Knot - IEC - 507
6017995 | Patient Cable | EKC10R-FDB-S-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/AHA/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Knot - AHA - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Knot - AHA - 507
6017996 | Patient Cable | EKC10R-FDB-S-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Knot/IEC/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Knot - IEC - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Knot - IEC - 507
6017997 | Patient Cable | EKC10-BKA-S-A | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/AHA/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Knot - AHA - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Knot - AHA - 509
6017998 | Patient Cable | EKC10-BKA-S-I | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/IEC/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Knot - IEC - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Knot - IEC - 509
6017999 | Patient Cable | EKC10R-BKA-S-A | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/AHA/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Knot - AHA - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Knot - AHA - 509
6018000 | Patient Cable | EKC10R-BKA-S-I | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/IEC/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Knot - IEC - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Knot - IEC - 509
6018001 | Patient Cable | EKC10-BKB-S-A | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/AHA/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Knot - AHA - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Knot - AHA - 510
6018002 | Patient Cable | EKC10-BKB-S-I | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/IEC/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Knot - IEC - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Knot - IEC - 510
6018003 | Patient Cable | EKC10R-BKB-S-A | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/AHA/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Knot - AHA - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Knot - AHA - 510
6018004 | Patient Cable | EKC10R-BKB-S-I | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/IEC/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Knot - IEC - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Knot - IEC - 510
6018005 | Patient Cable | EKC10R-BKC-S-A | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/AHA/244 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Knot - AHA - 244 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Knot - AHA - 244
6018006 | Patient Cable | EKC10R-BKC-S-I | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/IEC/244 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Knot - IEC - 244 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Knot - IEC - 244
6018007 | Patient Cable | EKC10-QT-S-A | Compatible with Quinton/ECG integrated cable/10-Leads/Knot/AHA/333 | Patient Cable Compatible with Quinton - ECG integrated cable - 10-Leads - Knot - AHA - 333 | Patient Cable Compatible with Quinton{R}ECG integrated cable - 10-Leads - Knot - AHA - 333
6018008 | Patient Cable | EKC10-QT-S-I | Compatible with Quinton/ECG integrated cable/10-Leads/Knot/IEC/333 | Patient Cable Compatible with Quinton - ECG integrated cable - 10-Leads - Knot - IEC - 333 | Patient Cable Compatible with Quinton{R}ECG integrated cable - 10-Leads - Knot - IEC - 333
6018009 | Patient Cable | EKC10-KZA-S-A | Compatible with Kenz/ECG integrated cable/10-Leads/Knot/AHA/511 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - Knot - AHA - 511 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - Knot - AHA - 511
6018010 | Patient Cable | EKC10-KZA-S-I | Compatible with Kenz/ECG integrated cable/10-Leads/Knot/IEC/511 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - Knot - IEC - 511 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - Knot - IEC - 511
6018011 | Patient Cable | EKC10-KZB-S-A | Compatible with Kenz/ECG integrated cable/10-Leads/Knot/AHA/512 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - Knot - AHA - 512 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - Knot - AHA - 512
6018012 | Patient Cable | EKC10-KZB-S-I | Compatible with Kenz/ECG integrated cable/10-Leads/Knot/IEC/512 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - Knot - IEC - 512 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - Knot - IEC - 512
6018013 | Patient Cable | EKC10R-ED-S-A | Compatible with Edan/ECG integrated cable/10-Leads/Knot/AHA/504 | Patient Cable Compatible with Edan - ECG integrated cable - 10-Leads - Knot - AHA - 504 | Patient Cable Compatible with Edan{R}ECG integrated cable - 10-Leads - Knot - AHA - 504
6018014 | Patient Cable | EKC10R-ED-S-I | Compatible with Edan/ECG integrated cable/10-Leads/Knot/IEC/504 | Patient Cable Compatible with Edan - ECG integrated cable - 10-Leads - Knot - IEC - 504 | Patient Cable Compatible with Edan{R}ECG integrated cable - 10-Leads - Knot - IEC - 504
6018015 | Patient Cable | EKC10-MT-S-A | Compatible with Mortara/ECG integrated cable/10-Leads/Knot/AHA/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - Knot - AHA - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - Knot - AHA - 508
6018016 | Patient Cable | EKC10-MT-S-I | Compatible with Mortara/ECG integrated cable/10-Leads/Knot/IEC/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - Knot - IEC - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - Knot - IEC - 508
6018017 | Patient Cable | EKC10R-MT-S-A | Compatible with Mortara/ECG integrated cable/10-Leads/Knot/AHA/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - Knot - AHA - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - Knot - AHA - 508
6018018 | Patient Cable | EKC10R-MT-S-I | Compatible with Mortara/ECG integrated cable/10-Leads/Knot/IEC/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - Knot - IEC - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - Knot - IEC - 508
6018019 | Patient Cable | EKC10R-DLA-S-A | Compatible with Dixtal/ECG integrated cable/10-Leads/Knot/AHA/514 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - Knot - AHA - 514 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - Knot - AHA - 514
6018020 | Patient Cable | EKC10R-DLA-S-I | Compatible with Dixtal/ECG integrated cable/10-Leads/Knot/IEC/514 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - Knot - IEC - 514 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - Knot - IEC - 514
6018021 | Patient Cable | EKC10R-DLB-S-A | Compatible with Dixtal/ECG integrated cable/10-Leads/Knot/AHA/176 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - Knot - AHA - 176 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - Knot - AHA - 176
6018022 | Patient Cable | EKC10R-DLB-S-I | Compatible with Dixtal/ECG integrated cable/10-Leads/Knot/IEC/176 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - Knot - IEC - 176 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - Knot - IEC - 176
6018023 | Patient Cable | EKC10-CW-S-A | Compatible with CareWell/ECG integrated cable/10-Leads/Knot/AHA/504 | Patient Cable Compatible with CareWell - ECG integrated cable - 10-Leads - Knot - AHA - 504 | Patient Cable Compatible with CareWell{R}ECG integrated cable - 10-Leads - Knot - AHA - 504
6018024 | Patient Cable | EKC10-CW-S-I | Compatible with CareWell/ECG integrated cable/10-Leads/Knot/IEC/504 | Patient Cable Compatible with CareWell - ECG integrated cable - 10-Leads - Knot - IEC - 504 | Patient Cable Compatible with CareWell{R}ECG integrated cable - 10-Leads - Knot - IEC - 504
6018025 | Patient Cable | EKC10R-CBM-S-A | Compatible with COMBIOMED/ECG integrated cable/10-Leads/Knot/AHA/505 | Patient Cable Compatible with COMBIOMED - ECG integrated cable - 10-Leads - Knot - AHA - 505 | Patient Cable Compatible with COMBIOMED{R}ECG integrated cable - 10-Leads - Knot - AHA - 505
6018026 | Patient Cable | EKC10R-CBM-S-I | Compatible with COMBIOMED/ECG integrated cable/10-Leads/Knot/IEC/505 | Patient Cable Compatible with COMBIOMED - ECG integrated cable - 10-Leads - Knot - IEC - 505 | Patient Cable Compatible with COMBIOMED{R}ECG integrated cable - 10-Leads - Knot - IEC - 505
6018027 | Patient Cable | EKC10R(06)-WA-S-A | Compatible with Welch Allyn/ECG integrated cable/10-Leads/Knot/AHA/LP14-0GWith fixed sleeve | Patient Cable Compatible with Welch Allyn - ECG integrated cable - 10-Leads - Knot - AHA - LP14-0G with fixed sleeve | Patient Cable Compatible with Welch Allyn{R}ECG integrated cable - 10-Leads - Knot - AHA - LP14-0G with fixed sleeve
6018028 | Patient Cable | EKC10R(06)-WA-S-I | Compatible with Welch Allyn/ECG integrated cable/10-Leads/Knot/IEC/LP14-0GWith fixed sleeve | Patient Cable Compatible with Welch Allyn - ECG integrated cable - 10-Leads - Knot - IEC - LP14-0G with fixed sleeve | Patient Cable Compatible with Welch Allyn{R}ECG integrated cable - 10-Leads - Knot - IEC - LP14-0G with fixed sleeve
6018029 | Patient Cable | EKC10R(50)-BKC-S-A | Compatible with Burdick/ECG integrated cable/10-Leads/Knot/AHA/244 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Knot - AHA - 244 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Knot - AHA - 244
6018030 | Patient Cable | EKC10(40)-NKB-S-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Knot/AHA/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Knot - AHA - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Knot - AHA - 504
6018031 | Patient Cable | EKC10R-SHC-S-A | Compatible with Schiller/ECG integrated cable/10-Leads/Knot/AHA/515 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Knot - AHA - 515 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Knot - AHA - 515
6018032 | Patient Cable | EKC10R-SHC-S-I | Compatible with Schiller/ECG integrated cable/10-Leads/Knot/IEC/515 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Knot - IEC - 515 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Knot - IEC - 515
6018033 | Patient Cable | EKC10R-MQ-B-A | Compatible with GE Marquette/ECG integrated cable/10-Leads/Banana plug type/AHA/501 | Patient Cable Compatible with GE Marquette - ECG integrated cable - 10-Leads - Banana plug type - AHA - 501 | Patient Cable Compatible with GE Marquette{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 501
6018034 | Patient Cable | EKC10R-MQ-B-I | Compatible with GE Marquette/ECG integrated cable/10-Leads/Banana plug type/IEC/501 | Patient Cable Compatible with GE Marquette - ECG integrated cable - 10-Leads - Banana plug type - IEC - 501 | Patient Cable Compatible with GE Marquette{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 501
6018035 | Patient Cable | EKC10-HL-B-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/Banana plug type/AHA/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - Banana plug type - AHA - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 500
6018036 | Patient Cable | EKC10-HL-B-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/Banana plug type/IEC/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - Banana plug type - IEC - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 500
6018037 | Patient Cable | EKC10R-HL-B-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/Banana plug type/AHA/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - Banana plug type - AHA - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 500
6018038 | Patient Cable | EKC10R-HL-B-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/Banana plug type/IEC/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - Banana plug type - IEC - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 500
6018039 | Patient Cable | EKC10-PH-B-A | Compatible with Philips/ECG integrated cable/10-Leads/Banana plug type/AHA/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Banana plug type - AHA - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 502
6018040 | Patient Cable | EKC10-PH-B-I | Compatible with Philips/ECG integrated cable/10-Leads/Banana plug type/IEC/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Banana plug type - IEC - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 502
6018041 | Patient Cable | EKC10R-PH-B-A | Compatible with Philips/ECG integrated cable/10-Leads/Banana plug type/AHA/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Banana plug type - AHA - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 502
6018042 | Patient Cable | EKC10R-PH-B-I | Compatible with Philips/ECG integrated cable/10-Leads/Banana plug type/IEC/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Banana plug type - IEC - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 502
6018043 | Patient Cable | EKC10-NKA-B-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/AHA/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Banana plug type - AHA - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 505
6018044 | Patient Cable | EKC10-NKA-B-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/IEC/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Banana plug type - IEC - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 505
6018045 | Patient Cable | EKC10R-NKA-B-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/AHA/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Banana plug type - AHA - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 505
6018046 | Patient Cable | EKC10R-NKA-B-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/IEC/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Banana plug type - IEC - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 505
6018047 | Patient Cable | EKC10-NKB-B-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/AHA/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Banana plug type - AHA - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 504
6018048 | Patient Cable | EKC10-NKB-B-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/IEC/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Banana plug type - IEC - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 504
6018049 | Patient Cable | EKC10R-NKB-B-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/AHA/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Banana plug type - AHA - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 504
6018050 | Patient Cable | EKC10R-NKB-B-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/Banana plug type/IEC/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - Banana plug type - IEC - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 504
6018051 | Patient Cable | EKC10R-SHA-B-A | Compatible with Schiller/ECG integrated cable/10-Leads/Banana plug type/AHA/503L | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Banana plug type - AHA - 503L | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 503L
6018052 | Patient Cable | EKC10R-SHA-B-I | Compatible with Schiller/ECG integrated cable/10-Leads/Banana plug type/IEC/503L | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Banana plug type - IEC - 503L | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 503L
6018053 | Patient Cable | EKC10R-SHB-B-A | Compatible with Schiller/ECG integrated cable/10-Leads/Banana plug type/AHA/503 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Banana plug type - AHA - 503 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 503
6018054 | Patient Cable | EKC10R-SHB-B-I | Compatible with Schiller/ECG integrated cable/10-Leads/Banana plug type/IEC/503 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Banana plug type - IEC - 503 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 503
6018055 | Patient Cable | EKC10-FDA-B-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/AHA/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Banana plug type - AHA - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 506
6018056 | Patient Cable | EKC10-FDA-B-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/IEC/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Banana plug type - IEC - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 506
6018057 | Patient Cable | EKC10R-FDA-B-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/AHA/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Banana plug type - AHA - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 506
6018058 | Patient Cable | EKC10R-FDA-B-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/IEC/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Banana plug type - IEC - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 506
6018059 | Patient Cable | EKC10-FDB-B-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/AHA/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Banana plug type - AHA - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 507
6018060 | Patient Cable | EKC10-FDB-B-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/IEC/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Banana plug type - IEC - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 507
6018061 | Patient Cable | EKC10R-FDB-B-A | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/AHA/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Banana plug type - AHA - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 507
6018062 | Patient Cable | EKC10R-FDB-B-I | Compatible with Fukuda/ECG integrated cable/10-Leads/Banana plug type/IEC/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - Banana plug type - IEC - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 507
6018063 | Patient Cable | EKC10-BKA-B-A | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/AHA/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Banana plug type - AHA - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 509
6018064 | Patient Cable | EKC10-BKA-B-I | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/IEC/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Banana plug type - IEC - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 509
6018065 | Patient Cable | EKC10R-BKA-B-A | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/AHA/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Banana plug type - AHA - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 509
6018066 | Patient Cable | EKC10R-BKA-B-I | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/IEC/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Banana plug type - IEC - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 509
6018067 | Patient Cable | EKC10-BKB-B-A | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/AHA/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Banana plug type - AHA - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 510
6018068 | Patient Cable | EKC10-BKB-B-I | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/IEC/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Banana plug type - IEC - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 510
6018069 | Patient Cable | EKC10R-BKB-B-A | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/AHA/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Banana plug type - AHA - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 510
6018070 | Patient Cable | EKC10R-BKB-B-I | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/IEC/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Banana plug type - IEC - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 510
6018071 | Patient Cable | EKC10R-BKC-B-A | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/AHA/244 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Banana plug type - AHA - 244 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 244
6018072 | Patient Cable | EKC10R-BKC-B-I | Compatible with Burdick/ECG integrated cable/10-Leads/Banana plug type/IEC/244 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - Banana plug type - IEC - 244 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 244
6018073 | Patient Cable | EKC10-QT-B-A | Compatible with Quinton/ECG integrated cable/10-Leads/Banana plug type/AHA/333 | Patient Cable Compatible with Quinton - ECG integrated cable - 10-Leads - Banana plug type - AHA - 333 | Patient Cable Compatible with Quinton{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 333
6018074 | Patient Cable | EKC10-QT-B-I | Compatible with Quinton/ECG integrated cable/10-Leads/Banana plug type/IEC/333 | Patient Cable Compatible with Quinton - ECG integrated cable - 10-Leads - Banana plug type - IEC - 333 | Patient Cable Compatible with Quinton{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 333
6018075 | Patient Cable | EKC10-KZA-B-A | Compatible with Kenz/ECG integrated cable/10-Leads/Banana plug type/AHA/511 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - Banana plug type - AHA - 511 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 511
6018076 | Patient Cable | EKC10-KZA-B-I | Compatible with Kenz/ECG integrated cable/10-Leads/Banana plug type/IEC/511 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - Banana plug type - IEC - 511 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 511
6018077 | Patient Cable | EKC10-KZB-B-A | Compatible with Kenz/ECG integrated cable/10-Leads/Banana plug type/AHA/512 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - Banana plug type - AHA - 512 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 512
6018078 | Patient Cable | EKC10-KZB-B-I | Compatible with Kenz/ECG integrated cable/10-Leads/Banana plug type/IEC/512 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - Banana plug type - IEC - 512 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 512
6018079 | Patient Cable | EKC10R-ED-B-A | Compatible with Edan/ECG integrated cable/10-Leads/Banana plug type/AHA/504 | Patient Cable Compatible with Edan - ECG integrated cable - 10-Leads - Banana plug type - AHA - 504 | Patient Cable Compatible with Edan{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 504
6018080 | Patient Cable | EKC10R-ED-B-I | Compatible with Edan/ECG integrated cable/10-Leads/Banana plug type/IEC/504 | Patient Cable Compatible with Edan - ECG integrated cable - 10-Leads - Banana plug type - IEC - 504 | Patient Cable Compatible with Edan{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 504
6018081 | Patient Cable | EKC10-MT-B-A | Compatible with Mortara/ECG integrated cable/10-Leads/Banana plug type/AHA/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - Banana plug type - AHA - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 508
6018082 | Patient Cable | EKC10-MT-B-I | Compatible with Mortara/ECG integrated cable/10-Leads/Banana plug type/IEC/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - Banana plug type - IEC - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 508
6018083 | Patient Cable | EKC10R-MT-B-A | Compatible with Mortara/ECG integrated cable/10-Leads/Banana plug type/AHA/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - Banana plug type - AHA - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 508
6018084 | Patient Cable | EKC10R-MT-B-I | Compatible with Mortara/ECG integrated cable/10-Leads/Banana plug type/IEC/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - Banana plug type - IEC - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 508
6018085 | Patient Cable | EKC10R-DLA-B-A | Compatible with Dixtal/ECG integrated cable/10-Leads/Banana plug type/AHA/514 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - Banana plug type - AHA - 514 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 514
6018086 | Patient Cable | EKC10R-DLA-B-I | Compatible with Dixtal/ECG integrated cable/10-Leads/Banana plug type/IEC/514 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - Banana plug type - IEC - 514 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 514
6018087 | Patient Cable | EKC10R-DLB-B-A | Compatible with Dixtal/ECG integrated cable/10-Leads/Banana plug type/AHA/176 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - Banana plug type - AHA - 176 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 176
6018088 | Patient Cable | EKC10R-DLB-B-I | Compatible with Dixtal/ECG integrated cable/10-Leads/Banana plug type/IEC/176 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - Banana plug type - IEC - 176 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 176
6018089 | Patient Cable | EKC10-CW-B-A | Compatible with CareWell/ECG integrated cable/10-Leads/Banana plug type/AHA/504 | Patient Cable Compatible with CareWell - ECG integrated cable - 10-Leads - Banana plug type - AHA - 504 | Patient Cable Compatible with CareWell{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 504
6018090 | Patient Cable | EKC10-CW-B-I | Compatible with CareWell/ECG integrated cable/10-Leads/Banana plug type/IEC/504 | Patient Cable Compatible with CareWell - ECG integrated cable - 10-Leads - Banana plug type - IEC - 504 | Patient Cable Compatible with CareWell{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 504
6018091 | Patient Cable | EKC10R-CBM-B-A | Compatible with COMBIOMED/ECG integrated cable/10-Leads/Banana plug type/AHA/505 | Patient Cable Compatible with COMBIOMED - ECG integrated cable - 10-Leads - Banana plug type - AHA - 505 | Patient Cable Compatible with COMBIOMED{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 505
6018092 | Patient Cable | EKC10R-CBM-B-I | Compatible with COMBIOMED/ECG integrated cable/10-Leads/Banana plug type/IEC/505 | Patient Cable Compatible with COMBIOMED - ECG integrated cable - 10-Leads - Banana plug type - IEC - 505 | Patient Cable Compatible with COMBIOMED{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 505
6018093 | Patient Cable | EKC10R(06)-WA-B-A | Compatible with Welch Allyn/ECG integrated cable/10-Leads/Banana plug type/AHA/LP14-0GWith fixed sleeve | Patient Cable Compatible with Welch Allyn - ECG integrated cable - 10-Leads - Banana plug type - AHA - LP14-0G with fixed sleeve | Patient Cable Compatible with Welch Allyn{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - LP14-0G with fixed sleeve
6018094 | Patient Cable | EKC10R(06)-WA-B-I | Compatible with Welch Allyn/ECG integrated cable/10-Leads/Banana plug type/IEC/LP14-0GWith fixed sleeve | Patient Cable Compatible with Welch Allyn - ECG integrated cable - 10-Leads - Banana plug type - IEC - LP14-0G with fixed sleeve | Patient Cable Compatible with Welch Allyn{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - LP14-0G with fixed sleeve
6018095 | Patient Cable | EKC10(03)-PH-B-A | Compatible with Philips/ECG integrated cable/10-Leads/Banana plug type/AHA/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Banana plug type - AHA - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 502
6018096 | Patient Cable | EKC10R-SHC-B-A | Compatible with Schiller/ECG integrated cable/10-Leads/Banana plug type/AHA/515 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Banana plug type - AHA - 515 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 515
6018097 | Patient Cable | EKC10R-SHC-B-I | Compatible with Schiller/ECG integrated cable/10-Leads/Banana plug type/IEC/515 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - Banana plug type - IEC - 515 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - Banana plug type - IEC - 515
6018098 | Patient Cable | EKC10R(03)-PH-B-A | Compatible with Philips/ECG integrated cable/10-Leads/Banana plug type/AHA/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - Banana plug type - AHA - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - Banana plug type - AHA - 502
6018099 | Patient Cable | EKC10R-MQ-N-A | Compatible with GE Marquette/ECG integrated cable/10-Leads/3mm Pin type/AHA/501 | Patient Cable Compatible with GE Marquette - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 501 | Patient Cable Compatible with GE Marquette{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 501
6018100 | Patient Cable | EKC10R-MQ-N-I | Compatible with GE Marquette/ECG integrated cable/10-Leads/3mm Pin type/IEC/501 | Patient Cable Compatible with GE Marquette - ECG integrated cable - 10-Leads - 3mmPin type - IEC - 501 | Patient Cable Compatible with GE Marquette{R}ECG integrated cable - 10-Leads - 3mmPin type - IEC - 501
6018101 | Patient Cable | EKC10-HL-N-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/3mm Pin type/AHA/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 500
6018102 | Patient Cable | EKC10-HL-N-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/3mm Pin type/IEC/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 500
6018103 | Patient Cable | EKC10R-HL-N-A | Compatible with GE Hellige/ECG integrated cable/10-Leads/3mm Pin type/AHA/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 500
6018104 | Patient Cable | EKC10R-HL-N-I | Compatible with GE Hellige/ECG integrated cable/10-Leads/3mm Pin type/IEC/500 | Patient Cable Compatible with GE Hellige - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 500 | Patient Cable Compatible with GE Hellige{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 500
6018105 | Patient Cable | EKC10-PH-N-A | Compatible with Philips/ECG integrated cable/10-Leads/3mm Pin type/AHA/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 502
6018106 | Patient Cable | EKC10-PH-N-I | Compatible with Philips/ECG integrated cable/10-Leads/3mm Pin type/IEC/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 502
6018107 | Patient Cable | EKC10R-PH-N-A | Compatible with Philips/ECG integrated cable/10-Leads/3mm Pin type/AHA/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 502
6018108 | Patient Cable | EKC10R-PH-N-I | Compatible with Philips/ECG integrated cable/10-Leads/3mm Pin type/IEC/502 | Patient Cable Compatible with Philips - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 502 | Patient Cable Compatible with Philips{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 502
6018109 | Patient Cable | EKC10-NKA-N-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mm Pin type/AHA/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 505
6018110 | Patient Cable | EKC10-NKA-N-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mm Pin type/IEC/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 505
6018111 | Patient Cable | EKC10R-NKA-N-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mm Pin type/AHA/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 505
6018112 | Patient Cable | EKC10R-NKA-N-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mm Pin type/IEC/505 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 505 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 505
6018113 | Patient Cable | EKC10-NKB-N-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mm Pin type/AHA/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 504
6018114 | Patient Cable | EKC10-NKB-N-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mm Pin type/IEC/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 504
6018115 | Patient Cable | EKC10R-NKB-N-A | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mm Pin type/AHA/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 504
6018116 | Patient Cable | EKC10R-NKB-N-I | Compatible with Nihon Kohden/ECG integrated cable/10-Leads/3mm Pin type/IEC/504 | Patient Cable Compatible with Nihon Kohden - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 504 | Patient Cable Compatible with Nihon Kohden{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 504
6018117 | Patient Cable | EKC10R-SHA-N-A | Compatible with Schiller/ECG integrated cable/10-Leads/3mm Pin type/AHA/503L | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 503L | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 503L
6018118 | Patient Cable | EKC10R-SHA-N-I | Compatible with Schiller/ECG integrated cable/10-Leads/3mm Pin type/IEC/503L | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 503L | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 503L
6018119 | Patient Cable | EKC10R-SHB-N-A | Compatible with Schiller/ECG integrated cable/10-Leads/3mm Pin type/AHA/503 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 503 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 503
6018120 | Patient Cable | EKC10R-SHB-N-I | Compatible with Schiller/ECG integrated cable/10-Leads/3mm Pin type/IEC/503 | Patient Cable Compatible with Schiller - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 503 | Patient Cable Compatible with Schiller{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 503
6018121 | Patient Cable | EKC10-FDA-N-A | Compatible with Fukuda/ECG integrated cable/10-Leads/3mm Pin type/AHA/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 506
6018122 | Patient Cable | EKC10-FDA-N-I | Compatible with Fukuda/ECG integrated cable/10-Leads/3mm Pin type/IEC/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 506
6018123 | Patient Cable | EKC10R-FDA-N-A | Compatible with Fukuda/ECG integrated cable/10-Leads/3mm Pin type/AHA/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 506
6018124 | Patient Cable | EKC10R-FDA-N-I | Compatible with Fukuda/ECG integrated cable/10-Leads/3mm Pin type/IEC/506 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 506 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 506
6018125 | Patient Cable | EKC10-FDB-N-A | Compatible with Fukuda/ECG integrated cable/10-Leads/3mm Pin type/AHA/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 507
6018126 | Patient Cable | EKC10-FDB-N-I | Compatible with Fukuda/ECG integrated cable/10-Leads/3mm Pin type/IEC/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 507
6018127 | Patient Cable | EKC10R-FDB-N-A | Compatible with Fukuda/ECG integrated cable/10-Leads/3mm Pin type/AHA/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 507
6018128 | Patient Cable | EKC10R-FDB-N-I | Compatible with Fukuda/ECG integrated cable/10-Leads/3mm Pin type/IEC/507 | Patient Cable Compatible with Fukuda - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 507 | Patient Cable Compatible with Fukuda{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 507
6018129 | Patient Cable | EKC10-BKA-N-A | Compatible with Burdick/ECG integrated cable/10-Leads/3mm Pin type/AHA/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 509
6018130 | Patient Cable | EKC10-BKA-N-I | Compatible with Burdick/ECG integrated cable/10-Leads/3mm Pin type/IEC/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 509
6018131 | Patient Cable | EKC10R-BKA-N-A | Compatible with Burdick/ECG integrated cable/10-Leads/3mm Pin type/AHA/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 509
6018132 | Patient Cable | EKC10R-BKA-N-I | Compatible with Burdick/ECG integrated cable/10-Leads/3mm Pin type/IEC/509 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 509 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 509
6018133 | Patient Cable | EKC10-BKB-N-A | Compatible with Burdick/ECG integrated cable/10-Leads/3mm Pin type/AHA/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 510
6018134 | Patient Cable | EKC10-BKB-N-I | Compatible with Burdick/ECG integrated cable/10-Leads/3mm Pin type/IEC/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 510
6018135 | Patient Cable | EKC10R-BKB-N-A | Compatible with Burdick/ECG integrated cable/10-Leads/3mm Pin type/AHA/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 510
6018136 | Patient Cable | EKC10R-BKB-N-I | Compatible with Burdick/ECG integrated cable/10-Leads/3mm Pin type/IEC/510 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 510 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 510
6018137 | Patient Cable | EKC10R-BKC-N-A | Compatible with Burdick/ECG integrated cable/10-Leads/3mm Pin type/AHA/244 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 244 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 244
6018138 | Patient Cable | EKC10R-BKC-N-I | Compatible with Burdick/ECG integrated cable/10-Leads/3mm Pin type/IEC/244 | Patient Cable Compatible with Burdick - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 244 | Patient Cable Compatible with Burdick{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 244
6018139 | Patient Cable | EKC10-QT-N-A | Compatible with Quinton/ECG integrated cable/10-Leads/3mm Pin type/AHA/333 | Patient Cable Compatible with Quinton - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 333 | Patient Cable Compatible with Quinton{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 333
6018140 | Patient Cable | EKC10-QT-N-I | Compatible with Quinton/ECG integrated cable/10-Leads/3mm Pin type/IEC/333 | Patient Cable Compatible with Quinton - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 333 | Patient Cable Compatible with Quinton{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 333
6018141 | Patient Cable | EKC10-KZA-N-A | Compatible with Kenz/ECG integrated cable/10-Leads/3mm Pin type/AHA/511 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 511 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 511
6018142 | Patient Cable | EKC10-KZA-N-I | Compatible with Kenz/ECG integrated cable/10-Leads/3mm Pin type/IEC/511 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 511 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 511
6018143 | Patient Cable | EKC10-KZB-N-A | Compatible with Kenz/ECG integrated cable/10-Leads/3mm Pin type/AHA/512 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 512 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 512
6018144 | Patient Cable | EKC10-KZB-N-I | Compatible with Kenz/ECG integrated cable/10-Leads/3mm Pin type/IEC/512 | Patient Cable Compatible with Kenz - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 512 | Patient Cable Compatible with Kenz{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 512
6018145 | Patient Cable | EKC10R-ED-N-A | Compatible with Edan/ECG integrated cable/10-Leads/3mm Pin type/AHA/504 | Patient Cable Compatible with Edan - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 504 | Patient Cable Compatible with Edan{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 504
6018146 | Patient Cable | EKC10R-ED-N-I | Compatible with Edan/ECG integrated cable/10-Leads/3mm Pin type/IEC/504 | Patient Cable Compatible with Edan - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 504 | Patient Cable Compatible with Edan{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 504
6018147 | Patient Cable | EKC10-MT-N-A | Compatible with Mortara/ECG integrated cable/10-Leads/3mm Pin type/AHA/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 508
6018148 | Patient Cable | EKC10-MT-N-I | Compatible with Mortara/ECG integrated cable/10-Leads/3mm Pin type/IEC/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 508
6018149 | Patient Cable | EKC10R-MT-N-A | Compatible with Mortara/ECG integrated cable/10-Leads/3mm Pin type/AHA/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 508
6018150 | Patient Cable | EKC10R-MT-N-I | Compatible with Mortara/ECG integrated cable/10-Leads/3mm Pin type/IEC/508 | Patient Cable Compatible with Mortara - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 508 | Patient Cable Compatible with Mortara{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 508
6018151 | Patient Cable | EKC10R-DLA-N-A | Compatible with Dixtal/ECG integrated cable/10-Leads/3mm Pin type/AHA/514 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 514 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 514
6018152 | Patient Cable | EKC10R-DLA-N-I | Compatible with Dixtal/ECG integrated cable/10-Leads/3mm Pin type/IEC/514 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 514 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 514
6018153 | Patient Cable | EKC10R-DLB-N-A | Compatible with Dixtal/ECG integrated cable/10-Leads/3mm Pin type/AHA/176 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 176 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 176
6018154 | Patient Cable | EKC10R-DLB-N-I | Compatible with Dixtal/ECG integrated cable/10-Leads/3mm Pin type/IEC/176 | Patient Cable Compatible with Dixtal - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 176 | Patient Cable Compatible with Dixtal{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 176
6018155 | Patient Cable | EKC10-CW-N-A | Compatible with CareWell/ECG integrated cable/10-Leads/3mm Pin type/AHA/504 | Patient Cable Compatible with CareWell - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 504 | Patient Cable Compatible with CareWell{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 504
6018156 | Patient Cable | EKC10-CW-N-I | Compatible with CareWell/ECG integrated cable/10-Leads/3mm Pin type/IEC/504 | Patient Cable Compatible with CareWell - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 504 | Patient Cable Compatible with CareWell{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 504
6018157 | Patient Cable | EKC10R-CBM-N-A | Compatible with COMBIOMED/ECG integrated cable/10-Leads/3mm Pin type/AHA/505 | Patient Cable Compatible with COMBIOMED - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 505 | Patient Cable Compatible with COMBIOMED{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - 505
6018158 | Patient Cable | EKC10R-CBM-N-I | Compatible with COMBIOMED/ECG integrated cable/10-Leads/3mm Pin type/IEC/505 | Patient Cable Compatible with COMBIOMED - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 505 | Patient Cable Compatible with COMBIOMED{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - 505
6018159 | Patient Cable | EKC10R(06)-WA-N-A | Compatible with Welch Allyn/ECG integrated cable/10-Leads/3mm Pin type/AHA/LP14-0GWith fixed sleeve | Patient Cable Compatible with Welch Allyn - ECG integrated cable - 10-Leads - 3mm Pin type - AHA - LP14-0G with fixed sleeve | Patient Cable Compatible with Welch Allyn{R}ECG integrated cable - 10-Leads - 3mm Pin type - AHA - LP14-0G with fixed sleeve
6018160 | Patient Cable | EKC10R(06)-WA-N-I | Compatible with Welch Allyn/ECG integrated cable/10-Leads/3mm Pin type/IEC/LP14-0GWith fixed sleeve | Patient Cable Compatible with Welch Allyn - ECG integrated cable - 10-Leads - 3mm Pin type - IEC - LP14-0G with fixed sleeve | Patient Cable Compatible with Welch Allyn{R}ECG integrated cable - 10-Leads - 3mm Pin type - IEC - LP14-0G with fixed sleeve
6018161 | Patient Cable | EKT10R-MQ-GE-A | Compatible with GE Marquette/GE-Type/10-Leads/AHA/501-729 | Patient Cable Compatible with GE Marquette - GE-Type - 10-Leads - AHA - 501-729 | Patient Cable Compatible with GE Marquette{R}GE-Type - 10-Leads - AHA - 501-729
6018162 | Patient Cable | EKT10R-MQ-GE-I | Compatible with GE Marquette/GE-Type/10-Leads/IEC/501-729 | Patient Cable Compatible with GE Marquette - GE-Type - 10-Leads - IEC - 501-729 | Patient Cable Compatible with GE Marquette{R}GE-Type - 10-Leads - IEC - 501-729
6018163 | Patient Cable | EKT10R-HL-GE-A | Compatible with GE Hellige/GE-Type/10-Leads/AHA/500-729 | Patient Cable Compatible with GE Hellige - GE-Type - 10-Leads - AHA - 500-729 | Patient Cable Compatible with GE Hellige{R}GE-Type - 10-Leads - AHA - 500-729
6018164 | Patient Cable | EKT10R-HL-GE-I | Compatible with GE Hellige/GE-Type/10-Leads/IEC/500-729 | Patient Cable Compatible with GE Hellige - GE-Type - 10-Leads - IEC - 500-729 | Patient Cable Compatible with GE Hellige{R}GE-Type - 10-Leads - IEC - 500-729
6018165 | Patient Cable | EKT10R-BKB-GE-A | Compatible with Burdick/GE-Type/10-Leads/AHA/510-729 | Patient Cable Compatible with Burdick - GE-Type - 10-Leads - AHA - 510-729 | Patient Cable Compatible with Burdick{R}GE-Type - 10-Leads - AHA - 510-729
6018166 | Patient Cable | EKT10R-BKB-GE-I | Compatible with Burdick/GE-Type/10-Leads/IEC/510-729 | Patient Cable Compatible with Burdick - GE-Type - 10-Leads - IEC - 510-729 | Patient Cable Compatible with Burdick{R}GE-Type - 10-Leads - IEC - 510-729
6018167 | Patient Cable | EKT-GE-CAM14 | Compatible with GE CAM14/4.6+0.3M/325-247 | Patient Cable Compatible with GE CAM14 - 4.6+0.3M - 325-247 | Patient Cable Compatible with GE CAM14{R}4.6+0.3M - 325-247
6018168 | Patient Cable | EKT-GE-CAM14-S | Compatible with GE CAM14/1.3+0.3M/325-247 | Patient Cable Compatible with GE CAM14 - 1.3+0.3M - 325-247 | Patient Cable Compatible with GE CAM14{R}1.3+0.3M - 325-247
6018169 | Patient Cable | EKT-GE-AM4 | Compatible with GE AM4/4.6+0.3M/352-351 | Patient Cable Compatible with GE AM4 - 4.6+0.3M - 352-351 | Patient Cable Compatible with GE AM4{R}4.6+0.3M - 352-351
6018170 | Patient Cable | EKT-GE-AM4-S | Compatible with GE AM4/1.3+0.3M/352-351 | Patient Cable Compatible with GE AM4 - 1.3+0.3M - 352-351 | Patient Cable Compatible with GE AM4{R}1.3+0.3M - 352-351
6018171 | Patient Cable | EKT-GE-MAXP | Compatible with GE AM4 MAX-Personal/4.6+0.3M/363-363 | Patient Cable Compatible with GE AM4 MAX-Personal - 4.6+0.3M - 363-363 | Patient Cable Compatible with GE AM4 MAX-Personal{R} 4.6+0.3M - 363-363
6018172 | Patient Cable | EKT-GE-MAXP-S | Compatible with GE AM4 MAX-Personal/1.3+0.3M/363-363 | Patient Cable Compatible with GE AM4 MAX-Personal - 1.3+0.3M - 363-363 | Patient Cable Compatible with GE AM4 MAX-Personal{R}1.3+0.3M - 363-363
6018173 | Patient Cable | EKT-GE-MAX1 | Compatible with GE AM4 MAX-1/4.6+0.3M/345-351 | Patient Cable Compatible with GE AM4 MAX-1 - 4.6+0.3M - 345-351 | Patient Cable Compatible with GE AM4 MAX-1{R}4.6+0.3M - 345-351
6018174 | Patient Cable | ELA-TMX5-PH5 | Compatible with ECG Adapter/TMX-PH/5-leads/855-704 | Patient Cable Compatible with ECG Adapter - TMX-PH - 5-leads - 855-704 | Patient Cable Compatible with ECG Adapter{R}TMX-PH - 5-leads - 855-704
6018175 | Patient Cable | ELA-TMX5-MQ5 | Compatible with ECG Adapter/TMX-MQ/5-leads/855-706 | Patient Cable Compatible with ECG Adapter - TMX-MQ - 5-leads - 855-706 | Patient Cable Compatible with ECG Adapter{R}TMX-MQ - 5-leads - 855-706
6018176 | Patient Cable | ELA-TMX5-CV5 | Compatible with ECG Adapter/TMX-CV/5-leads/855-742 | Patient Cable Compatible with ECG Adapter - TMX-CV - 5-leads - 855-742 | Patient Cable Compatible with ECG Adapter{R}TMX-CV - 5-leads - 855-742
6018177 | Patient Cable | ELA-TMX5PH-PH5 | Compatible with ECG Adapter/TMX-PH With SpO2/5-leads/855-704 | Patient Cable Compatible with ECG Adapter - TMX-PH with SpO2 - 5-leads - 855-704 | Patient Cable Compatible with ECG Adapter{R}TMX-PH with SpO2 - 5-leads - 855-704
6018178 | Patient Cable | ELA-TPH5-CV5 | Compatible with ECG Adapter/TPH-CV/5-leads/804-742 | Patient Cable Compatible with ECG Adapter - TPH-CV - 5-leads - 804-742 | Patient Cable Compatible with ECG Adapter{R}TPH-CV - 5-leads - 804-742
6018179 | Patient Cable | ELA-TMX5NE-PH5 | Compatible with ECG Adapter/TMX-PH With SpO2NE/5-leads/855-704 | Patient Cable Compatible with ECG Adapter - TMX-PH with SpO2NE - 5-leads - 855-704 | Patient Cable Compatible with ECG Adapter{R}TMX-PH with SpO2NE - 5-leads - 855-704
6018180 | Patient Cable | ELA-TMX5PH-MQ5 | Compatible with ECG Adapter/TMX-MQ With SpO2/5-leads/855-706 | Patient Cable Compatible with ECG Adapter - TMX-MQ with SpO2 - 5-leads - 855-706 | Patient Cable Compatible with ECG Adapter{R}TMX-MQ with SpO2 - 5-leads - 855-706
6018181 | Patient Cable | ELA-TMX5NE-MQ5 | Compatible with ECG Adapter/TMX-MQ With SpO2NE/5-leads/855-706 | Patient Cable Compatible with ECG Adapter - TMX-MQ with SpO2NE - 5-leads - 855-706 | Patient Cable Compatible with ECG Adapter{R}TMX-MQ with SpO2NE - 5-leads - 855-706
6018182 | Patient Cable | ELA-TMX5PH-CV5 | Compatible with ECG Adapter/TMX-CV With SpO2/5-leads/855-742 | Patient Cable Compatible with ECG Adapter - TMX-CV with SpO2 - 5-leads - 855-742 | Patient Cable Compatible with ECG Adapter{R}TMX-CV with SpO2 - 5-leads - 855-742
6018183 | Patient Cable | ELA-TMX5NE-CV5 | Compatible with ECG Adapter/TMX-CV With SpO2NE/5-leads/855-742 | Patient Cable Compatible with ECG Adapter - TMX-CV with SpO2NE - 5-leads - 855-742 | Patient Cable Compatible with ECG Adapter{R}TMX-CV with SpO2NE - 5-leads - 855-742
6018184 | Patient Cable | ELA-MQ5-CV5 | Compatible with ECG Adapter/MQ-CV/5-leads/807-742 | Patient Cable Compatible with ECG Adapter - MQ-CV - 5-leads - 807-742 | Patient Cable Compatible with ECG Adapter{R}MQ-CV - 5-leads - 807-742
6018185 | Patient Cable | ETM-SM-E5ST | Compatible with Draeger-Siemens/Multi-parameter main cable for ECG monitoring/ECG-5-leads+SpO2+Temperature/SM-Type/2.5m/094-736 | Patient Cable Compatible with Draeger-Siemens - Multi-parameter main cable for ECG monitoring - ECG-5-leads+SpO2+Temperature - SM-Type - 2.5m - 094-736 | Patient Cable Compatible with Draeger-Siemens{R}Multi-parameter main cable for ECG monitoring – ECG-5-leads+SpO2+Temperature{R}SM-Type - 2.5m - 094-736
6018186 | Patient Cable | ETM-SM15-E5ST | Compatible with Draeger-Siemens/Multi-parameter main cable for ECG monitoring/ECG-5-leads+SpO2+Temperature/SM-Type/1.5M/094-736 | Patient Cable Compatible with Draeger-Siemens - Multi-parameter main cable for ECG monitoring - ECG-5-leads+SpO2+Temperature - SM-Type - 1.5M - 094-736 | Patient Cable Compatible with Draeger-Siemens{R}Multi-parameter main cable for ECG monitoring – ECG-5-leads+SpO2+Temperature{R}SM-Type - 1.5m - 094-736
6018187 | Patient Cable | ETM-SM-E6ST | Compatible with Draeger-Siemens/Multi-parameter main cable for ECG monitoring/ECG 6Leads+SpO2+Temperature/SM-Type/2.5m/094-737 | Patient Cable Compatible with Draeger-Siemens - Multi-parameter main cable for ECG monitoring - ECG 6-leads+SpO2+Temperature - SM-Type - 2.5m - 094-737 | Patient Cable Compatible with Draeger-Siemens{R}Multi-parameter main cable for ECG monitoring - ECG 6-leads+SpO2+Temperature{R}SM-Type - 2.5m - 094-737
6018188 | Patient Cable | ETM-SM-E3ST2F | Compatible with Draeger-Siemens/Multi-parameter main cable for ECG monitoring/ECG+SpO2+Temperature+氧浓度/SM-Type/2.5m/094-739 | Patient Cable Compatible with Draeger-Siemens - Multi-parameter main cable for ECG monitoring - ECG+SpO2+Temperature - SM-Type - 2.5m - 094-739 | Patient Cable Compatible with Draeger-Siemens{R}Multi-parameter main cable for ECG monitoring – ECG+SpO2+Temperature{R}SM-Type - 2.5m - 094-739
6018189 | Patient Cable | ETM-DG-E6ST | Compatible with Draeger-Siemens/Multi-parameter main cable for ECG monitoring/ECG 6Leads+SpO2+Temperature/DG-Type/2.5m/094-738 | Patient Cable Compatible with Draeger-Siemens - Multi-parameter main cable for ECG monitoring - ECG 6-leads+SpO2+Temperature - DG-Type - 2.5m - 094-738 | Patient Cable Compatible with Draeger-Siemens{R}Multi-parameter main cable for ECG monitoring - ECG 6-leads+SpO2+Temperature{R}DG-Type - 2.5m - 094-738
6018190 | Patient Cable | ETM-DG-E6ST-OR | Compatible with Draeger-Siemens/Multi-parameter main cable for ECG monitoring/ECG 6Leads+SpO2+Temperature/DG-Type/2.5m/094-738 | Patient Cable Compatible with Draeger-Siemens - Multi-parameter main cable for ECG monitoring - ECG 6-leads+SpO2+Temperature - DG-Type - 2.5m - 094-738 | Patient Cable Compatible with Draeger-Siemens{R}Multi-parameter main cable for ECG monitoring - ECG 6-leads+SpO2+Temperature{R}DG-Type - 2.5m - 094-738