## Sheet1
60184xx | Patient Cable | DCC-FN01-30 | Compatible with Fresenius 5008S dialysis machine/3.0M
| Patient Cable | DCC-PH01-09 | Compatible with Philips 2601B Telemetry box/0.9M
| Patient Cable | DCC-AD01-30 | Compatible with analogue data cable/3.0M
| Patient Cable | BISA-MR01-30 | Compatible with Mindray/BIS MIC Cable/3.0M/380S
| Patient Cable | BISA-AP01-30 | Compatible with Aspect/BIS MIC Cable/3.0M/377
| Patient Cable | FM-001 | Compatible with Philips/Fetal Monitoring Marking Cable/3.0M/353S
| Patient Cable | FM-002 | Compatible with Philips/Fetal Monitoring Marking Cable/3.0M/062
| Patient Cable | FM-003 | Compatible with OXFORD/Fetal Monitoring Marking Cable/3.0M/347S
| Patient Cable | IPC-BT01 | Compatible with Baxter/Infusion pump control cable/2.0M/LM03-G0B
| Patient Cable | IPC-ST01 | Compatible with Smiths/Infusion pump control cable/2.0M/LM07-A0B