## Sheet1
Part Number |  | DescriptionExtra | Original Description | OperaDescription | paperworkdescription & pricedesc | Supplier Description
6018400 | Patient Cable | DCC-FN01-30 | Compatible with Fresenius 5008S dialysis machine/3.0M | Patient Cable Compatible with Fresenius 5008S Dialysis Machine - Length: 3.0m | Patient Cable Compatible with Fresenius 5008S Dialysis Machine - Length: 3.0m{R}REF: DCC-FN01-30 | Patient Cable Compatible with Fresenius 5008S dialysis machine/3.0M
6018401 | Patient Cable | DCC-PH01-09 | Compatible with Philips 2601B Telemetry box/0.9M | Patient Cable Compatible with Philips 2601B Telemetry box - Length: 0.9m | Patient Cable Compatible with Philips 2601B Telemetry box - Length: 0.9m{R}REF: DCC-PH01-09 | Patient Cable Compatible with Philips 2601B Telemetry box/0.9M
6018402 | Patient Cable | DCC-AD01-30 | Compatible with analogue data cable/3.0M | Patient Cable Compatible with analogue data cable - Length: 3.0m | Patient Cable Compatible with analogue data cable - Length: 3.0m{R}REF: DCC-AD01-30 | Patient Cable Compatible with analogue data cable/3.0M
6018403 | Patient Cable | BISA-MR01-30 | Compatible with Mindray/BIS MIC Cable/3.0M/380S | Mindray BIS MIC Adapter Cable - Length: 3.0m - 380S | Mindray BIS MIC Adapter Cable - Length: 3.0m - 380S{R}REF: BISA-MR01-30 | Patient Cable Compatible with Mindray/BIS MIC Cable/3.0M/380S
6018404 | Patient Cable | BISA-AP01-30 | Compatible with Aspect/BIS MIC Cable/3.0M/377 | Aspect BIS MIC Adapter Cable - Length: 3.0m – 377 | Aspect BIS MIC Adapter Cable - Length: 3.0m – 377{R}REF: BISA-AP01-30 | Patient Cable Compatible with Aspect/BIS MIC Cable/3.0M/377
6018405 | Patient Cable | FM-001 | Compatible with Philips/Fetal Monitoring Marking Cable/3.0M/353S | Foetal Monitoring Marking Cable Compatible with Philips - Length: 3.0m – 353S | Foetal Monitoring Marking Cable Compatible with Philips - Length: 3.0m – 353S{R}REF: FM-001 | Patient Cable Compatible with Philips/Fetal Monitoring Marking Cable/3.0M/353S
6018406 | Patient Cable | FM-002 | Compatible with Philips/Fetal Monitoring Marking Cable/3.0M/062 | Foetal Monitoring Marking Cable Compatible with Philips - Length: 3.0m – 062 | Foetal Monitoring Marking Cable Compatible with Philips - Length: 3.0m – 062{R}REF: FM-002 | Patient Cable Compatible with Philips/Fetal Monitoring Marking Cable/3.0M/062
6018407 | Patient Cable | FM-003 | Compatible with OXFORD/Fetal Monitoring Marking Cable/3.0M/347S | Foetal Monitoring Marking Cable Compatible with OXFORD - Length: 3.0m- 347S | Foetal Monitoring Marking Cable Compatible with OXFORD - Length: 3.0m- 347S{R}REF: FM-003 | Patient Cable Compatible with OXFORD/Fetal Monitoring Marking Cable/3.0M/347S
6018408 | Patient Cable | IPC-BT01 | Compatible with Baxter/Infusion pump control cable/2.0M/LM03-G0B | Patient Cable Compatible with Baxter/Infusion pump control cable - Length: 2.0m – LM03-G0B | Patient Cable Compatible with Baxter/Infusion pump control cable - Length: 2.0m – LM03-G0B{R}REF: IPC-BT01 | Patient Cable Compatible with Baxter/Infusion pump control cable/2.0M/LM03-G0B
6018409 | Patient Cable | IPC-ST01 | Compatible with Smiths/Infusion pump control cable/2.0M/LM07-A0B | Patient Cable Compatible with Smiths/Infusion pump control cable - Length: 2.0m – LM07-A0B | Patient Cable Compatible with Smiths/Infusion pump control cable - Length: 2.0m – LM07-A0B{R}REF: IPC-ST01 | Patient Cable Compatible with Smiths/Infusion pump control cable/2.0M/LM07-A0B