## Sheet1
Part Number |  | DescriptionExtra | Original Description | OperaDescription | paperworkdescription & pricedesc | Supplier Description
6018600 | Temperature probe | TS-Y400-AS30 | Compatible with YSI400/Reusable/Adult/Skin/3.0M/347R | Reusable Temperature Probe Compatible with YSI400 - Adult - Skin - 3.0m - 347R | Reusable Temperature Probe Compatible with YSI400{R}Adult - Skin{R}Cable Length: 3.0m - 347R | Temperature probe Compatible with YSI400/Reusable/Adult/Skin/3.0M/347R
6018601 | Temperature probe | TS-Y700-AS30 | Compatible with YSI700/Reusable/Adult/Skin/3.0M/348R | Reusable Temperature Probe Compatible with YSI700 - Adult - Skin - 3.0m - 348R | Reusable Temperature Probe Compatible with YSI700{R}Adult - Skin{R}Cable Length: 3.0m - 348R | Temperature probe Compatible with YSI700/Reusable/Adult/Skin/3.0M/348R
6018602 | Temperature probe | TS-R10-AS30 | Compatible with 10K/Reusable/Adult/Skin/3.0M/347R | Reusable Temperature Probe Compatible with 10K - Adult - Skin - 3.0m - 347R | Reusable Temperature Probe Compatible with 10K{R}Adult - Skin{R}Cable Length: 3.0m - 347R | Temperature probe Compatible with 10K/Reusable/Adult/Skin/3.0M/347R
6018603 | Temperature probe | TS-R20-AS30 | Compatible with 20K/Reusable/Adult/Skin/3.0M/347R | Reusable Temperature Probe Compatible with 20K - Adult - Skin - 3.0m - 347R | Reusable Temperature Probe Compatible with 20K{R}Adult - Skin{R}Cable Length: 3.0m - 347R | Temperature probe Compatible with 20K/Reusable/Adult/Skin/3.0M/347R
6018604 | Temperature probe | TS-PH-AS30 | Compatible with Philips/Reusable/Adult/Skin/3.0M/065 | Reusable Temperature Probe Compatible with Philips - Adult - Skin - 3.0m - 065 | Reusable Temperature Probe Compatible with Philips{R}Adult - Skin{R}Cable Length: 3.0m - 065 | Temperature probe Compatible with Philips/Reusable/Adult/Skin/3.0M/065
6018605 | Temperature probe | TS-MQ-AS30 | Compatible with GE Marquette/Reusable/Adult/Skin/3.0M/005 | Reusable Temperature Probe Compatible with GE Marquette - Adult - Skin - 3.0m - 005 | Reusable Temperature Probe Compatible with GE Marquette{R}Adult - Skin{R}Cable Length: 3.0m - 005 | Temperature probe Compatible with GE Marquette/Reusable/Adult/Skin/3.0M/005
6018606 | Temperature probe | TS-DG-AS30 | Compatible with Draeger/Reusable/Adult/Skin/3.0M/084 | Reusable Temperature Probe Compatible with Draeger - Adult - Skin - 3.0m - 084 | Reusable Temperature Probe Compatible with Draeger{R}Adult - Skin{R}Cable Length: 3.0m - 084 | Temperature probe Compatible with Draeger/Reusable/Adult/Skin/3.0M/084
6018607 | Temperature probe | TS-SL-AS30 | Compatible with Spacelabs/Reusable/Adult/Skin/3.0M/116 | Reusable Temperature Probe Compatible with Spacelabs - Adult - Skin - 3.0m - 116 | Reusable Temperature Probe Compatible with Spacelabs{R}Adult - Skin{R}Cable Length: 3.0m - 116 | Temperature probe Compatible with Spacelabs/Reusable/Adult/Skin/3.0M/116
6018608 | Temperature probe | TS-MRA-AS30 | Compatible with Mindray/Reusable/Adult/Skin/3.0M/127 | Reusable Temperature Probe Compatible with Mindray - Adult - Skin - 3.0m - 127 | Reusable Temperature Probe Compatible with Mindray{R}Adult - Skin{R}Cable Length: 3.0m - 127 | Temperature probe Compatible with Mindray/Reusable/Adult/Skin/3.0M/127
6018609 | Temperature probe | TS-MRB-AS30 | Compatible with Mindray-Datascope/Reusable/Adult/Skin/3.0M/130 | Reusable Temperature Probe Compatible with Mindray-Datascope - Adult - Skin - 3.0m - 130 | Reusable Temperature Probe Compatible with Mindray-Datascope{R}Adult - Skin{R}Cable Length: 3.0m - 130 | Temperature probe Compatible with Mindray-Datascope/Reusable/Adult/Skin/3.0M/130
6018610 | Temperature probe | TS-AS-AS30 | Compatible with Air Shields/Reusable/Adult/Skin/3.0M/260 | Reusable Temperature Probe Compatible with Air Shields - Adult - Skin - 3.0m - 260 | Reusable Temperature Probe Compatible with Air Shields{R}Adult - Skin{R}Cable Length: 3.0m - 260 | Temperature probe Compatible with Air Shields/Reusable/Adult/Skin/3.0M/260
6018611 | Temperature probe | TS-BLT-AS30 | Compatible with Biolight/Reusable/Adult/Skin/3.0M/153 | Reusable Temperature Probe Compatible with Biolight - Adult - Skin - 3.0m - 153 | Reusable Temperature Probe Compatible with Biolight{R}Adult - Skin{R}Cable Length: 3.0m - 153 | Temperature probe Compatible with Biolight/Reusable/Adult/Skin/3.0M/153
6018612 | Temperature probe | TS-SW-AS30 | Compatible with Artema/Reusable/Adult/Skin/3.0M/014B | Reusable Temperature Probe Compatible with Artema - Adult - Skin - 3.0m - 014B | Reusable Temperature Probe Compatible with Artema{R}Adult - Skin{R}Cable Length: 3.0m - 014B | Temperature probe Compatible with Artema/Reusable/Adult/Skin/3.0M/014B
6018613 | Temperature probe | TS-IFN-AS30 | Compatible with Infinium/Reusable/Adult/Skin/3.0M/341 | Reusable Temperature Probe Compatible with Infinium - Adult - Skin - 3.0m - 341 | Reusable Temperature Probe Compatible with Infinium{R}Adult - Skin{R}Cable Length: 3.0m - 341 | Temperature probe Compatible with Infinium/Reusable/Adult/Skin/3.0M/341
6018614 | Temperature probe | TS-TR-AS30 | Compatible with Triton/Reusable/Adult/Skin/3.0M/LP02-40R | Reusable Temperature Probe Compatible with Triton - Adult - Skin - 3.0m - LP02-40R | Reusable Temperature Probe Compatible with Triton{R}Adult - Skin{R}Cable Length: 3.0m - LP02-40R | Temperature probe Compatible with Triton/Reusable/Adult/Skin/3.0M/LP02-40R
6018615 | Temperature probe | TS-P63SB-AS30 | Compatible with CritiCool/Reusable/Adult/Skin/3.0M/348R | Reusable Temperature Probe Compatible with CritiCool - Adult - Skin - 3.0m - 348R | Reusable Temperature Probe Compatible with CritiCool{R}Adult - Skin{R}Cable Length: 3.0m - 348R | Temperature probe Compatible with CritiCool/Reusable/Adult/Skin/3.0M/348R
6018616 | Temperature probe | TS-ED-AS30 | Compatible with Edan(10K)/Reusable/Adult/Skin/3.0M/370 | Reusable Temperature Probe Compatible with Edan(10K) - Adult - Skin - 3.0m - 370 | Reusable Temperature Probe Compatible with Edan(10K){R}Adult - Skin{R}Cable Length: 3.0m - 370 | Temperature probe Compatible with Edan(10K)/Reusable/Adult/Skin/3.0M/370
6018617 | Temperature probe | TS-Y400S-AS30 | Compatible with YSI400/Reusable/Adult/Skin/3.0M/347S | Reusable Temperature Probe Compatible with YSI400 - Adult - Skin - 3.0m - 347S | Reusable Temperature Probe Compatible with YSI400{R}Adult - Skin{R}Cable Length: 3.0m - 347S | Temperature probe Compatible with YSI400/Reusable/Adult/Skin/3.0M/347S
6018618 | Temperature probe | TS-EDA-AS30 | Compatible with Edan(YSI400)/Reusable/Adult/Skin/3.0M/370 | Reusable Temperature Probe Compatible with Edan(YSI400) - Adult - Skin - 3.0m - 370 | Reusable Temperature Probe Compatible with Edan(YSI400){R}Adult - Skin{R}Cable Length: 3.0m - 370 | Temperature probe Compatible with Edan(YSI400)/Reusable/Adult/Skin/3.0M/370
6018619 | Temperature probe | TS-PH-AS75 | Compatible with Philips/Reusable/Adult/Skin/7.5M/065 | Reusable Temperature Probe Compatible with Philips - Adult - Skin - 7.5m - 065 | Reusable Temperature Probe Compatible with Philips{R}Adult - Skin{R}Cable Length: 7.5m - 065 | Temperature probe Compatible with Philips/Reusable/Adult/Skin/7.5M/065
6018620 | Temperature probe | TS-AS-AS15 | Compatible with Air Shields/Reusable/Adult/Skin/1.5M/260 | Reusable Temperature Probe Compatible with Air Shields - Adult - Skin - 1.5m - 260 | Reusable Temperature Probe Compatible with Air Shields{R}Adult - Skin{R}Cable Length: 1.5m - 260 | Temperature probe Compatible with Air Shields/Reusable/Adult/Skin/1.5M/260
6018621 | Temperature probe | TS-DG-AS15 | Compatible with Draeger/Reusable/Adult/Skin/1.5M/084 | Reusable Temperature Probe Compatible with Draeger - Adult - Skin - 1.5m - 084 | Reusable Temperature Probe Compatible with Draeger{R}Adult - Skin{R}Cable Length: 1.5m - 084 | Temperature probe Compatible with Draeger/Reusable/Adult/Skin/1.5M/084
6018622 | Temperature probe | TS-Y400-AG30 | Compatible with YSI400/Reusable/Adult/Rectum/3.0M/347R | Reusable Temperature Probe Compatible with YSI400 - Adult - Rectum - 3.0m - 347R | Reusable Temperature Probe Compatible with YSI400{R}Adult - Rectum{R}Cable Length: 3.0m - 347R | Temperature probe Compatible with YSI400/Reusable/Adult/Rectum/3.0M/347R
6018623 | Temperature probe | TS-Y700-AG30 | Compatible with YSI700/Reusable/Adult/Rectum/3.0M/348R | Reusable Temperature Probe Compatible with YSI700 - Adult - Rectum - 3.0m - 348R | Reusable Temperature Probe Compatible with YSI700{R}Adult - Rectum{R}Cable Length: 3.0m - 348R | Temperature probe Compatible with YSI700/Reusable/Adult/Rectum/3.0M/348R
6018624 | Temperature probe | TS-R10-AG30 | Compatible with 10K/Reusable/Adult/Rectum/3.0M/347R | Reusable Temperature Probe Compatible with 10K - Adult - Rectum - 3.0m - 347R | Reusable Temperature Probe Compatible with 10K{R}Adult - Rectum{R}Cable Length: 3.0m - 347R | Temperature probe Compatible with 10K/Reusable/Adult/Rectum/3.0M/347R
6018625 | Temperature probe | TS-R20-AG30 | Compatible with 20K/Reusable/Adult/Rectum/3.0M/347R | Reusable Temperature Probe Compatible with 20K - Adult - Rectum - 3.0m - 347R | Reusable Temperature Probe Compatible with 20K{R}Adult - Rectum{R}Cable Length: 3.0m - 347R | Temperature probe Compatible with 20K/Reusable/Adult/Rectum/3.0M/347R
6018626 | Temperature probe | TS-PH-AG30 | Compatible with Philips/Reusable/Adult/Rectum/3.0M/065 | Reusable Temperature Probe Compatible with Philips - Adult - Rectum - 3.0m - 065 | Reusable Temperature Probe Compatible with Philips{R}Adult - Rectum{R}Cable Length: 3.0m - 065 | Temperature probe Compatible with Philips/Reusable/Adult/Rectum/3.0M/065
6018627 | Temperature probe | TS-MQ-AG30 | Compatible with GE Marquette/Reusable/Adult/Rectum/3.0M/005 | Reusable Temperature Probe Compatible with GE Marquette - Adult - Rectum - 3.0m - 005 | Reusable Temperature Probe Compatible with GE Marquette{R}Adult - Rectum{R}Cable Length: 3.0m - 005 | Temperature probe Compatible with GE Marquette/Reusable/Adult/Rectum/3.0M/005
6018628 | Temperature probe | TS-DG-AG30 | Compatible with Draeger/Reusable/Adult/Rectum/3.0M/084 | Reusable Temperature Probe Compatible with Draeger - Adult - Rectum - 3.0m - 084 | Reusable Temperature Probe Compatible with Draeger{R}Adult - Rectum{R}Cable Length: 3.0m - 084 | Temperature probe Compatible with Draeger/Reusable/Adult/Rectum/3.0M/084
6018629 | Temperature probe | TS-SL-AG30 | Compatible with Spacelabs/Reusable/Adult/Rectum/3.0M/116 | Reusable Temperature Probe Compatible with Spacelabs - Adult - Rectum - 3.0m - 116 | Reusable Temperature Probe Compatible with Spacelabs{R}Adult - Rectum{R}Cable Length: 3.0m - 116 | Temperature probe Compatible with Spacelabs/Reusable/Adult/Rectum/3.0M/116
6018630 | Temperature probe | TS-MRA-AG30 | Compatible with Mindray/Reusable/Adult/Rectum/3.0M/127 | Reusable Temperature Probe Compatible with Mindray - Adult - Rectum - 3.0m - 127 | Reusable Temperature Probe Compatible with Mindray{R}Adult - Rectum{R}Cable Length: 3.0m - 127 | Temperature probe Compatible with Mindray/Reusable/Adult/Rectum/3.0M/127
6018631 | Temperature probe | TS-MRB-AG30 | Compatible with Mindray-Datascope/Reusable/Adult/Rectum/3.0M/130 | Reusable Temperature Probe Compatible with Mindray-Datascope - Adult - Rectum - 3.0m - 130 | Reusable Temperature Probe Compatible with Mindray-Datascope{R}Adult - Rectum{R}Cable Length: 3.0m - 130 | Temperature probe Compatible with Mindray-Datascope/Reusable/Adult/Rectum/3.0M/130
6018632 | Temperature probe | TS-AS-AG30 | Compatible with Air Shields/Reusable/Adult/Rectum/3.0M/260 | Reusable Temperature Probe Compatible with Air Shields - Adult - Rectum - 3.0m - 260 | Reusable Temperature Probe Compatible with Air Shields{R}Adult - Rectum{R}Cable Length: 3.0m - 260 | Temperature probe Compatible with Air Shields/Reusable/Adult/Rectum/3.0M/260
6018633 | Temperature probe | TS-BLT-AG30 | Compatible with Biolight/Reusable/Adult/Rectum/3.0M/153 | Reusable Temperature Probe Compatible with Biolight - Adult - Rectum - 3.0m - 153 | Reusable Temperature Probe Compatible with Biolight{R}Adult - Rectum{R}Cable Length: 3.0m - 153 | Temperature probe Compatible with Biolight/Reusable/Adult/Rectum/3.0M/153
6018634 | Temperature probe | TS-SW-AG30 | Compatible with Artema/Reusable/Adult/Rectum/3.0M/014B | Reusable Temperature Probe Compatible with Artema - Adult - Rectum - 3.0m - 014B | Reusable Temperature Probe Compatible with Artema{R}Adult - Rectum{R}Cable Length: 3.0m - 014B | Temperature probe Compatible with Artema/Reusable/Adult/Rectum/3.0M/014B
6018635 | Temperature probe | TS-IFN-AG30 | Compatible with Infinium/Reusable/Adult/Rectum/3.0M/341 | Reusable Temperature Probe Compatible with Infinium - Adult - Rectum - 3.0m - 341 | Reusable Temperature Probe Compatible with Infinium{R}Adult - Rectum{R}Cable Length: 3.0m - 341 | Temperature probe Compatible with Infinium/Reusable/Adult/Rectum/3.0M/341
6018636 | Temperature probe | TS-TR-AG30 | Compatible with Triton/Reusable/Adult/Rectum/3.0M/LP02-40R | Reusable Temperature Probe Compatible with Triton - Adult - Rectum - 3.0m - LP02-40R | Reusable Temperature Probe Compatible with Triton{R}Adult - Rectum{R}Cable Length: 3.0m - LP02-40R | Temperature probe Compatible with Triton/Reusable/Adult/Rectum/3.0M/LP02-40R
6018637 | Temperature probe | TS-P63SB-AG30 | Compatible with CritiCool/Reusable/Adult/Rectum/3.0M/348R | Reusable Temperature Probe Compatible with CritiCool - Adult - Rectum - 3.0m - 348R | Reusable Temperature Probe Compatible with CritiCool{R}Adult - Rectum{R}Cable Length: 3.0m - 348R | Temperature probe Compatible with CritiCool/Reusable/Adult/Rectum/3.0M/348R
6018638 | Temperature probe | TS-ED-AG30 | Compatible with Edan(10K)/Reusable/Adult/Rectum/3.0M/370 | Reusable Temperature Probe Compatible with Edan(10K) - Adult - Rectum - 3.0m - 370 | Reusable Temperature Probe Compatible with Edan(10K){R}Adult - Rectum{R}Cable Length: 3.0m - 370 | Temperature probe Compatible with Edan(10K)/Reusable/Adult/Rectum/3.0M/370
6018639 | Temperature probe | TS-EDA-AG30 | Compatible with Edan(YSI400)/Reusable/Adult/Rectum/3.0M/370 | Reusable Temperature Probe Compatible with Edan(YSI400) - Adult - Rectum - 3.0m - 370 | Reusable Temperature Probe Compatible with Edan(YSI400){R}Adult - Rectum{R}Cable Length: 3.0m - 370 | Temperature probe Compatible with Edan(YSI400)/Reusable/Adult/Rectum/3.0M/370
6018640 | Temperature probe | TS-DG-AG15 | Compatible with Draeger/Reusable/Adult/Rectum/1.5M/084 | Reusable Temperature Probe Compatible with Draeger - Adult - Rectum - 1.5m - 084 | Reusable Temperature Probe Compatible with Draeger{R}Adult - Rectum{R}Cable Length: 1.5m - 084 | Temperature probe Compatible with Draeger/Reusable/Adult/Rectum/1.5M/084
6018641 | Temperature probe | TS-Y400-PS30 | Compatible with YSI400/Reusable/Child/Skin/3.0M/347R | Reusable Temperature Probe Compatible with YSI400 - Paediatric - Skin - 3.0m - 347R | Reusable Temperature Probe Compatible with YSI400{R}Paediatric - Skin{R}Cable Length: 3.0m - 347R | Temperature probe Compatible with YSI400/Reusable/Child/Skin/3.0M/347R
6018642 | Temperature probe | TS-Y700-PS30 | Compatible with YSI700/Reusable/Child/Skin/3.0M/348R | Reusable Temperature Probe Compatible with YSI700 - Paediatric - Skin - 3.0m - 348R | Reusable Temperature Probe Compatible with YSI700{R}Paediatric - Skin{R}Cable Length: 3.0m - 348R | Temperature probe Compatible with YSI700/Reusable/Child/Skin/3.0M/348R
6018643 | Temperature probe | TS-R10-PS30 | Compatible with 10K/Reusable/Child/Skin/3.0M/347R | Reusable Temperature Probe Compatible with 10K - Paediatric - Skin - 3.0m - 347R | Reusable Temperature Probe Compatible with 10K{R}Paediatric - Skin{R}Cable Length: 3.0m - 347R | Temperature probe Compatible with 10K/Reusable/Child/Skin/3.0M/347R
6018644 | Temperature probe | TS-R20-PS30 | Compatible with 20K/Reusable/Child/Skin/3.0M/347R | Reusable Temperature Probe Compatible with 20K - Paediatric - Skin - 3.0m - 347R | Reusable Temperature Probe Compatible with 20K{R}Paediatric - Skin{R}Cable Length: 3.0m - 347R | Temperature probe Compatible with 20K/Reusable/Child/Skin/3.0M/347R
6018645 | Temperature probe | TS-PH-PS30 | Compatible with Philips/Reusable/Child/Skin/3.0M/065 | Reusable Temperature Probe Compatible with Philips - Paediatric - Skin - 3.0m - 065 | Reusable Temperature Probe Compatible with Philips{R}Paediatric - Skin{R}Cable Length: 3.0m - 065 | Temperature probe Compatible with Philips/Reusable/Child/Skin/3.0M/065
6018646 | Temperature probe | TS-MQ-PS30 | Compatible with GE Marquette/Reusable/Child/Skin/3.0M/005 | Reusable Temperature Probe Compatible with GE Marquette - Paediatric - Skin - 3.0m - 005 | Reusable Temperature Probe Compatible with GE Marquette{R}Paediatric - Skin{R}Cable Length: 3.0m - 005 | Temperature probe Compatible with GE Marquette/Reusable/Child/Skin/3.0M/005
6018647 | Temperature probe | TS-DG-PS30 | Compatible with Draeger/Reusable/Child/Skin/3.0M/084 | Reusable Temperature Probe Compatible with Draeger - Paediatric - Skin - 3.0m - 084 | Reusable Temperature Probe Compatible with Draeger{R}Paediatric - Skin{R}Cable Length: 3.0m - 084 | Temperature probe Compatible with Draeger/Reusable/Child/Skin/3.0M/084
6018648 | Temperature probe | TS-SL-PS30 | Compatible with Spacelabs/Reusable/Child/Skin/3.0M/116 | Reusable Temperature Probe Compatible with Spacelabs - Paediatric - Skin - 3.0m - 116 | Reusable Temperature Probe Compatible with Spacelabs{R}Paediatric - Skin{R}Cable Length: 3.0m - 116 | Temperature probe Compatible with Spacelabs/Reusable/Child/Skin/3.0M/116
6018649 | Temperature probe | TS-MRA-PS30 | Compatible with Mindray/Reusable/Child/Skin/3.0M/127 | Reusable Temperature Probe Compatible with Mindray - Paediatric - Skin - 3.0m - 127 | Reusable Temperature Probe Compatible with Mindray{R}Paediatric - Skin{R}Cable Length: 3.0m - 127 | Temperature probe Compatible with Mindray/Reusable/Child/Skin/3.0M/127
6018650 | Temperature probe | TS-MRB-PS30 | Compatible with Mindray-Datascope/Reusable/Child/Skin/3.0M/130 | Reusable Temperature Probe Compatible with Mindray-Datascope - Paediatric - Skin - 3.0m - 130 | Reusable Temperature Probe Compatible with Mindray-Datascope{R}Paediatric - Skin{R}Cable Length: 3.0m - 130 | Temperature probe Compatible with Mindray-Datascope/Reusable/Child/Skin/3.0M/130
6018651 | Temperature probe | TS-AS-PS30 | Compatible with Air Shields/Reusable/Child/Skin/3.0M/260 | Reusable Temperature Probe Compatible with Air Shields - Paediatric - Skin - 3.0m - 260 | Reusable Temperature Probe Compatible with Air Shields{R}Paediatric - Skin{R}Cable Length: 3.0m - 260 | Temperature probe Compatible with Air Shields/Reusable/Child/Skin/3.0M/260
6018652 | Temperature probe | TS-BLT-PS30 | Compatible with Biolight/Reusable/Child/Skin/3.0M/153 | Reusable Temperature Probe Compatible with Biolight - Paediatric - Skin - 3.0m - 153 | Reusable Temperature Probe Compatible with Biolight{R}Paediatric - Skin{R}Cable Length: 3.0m - 153 | Temperature probe Compatible with Biolight/Reusable/Child/Skin/3.0M/153
6018653 | Temperature probe | TS-SW-PS30 | Compatible with Artema/Reusable/Child/Skin/3.0M/014B | Reusable Temperature Probe Compatible with Artema - Paediatric - Skin - 3.0m - 014B | Reusable Temperature Probe Compatible with Artema{R}Paediatric - Skin{R}Cable Length: 3.0m - 014B | Temperature probe Compatible with Artema/Reusable/Child/Skin/3.0M/014B
6018654 | Temperature probe | TS-IFN-PS30 | Compatible with Infinium/Reusable/Child/Skin/3.0M/341 | Reusable Temperature Probe Compatible with Infinium - Paediatric - Skin - 3.0m - 341 | Reusable Temperature Probe Compatible with Infinium{R}Paediatric - Skin{R}Cable Length: 3.0m - 341 | Temperature probe Compatible with Infinium/Reusable/Child/Skin/3.0M/341
6018655 | Temperature probe | TS-TR-PS30 | Compatible with Triton/Reusable/Child/Skin/3.0M/LP02-40R | Reusable Temperature Probe Compatible with Triton - Paediatric - Skin - 3.0m - LP02-40R | Reusable Temperature Probe Compatible with Triton{R}Paediatric - Skin{R}Cable Length: 3.0m - LP02-40R | Temperature probe Compatible with Triton/Reusable/Child/Skin/3.0M/LP02-40R
6018656 | Temperature probe | TS-OH-PS30 | Compatible with Ohmeda/Reusable/Child/Skin/3.0M/025 | Reusable Temperature Probe Compatible with Ohmeda - Paediatric - Skin - 3.0m - 025 | Reusable Temperature Probe Compatible with Ohmeda{R}Paediatric - Skin{R}Cable Length: 3.0m - 025 | Temperature probe Compatible with Ohmeda/Reusable/Child/Skin/3.0M/025
6018657 | Temperature probe | TS-DGA-PS15 | Compatible with Draeger/Reusable/Child/Skin/1.5M/344 | Reusable Temperature Probe Compatible with Draeger - Paediatric - Skin - 1.5m - 344 | Reusable Temperature Probe Compatible with Draeger{R}Paediatric - Skin{R}Cable Length: 1.5m - 344 | Temperature probe Compatible with Draeger/Reusable/Child/Skin/1.5M/344
6018658 | Temperature probe | TS-AT-PS30 | Compatible with ATOM/Reusable/Child/Skin/3.0M/378 | Reusable Temperature Probe Compatible with ATOM - Paediatric - Skin - 3.0m - 378 | Reusable Temperature Probe Compatible with ATOM{R}Paediatric - Skin{R}Cable Length: 3.0m - 378 | Temperature probe Compatible with ATOM/Reusable/Child/Skin/3.0M/378
6018659 | Temperature probe | TS-DVA-PS15 | Compatible with David/Reusable/Child/Skin/1.5M/LP06-0B | Reusable Temperature Probe Compatible with David - Paediatric - Skin - 1.5m - LP06-0B | Reusable Temperature Probe Compatible with David{R}Paediatric - Skin{R}Cable Length: 1.5m - LP06-0B | Temperature probe Compatible with David/Reusable/Child/Skin/1.5M/LP06-0B
6018660 | Temperature probe | TS-DVB-PS15 | Compatible with David/Reusable/Child/Skin/1.5M/LP04-0B | Reusable Temperature Probe Compatible with David - Paediatric - Skin - 1.5m - LP04-0B | Reusable Temperature Probe Compatible with David{R}Paediatric - Skin{R}Cable Length: 1.5m - LP04-0B | Temperature probe Compatible with David/Reusable/Child/Skin/1.5M/LP04-0B
6018661 | Temperature probe | TS-DVC-PS15 | Compatible with David/Reusable/Child/Skin/1.5M/346 | Reusable Temperature Probe Compatible with David - Paediatric - Skin - 1.5m - 346 | Reusable Temperature Probe Compatible with David{R}Paediatric - Skin{R}Cable Length: 1.5m - 346 | Temperature probe Compatible with David/Reusable/Child/Skin/1.5M/346
6018662 | Temperature probe | TS-JS-PS15 | Compatible with JLSY/Reusable/Child/Skin/1.5M/LP02-0B | Reusable Temperature Probe Compatible with JLSY - Paediatric - Skin - 1.5m - LP02-0B | Reusable Temperature Probe Compatible with JLSY{R}Paediatric - Skin{R}Cable Length: 1.5m - LP02-0B | Temperature probe Compatible with JLSY/Reusable/Child/Skin/1.5M/LP02-0B
6018663 | Temperature probe | TS-P63SB-PS30 | Compatible with CritiCool/Reusable/Child/Skin/3.0M/348R | Reusable Temperature Probe Compatible with CritiCool - Paediatric - Skin - 3.0m - 348R | Reusable Temperature Probe Compatible with CritiCool{R}Paediatric - Skin{R}Cable Length: 3.0m - 348R | Temperature probe Compatible with CritiCool/Reusable/Child/Skin/3.0M/348R
6018664 | Temperature probe | TS-OHA-PS30 | Compatible with Ohmeda/Reusable/Child/Skin/3.0M/353Z | Reusable Temperature Probe Compatible with Ohmeda - Paediatric - Skin - 3.0m - 353Z | Reusable Temperature Probe Compatible with Ohmeda{R}Paediatric - Skin{R}Cable Length: 3.0m - 353Z | Temperature probe Compatible with Ohmeda/Reusable/Child/Skin/3.0M/353Z
6018665 | Temperature probe | TS-ED-PS30 | Compatible with Edan/Reusable/Child/Skin/3.0M/370 | Reusable Temperature Probe Compatible with Edan - Paediatric - Skin - 3.0m - 370 | Reusable Temperature Probe Compatible with Edan{R}Paediatric - Skin{R}Cable Length: 3.0m - 370 | Temperature probe Compatible with Edan/Reusable/Child/Skin/3.0M/370
6018666 | Temperature probe | TS-DGB-PS15 | Compatible with Draeger/Reusable/Child/Skin/1.5M/371Y-20 | Reusable Temperature Probe Compatible with Draeger - Paediatric - Skin - 1.5m - 371Y-20 | Reusable Temperature Probe Compatible with Draeger{R}Paediatric - Skin{R}Cable Length: 1.5m - 371Y-20 | Temperature probe Compatible with Draeger/Reusable/Child/Skin/1.5M/371Y-20
6018667 | Temperature probe | TS-Y400S-PS30 | Compatible with YSI400/Reusable/Child/Skin/3.0M/347S | Reusable Temperature Probe Compatible with YSI400 - Paediatric - Skin - 3.0m - 347S | Reusable Temperature Probe Compatible with YSI400{R}Paediatric - Skin{R}Cable Length: 3.0m - 347S | Temperature probe Compatible with YSI400/Reusable/Child/Skin/3.0M/347S
6018668 | Temperature probe | TS-AS-PS15 | Compatible with Air Shields/Reusable/Child/Skin/1.5M/260 | Reusable Temperature Probe Compatible with Air Shields - Paediatric - Skin - 1.5m - 260 | Reusable Temperature Probe Compatible with Air Shields{R}Paediatric - Skin{R}Cable Length: 1.5m - 260 | Temperature probe Compatible with Air Shields/Reusable/Child/Skin/1.5M/260
6018669 | Temperature probe | TS-DGC-PS15 | Compatible with Draeger/Reusable/Child/Skin/1.5M/265 | Reusable Temperature Probe Compatible with Draeger - Paediatric - Skin - 1.5m - 265 | Reusable Temperature Probe Compatible with Draeger{R}Paediatric - Skin{R}Cable Length: 1.5m - 265 | Temperature probe Compatible with Draeger/Reusable/Child/Skin/1.5M/265
6018670 | Temperature probe | TS-OH-PS15 | Compatible with Ohmeda/Reusable/Child/Skin/1.5M/025 | Reusable Temperature Probe Compatible with Ohmeda - Paediatric - Skin - 1.5m - 025 | Reusable Temperature Probe Compatible with Ohmeda{R}Paediatric - Skin{R}Cable Length: 1.5m - 025 | Temperature probe Compatible with Ohmeda/Reusable/Child/Skin/1.5M/025
6018671 | Temperature probe | TS-AT-PS15 | Compatible with ATOM/Reusable/Child/Skin/1.5M/378 | Reusable Temperature Probe Compatible with ATOM - Paediatric - Skin - 1.5m - 378 | Reusable Temperature Probe Compatible with ATOM{R}Paediatric - Skin{R}Cable Length: 1.5m - 378 | Temperature probe Compatible with ATOM/Reusable/Child/Skin/1.5M/378
6018672 | Temperature probe | TS-OHA-PS15 | Compatible with Ohmeda/Reusable/Child/Skin/1.5M/353Z | Reusable Temperature Probe Compatible with Ohmeda - Paediatric - Skin - 1.5m - 353Z | Reusable Temperature Probe Compatible with Ohmeda{R}Paediatric - Skin{R}Cable Length: 1.5m - 353Z | Temperature probe Compatible with Ohmeda/Reusable/Child/Skin/1.5M/353Z
6018673 | Temperature probe | TS-DSA-PS15 | Compatible with Dison/Reusable/Child/Skin/1.5M/LP02-0B | Reusable Temperature Probe Compatible with Dison - Paediatric - Skin - 1.5m - LP02-0B | Reusable Temperature Probe Compatible with Dison{R}Paediatric - Skin{R}Cable Length: 1.5m - LP02-0B | Temperature probe Compatible with Dison/Reusable/Child/Skin/1.5M/LP02-0B
6018674 | Temperature probe | TS-DSB-PS15 | Compatible with Dison/Reusable/Child/Skin/1.5M/LP02-0E | Reusable Temperature Probe Compatible with Dison - Paediatric - Skin - 1.5m - LP02-0E | Reusable Temperature Probe Compatible with Dison{R}Paediatric - Skin{R}Cable Length: 1.5m - LP02-0E | Temperature probe Compatible with Dison/Reusable/Child/Skin/1.5M/LP02-0E
6018675 | Temperature probe | TS-DG-PS15 | Compatible with Draeger/Reusable/Child/Skin/1.5M/084 | Reusable Temperature Probe Compatible with Draeger - Paediatric - Skin - 1.5m - 084 | Reusable Temperature Probe Compatible with Draeger{R}Paediatric - Skin{R}Cable Length: 1.5m - 084 | Temperature probe Compatible with Draeger/Reusable/Child/Skin/1.5M/084
6018676 | Temperature probe | TS-BT-PS15 | Compatible with Bistos/Reusable/Child/Skin/1.5M/347R | Reusable Temperature Probe Compatible with Bistos - Paediatric - Skin - 1.5m - 347R | Reusable Temperature Probe Compatible with Bistos{R}Paediatric - Skin{R}Cable Length: 1.5m - 347R | Temperature probe Compatible with Bistos/Reusable/Child/Skin/1.5M/347R
6018677 | Temperature probe | TS-Y400-PG30 | Compatible with YSI400/Reusable/Child/Rectum/3.0M/347R | Reusable Temperature Probe Compatible with YSI400 - Paediatric - Rectum - 3.0m - 347R | Reusable Temperature Probe Compatible with YSI400{R}Paediatric - Rectum{R}Cable Length: 3.0m - 347R | Temperature probe Compatible with YSI400/Reusable/Child/Rectum/3.0M/347R
6018678 | Temperature probe | TS-Y700-PG30 | Compatible with YSI700/Reusable/Child/Rectum/3.0M/348R | Reusable Temperature Probe Compatible with YSI700 - Paediatric - Rectum - 3.0m - 348R | Reusable Temperature Probe Compatible with YSI700{R}Paediatric - Rectum{R}Cable Length: 3.0m - 348R | Temperature probe Compatible with YSI700/Reusable/Child/Rectum/3.0M/348R
6018679 | Temperature probe | TS-R10-PG30 | Compatible with 10K/Reusable/Child/Rectum/3.0M/347R | Reusable Temperature Probe Compatible with 10K - Paediatric - Rectum - 3.0m - 347R | Reusable Temperature Probe Compatible with 10K{R}Paediatric - Rectum{R}Cable Length: 3.0m - 347R | Temperature probe Compatible with 10K/Reusable/Child/Rectum/3.0M/347R
6018680 | Temperature probe | TS-R20-PG30 | Compatible with 20K/Reusable/Child/Rectum/3.0M/347R | Reusable Temperature Probe Compatible with 20K - Paediatric - Rectum - 3.0m - 347R | Reusable Temperature Probe Compatible with 20K{R}Paediatric - Rectum{R}Cable Length: 3.0m - 347R | Temperature probe Compatible with 20K/Reusable/Child/Rectum/3.0M/347R
6018681 | Temperature probe | TS-PH-PG30 | Compatible with Philips/Reusable/Child/Rectum/3.0M/065 | Reusable Temperature Probe Compatible with Philips - Paediatric - Rectum - 3.0m - 065 | Reusable Temperature Probe Compatible with Philips{R}Paediatric - Rectum{R}Cable Length: 3.0m - 065 | Temperature probe Compatible with Philips/Reusable/Child/Rectum/3.0M/065
6018682 | Temperature probe | TS-MQ-PG30 | Compatible with GE Marquette/Reusable/Child/Rectum/3.0M/005 | Reusable Temperature Probe Compatible with GE Marquette - Paediatric - Rectum - 3.0m - 005 | Reusable Temperature Probe Compatible with GE Marquette{R}Paediatric - Rectum{R}Cable Length: 3.0m - 005 | Temperature probe Compatible with GE Marquette/Reusable/Child/Rectum/3.0M/005
6018683 | Temperature probe | TS-DG-PG30 | Compatible with Draeger/Reusable/Child/Rectum/3.0M/084 | Reusable Temperature Probe Compatible with Draeger - Paediatric - Rectum - 3.0m - 084 | Reusable Temperature Probe Compatible with Draeger{R}Paediatric - Rectum{R}Cable Length: 3.0m - 084 | Temperature probe Compatible with Draeger/Reusable/Child/Rectum/3.0M/084
6018684 | Temperature probe | TS-SL-PG30 | Compatible with Spacelabs/Reusable/Child/Rectum/3.0M/116 | Reusable Temperature Probe Compatible with Spacelabs - Paediatric - Rectum - 3.0m - 116 | Reusable Temperature Probe Compatible with Spacelabs{R}Paediatric - Rectum{R}Cable Length: 3.0m - 116 | Temperature probe Compatible with Spacelabs/Reusable/Child/Rectum/3.0M/116
6018685 | Temperature probe | TS-MRA-PG30 | Compatible with Mindray/Reusable/Child/Rectum/3.0M/127 | Reusable Temperature Probe Compatible with Mindray - Paediatric - Rectum - 3.0m - 127 | Reusable Temperature Probe Compatible with Mindray{R}Paediatric - Rectum{R}Cable Length: 3.0m - 127 | Temperature probe Compatible with Mindray/Reusable/Child/Rectum/3.0M/127
6018686 | Temperature probe | TS-MRB-PG30 | Compatible with Mindray-Datascope/Reusable/Child/Rectum/3.0M/130 | Reusable Temperature Probe Compatible with Mindray-Datascope - Paediatric - Rectum - 3.0m - 130 | Reusable Temperature Probe Compatible with Mindray-Datascope{R}Paediatric - Rectum{R}Cable Length: 3.0m - 130 | Temperature probe Compatible with Mindray-Datascope/Reusable/Child/Rectum/3.0M/130
6018687 | Temperature probe | TS-PG-PG30 | Compatible with Air Shields/Reusable/Child/Rectum/3.0M/260 | Reusable Temperature Probe Compatible with Air Shields - Paediatric - Rectum - 3.0m - 260 | Reusable Temperature Probe Compatible with Air Shields{R}Paediatric - Rectum{R}Cable Length: 3.0m - 260 | Temperature probe Compatible with Air Shields/Reusable/Child/Rectum/3.0M/260
6018688 | Temperature probe | TS-BLT-PG30 | Compatible with Biolight/Reusable/Child/Rectum/3.0M/153 | Reusable Temperature Probe Compatible with Biolight - Paediatric - Rectum - 3.0m - 153 | Reusable Temperature Probe Compatible with Biolight{R}Paediatric - Rectum{R}Cable Length: 3.0m - 153 | Temperature probe Compatible with Biolight/Reusable/Child/Rectum/3.0M/153
6018689 | Temperature probe | TS-SW-PG30 | Compatible with Artema/Reusable/Child/Rectum/3.0M/014B | Reusable Temperature Probe Compatible with Artema - Paediatric - Rectum - 3.0m - 014B | Reusable Temperature Probe Compatible with Artema{R}Paediatric - Rectum{R}Cable Length: 3.0m - 014B | Temperature probe Compatible with Artema/Reusable/Child/Rectum/3.0M/014B
6018690 | Temperature probe | TS-IFN-PG30 | Compatible with Infinium/Reusable/Child/Rectum/3.0M/341 | Reusable Temperature Probe Compatible with Infinium - Paediatric - Rectum - 3.0m - 341 | Reusable Temperature Probe Compatible with Infinium{R}Paediatric - Rectum{R}Cable Length: 3.0m - 341 | Temperature probe Compatible with Infinium/Reusable/Child/Rectum/3.0M/341
6018691 | Temperature probe | TS-TR-PG30 | Compatible with Triton/Reusable/Child/Rectum/3.0M/LP02-40R | Reusable Temperature Probe Compatible with Triton - Paediatric - Rectum - 3.0m - LP02-40R | Reusable Temperature Probe Compatible with Triton{R}Paediatric - Rectum{R}Cable Length: 3.0m - LP02-40R | Temperature probe Compatible with Triton/Reusable/Child/Rectum/3.0M/LP02-40R
6018692 | Temperature probe | TS-P63SB-PG30 | Compatible with CritiCool/Reusable/Child/Rectum/3.0M/348R | Reusable Temperature Probe Compatible with CritiCool - Paediatric - Rectum - 3.0m - 348R | Reusable Temperature Probe Compatible with CritiCool{R}Paediatric - Rectum{R}Cable Length: 3.0m - 348R | Temperature probe Compatible with CritiCool/Reusable/Child/Rectum/3.0M/348R
6018693 | Temperature probe | TS-ED-PG30 | Compatible with Edan/Reusable/Child/Rectum/3.0M/370 | Reusable Temperature Probe Compatible with Edan - Paediatric - Rectum - 3.0m - 370 | Reusable Temperature Probe Compatible with Edan{R}Paediatric - Rectum{R}Cable Length: 3.0m - 370 | Temperature probe Compatible with Edan/Reusable/Child/Rectum/3.0M/370
6018694 | Temperature probe | TS-Y400S-PG30 | Compatible with YSI400/Reusable/Child/Rectum/3.0M/347S | Reusable Temperature Probe Compatible with YSI400 - Paediatric - Rectum - 3.0m - 347S | Reusable Temperature Probe Compatible with YSI400{R}Paediatric - Rectum{R}Cable Length: 3.0m - 347S | Temperature probe Compatible with YSI400/Reusable/Child/Rectum/3.0M/347S
6018695 | Temperature probe | TS-DG-PG15 | Compatible with Draeger/Reusable/Child/Rectum/1.5M/084 | Reusable Temperature Probe Compatible with Draeger - Paediatric - Rectum - 1.5m - 084 | Reusable Temperature Probe Compatible with Draeger{R}Paediatric - Rectum{R}Cable Length: 1.5m - 084 | Temperature probe Compatible with Draeger/Reusable/Child/Rectum/1.5M/084
6018696 | Temperature probe | TSQ-AR01-OB | Compatible with Alaris/Smart/Oral cavity/Blue/2.7M/359 | Reusable Temperature Probe Compatible with Alaris - Smart - Oral cavity - Blue - 2.7m - 359 | Reusable Temperature Probe Compatible with Alaris{R}Smart - Oral cavity - Blue{R}Cable Length: 2.7m - 359 | Temperature probe Compatible with Alaris/Smart/Oral cavity/Blue/2.7M/359
6018697 | Temperature probe | TSQ-AR02-OB | Compatible with Alaris/Smart/Oral cavity/Blue/2.7M/359 | Reusable Temperature Probe Compatible with Alaris - Smart - Oral cavity - Blue - 2.7m - 359 | Reusable Temperature Probe Compatible with Alaris{R}Smart - Oral cavity - Blue{R}Cable Length: 2.7m - 359 | Temperature probe Compatible with Alaris/Smart/Oral cavity/Blue/2.7M/359
6018698 | Temperature probe | TSQ-AR01-OB-S | Compatible with Alaris/Smart/Oral cavity/Blue/1.2M/359 | Reusable Temperature Probe Compatible with Alaris - Smart - Oral cavity - Blue - 1.2m - 359 | Reusable Temperature Probe Compatible with Alaris{R}Smart - Oral cavity - Blue{R}Cable Length: 1.2m - 359 | Temperature probe Compatible with Alaris/Smart/Oral cavity/Blue/1.2M/359
6018699 | Temperature probe | TSQ-AR02-OB-S | Compatible with Alaris/Smart/Oral cavity/Blue/1.2M/359 | Reusable Temperature Probe Compatible with Alaris - Smart - Oral cavity - Blue - 1.2m - 359 | Reusable Temperature Probe Compatible with Alaris{R}Smart - Oral cavity - Blue{R}Cable Length: 1.2m - 359 | Temperature probe Compatible with Alaris/Smart/Oral cavity/Blue/1.2M/359
6018700 | Temperature probe | TSQ-GE01-OB | Compatible with GE/Smart/Oral cavity/Blue/2.7M/LP06-0B | Reusable Temperature Probe Compatible with GE - Smart - Oral cavity - Blue - 2.7m - LP06-0B | Reusable Temperature Probe Compatible with GE{R}Smart - Oral cavity - Blue{R}Cable Length: 2.7m - LP06-0B | Temperature probe Compatible with GE/Smart/Oral cavity/Blue/2.7M/LP06-0B
6018701 | Temperature probe | TSQ-WA01-OB | Compatible with Welch Allyn/Smart/Oral cavity/Blue/2.7M/368 | Reusable Temperature Probe Compatible with Welch Allyn - Smart - Oral cavity - Blue - 2.7m - 368 | Reusable Temperature Probe Compatible with Welch Allyn{R}Smart - Oral cavity - Blue{R}Cable Length: 2.7m - 368 | Temperature probe Compatible with Welch Allyn/Smart/Oral cavity/Blue/2.7M/368
6018702 | Temperature probe | TSQ-WA01-OB-S | Compatible with Welch Allyn/Smart/Oral cavity/Blue/1.2M/368 | Reusable Temperature Probe Compatible with Welch Allyn - Smart - Oral cavity - Blue - 1.2m - 368 | Reusable Temperature Probe Compatible with Welch Allyn{R}Smart - Oral cavity - Blue{R}Cable Length: 1.2m - 368 | Temperature probe Compatible with Welch Allyn/Smart/Oral cavity/Blue/1.2M/368
6018703 | Temperature probe | TSQ-MR01-OB | Compatible with Mindray/Smart/Oral cavity/Blue/2.7M/245 | Reusable Temperature Probe Compatible with Mindray - Smart - Oral cavity - Blue - 2.7m - 245 | Reusable Temperature Probe Compatible with Mindray{R}Smart - Oral cavity - Blue{R}Cable Length: 2.7m - 245 | Temperature probe Compatible with Mindray/Smart/Oral cavity/Blue/2.7M/245
6018704 | Temperature probe | TSQ-AR01-RR | Compatible with Alaris/Smart/Rectum/Red/2.7M/359 | Reusable Temperature Probe Compatible with Alaris - Smart - Rectum - Red - 2.7m - 359 | Reusable Temperature Probe Compatible with Alaris{R}Smart - Rectum - Red{R}Cable Length: 2.7m - 359 | Temperature probe Compatible with Alaris/Smart/Rectum/Red/2.7M/359
6018705 | Temperature probe | TSQ-AR02-RR | Compatible with Alaris/Smart/Rectum/Red/2.7M/359 | Reusable Temperature Probe Compatible with Alaris - Smart - Rectum - Red - 2.7m - 359 | Reusable Temperature Probe Compatible with Alaris{R}Smart - Rectum - Red{R}Cable Length: 2.7m - 359 | Temperature probe Compatible with Alaris/Smart/Rectum/Red/2.7M/359
6018706 | Temperature probe | TSQ-AR01-RR-S | Compatible with Alaris/Smart/Rectum/Red/1.2M/359 | Reusable Temperature Probe Compatible with Alaris - Smart - Rectum - Red - 1.2m - 359 | Reusable Temperature Probe Compatible with Alaris{R}Smart - Rectum - Red{R}Cable Length: 1.2m - 359 | Temperature probe Compatible with Alaris/Smart/Rectum/Red/1.2M/359
6018707 | Temperature probe | TSQ-AR02-RR-S | Compatible with Alaris/Smart/Rectum/Red/1.2M/359 | Reusable Temperature Probe Compatible with Alaris - Smart - Rectum - Red - 1.2m - 359 | Reusable Temperature Probe Compatible with Alaris{R}Smart - Rectum - Red{R}Cable Length: 1.2m - 359 | Temperature probe Compatible with Alaris/Smart/Rectum/Red/1.2M/359
6018708 | Temperature probe | TSQ-GE01-RR | Compatible with GE/Smart/Rectum/Red/2.7M/LP06-0B | Reusable Temperature Probe Compatible with GE - Smart - Rectum - Red - 2.7m - LP06-0B | Reusable Temperature Probe Compatible with GE{R}Smart - Rectum - Red{R}Cable Length: 2.7m - LP06-0B | Temperature probe Compatible with GE/Smart/Rectum/Red/2.7M/LP06-0B
6018709 | Temperature probe | TSQ-WA01-RR | Compatible with Welch Allyn/Smart/Rectum/Red/2.7M/368 | Reusable Temperature Probe Compatible with Welch Allyn - Smart - Rectum - Red - 2.7m - 368 | Reusable Temperature Probe Compatible with Welch Allyn{R}Smart - Rectum - Red{R}Cable Length: 2.7m - 368 | Temperature probe Compatible with Welch Allyn/Smart/Rectum/Red/2.7M/368
6018710 | Temperature probe | TSQ-WA01-RR-S | Compatible with Welch Allyn/Smart/Rectum/Red/1.2M/368 | Reusable Temperature Probe Compatible with Welch Allyn - Smart - Rectum - Red - 1.2m - 368 | Reusable Temperature Probe Compatible with Welch Allyn{R}Smart - Rectum - Red{R}Cable Length: 1.2m - 368 | Temperature probe Compatible with Welch Allyn/Smart/Rectum/Red/1.2M/368
6018711 | Temperature probe | TSQ-MR01-RR | Compatible with Mindray/Smart/Rectum/Red/2.7M/245 | Reusable Temperature Probe Compatible with Mindray - Smart - Rectum - Red - 2.7m - 245 | Reusable Temperature Probe Compatible with Mindray{R}Smart - Rectum - Red{R}Cable Length: 2.7m - 245 | Temperature probe Compatible with Mindray/Smart/Rectum/Red/2.7M/245