## Sheet1
Part Number |  | DescriptionExtra | Original Description | OperaDescription | paperworkdescription & pricedesc
6018900 | Foetal Transducer | FUS-PH01 | Compatible with Philips/Ultrasound/Cable Length: 3.0m/056S | Ultrasound Foetal Transducer Compatible with Philips - 3.0m - 056S | Ultrasound Foetal Transducer{R}Compatible with Philips{R}Cable Length: 3.0m - 056S{R}REF: FUS-PH01
6018901 | Foetal Transducer | FUS-PH02 | Compatible with Philips/Ultrasound/Cable Length: 3.0m/057S | Ultrasound Foetal Transducer Compatible with Philips - 3.0m - 057S | Ultrasound Foetal Transducer{R}Compatible with Philips{R}Cable Length: 3.0m - 057S{R}REF: FUS-PH02
6018902 | Foetal Transducer | FUS-GE01 | Compatible with GE Corometrics/Ultrasound/Cable Length: 3.0m/163B | Ultrasound Foetal Transducer Compatible with GE Corometrics - 3.0m - 163B | Ultrasound Foetal Transducer{R}Compatible with GE Corometrics{R}Cable Length: 3.0m - 163B{R}REF: FUS-GE01
6018903 | Foetal Transducer | FUS-GE02 | Compatible with GE Corometrics/Ultrasound/Cable Length: 3.0m/163B | Ultrasound Foetal Transducer Compatible with GE Corometrics - 3.0m - 163B | Ultrasound Foetal Transducer{R}Compatible with GE Corometrics{R}Cable Length: 3.0m - 163B{R}REF: FUS-GE02
6018904 | Foetal Transducer | FUS-SL01 | Compatible with Spacelabs/Ultrasound/Cable Length: 3.0m/020S | Ultrasound Foetal Transducer Compatible with Spacelabs - 3.0m - 020S | Ultrasound Foetal Transducer{R}Compatible with Spacelabs{R}Cable Length: 3.0m - 020S{R}REF: FUS-SL01
6018905 | Foetal Transducer | FUS-SL02 | Compatible with Spacelabs/Ultrasound/Cable Length: 3.0m/119S | Ultrasound Foetal Transducer Compatible with Spacelabs - 3.0m - 119S | Ultrasound Foetal Transducer{R}Compatible with Spacelabs{R}Cable Length: 3.0m - 119S{R}REF: FUS-SL02
6018906 | Foetal Transducer | FUS-AL01 | Compatible with Analogic/Ultrasound/Cable Length: 3.0m/255 | Ultrasound Foetal Transducer Compatible with Analogic - 3.0m - 255 | Ultrasound Foetal Transducer{R}Compatible with Analogic{R}Cable Length: 3.0m - 255{R}REF: FUS-AL01
6018907 | Foetal Transducer | FUS-SC01 | Compatible with Oxford/Ultrasound/1.5MHz/Cable Length: 3.0m/177S | Ultrasound Foetal Transducer Compatible with Oxford - 1.5MHz - 3.0m - 177S | Ultrasound Foetal Transducer{R}Compatible with Oxford - 1.5MHz{R}Cable Length: 3.0m - 177S{R}REF: FUS-SC01
6018908 | Foetal Transducer | FUS-SC02 | Compatible with Oxford/Ultrasound/2.0MHz/Cable Length: 3.0m/170S | Ultrasound Foetal Transducer Compatible with Oxford - 2.0MHz - 3.0m - 170S | Ultrasound Foetal Transducer{R}Compatible with Oxford - 2.0MHz{R}Cable Length: 3.0m - 170S{R}REF: FUS-SC02
6018909 | Foetal Transducer | FUS-ED01 | Compatible with Edan/Ultrasound/Cable Length: 3.0m/LP04-40B | Ultrasound Foetal Transducer Compatible with Edan - 3.0m - LP04-40B | Ultrasound Foetal Transducer{R}Compatible with Edan{R}Cable Length: 3.0m - LP04-40B{R}REF: FUS-ED01
6018910 | Foetal Transducer | FUS-SC03 | Compatible with Oxford/Ultrasound/Cable Length: 3.0m/LM07-G1B-R | Ultrasound Foetal Transducer Compatible with Oxford - 3.0m - LM07-G1B-R | Ultrasound Foetal Transducer{R}Compatible with Oxford{R}Cable Length: 3.0m - LM07-G1B-R{R}REF: FUS-SC03
6018911 | Foetal Transducer | FUS-SL03 | Compatible with Spacelabs/Ultrasound/Cable Length: 3.0m/117 | Ultrasound Foetal Transducer Compatible with Spacelabs - 3.0m - 117 | Ultrasound Foetal Transducer{R}Compatible with Spacelabs{R}Cable Length: 3.0m - 117{R}REF: FUS-SL03
6018912 | Foetal Transducer | FUS-AL02 | Compatible with Analogic/Ultrasound/1.0M/360 | Ultrasound Foetal Transducer Compatible with Analogic - 1.0M - 360 | Ultrasound Foetal Transducer{R}Compatible with Analogic{R}Cable Length: 1.0m - 360{R}REF: FUS-AL02
6018913 | Foetal Transducer | FUS-AL03 | Compatible with Analogic/Ultrasound/2.0M+1.0m/255 | Ultrasound Foetal Transducer Compatible with Analogic - 2.0M+1.0m - 255 | Ultrasound Foetal Transducer{R}Compatible with Analogic{R}Cable Length: 2.0m+1.0m - 255{R}REF: FUS-AL03
6018914 | Foetal Transducer | FUS-SC04 | Compatible with Oxford/Ultrasound/1.0MHz/Cable Length: 3.0m/183S | Ultrasound Foetal Transducer Compatible with Oxford - 1.0MHz - 3.0m - 183S | Ultrasound Foetal Transducer Compatible with Oxford - 1.0MHz - Cable Length: 3.0m – 183S{R}REF: FUS-SC04
6018915 | Foetal Transducer | FUS-ED02 | Compatible with Edan/Ultrasound/Cable Length: 3.0m/LP06-40B | Ultrasound Foetal Transducer Compatible with Edan - 3.0m - LP06-40B | Ultrasound Foetal Transducer{R}Compatible with Edan{R}Cable Length: 3.0m - LP06-40B{R}REF: FUS-ED02
6018916 | Foetal Transducer | FUS-NT01 | Compatible with Neoventa/Ultrasound/Cable Length: 3.0m/174B | Ultrasound Foetal Transducer Compatible with Neoventa - 3.0m - 174B | Ultrasound Foetal Transducer{R}Compatible with Neoventa{R}Cable Length: 3.0m - 174B{R}REF: FUS-NT01
6018917 | Foetal Transducer | FUS-BN01 | Compatible with Bionet/Ultrasound/Cable Length: 3.0m/372 | Ultrasound Foetal Transducer Compatible with Bionet - 3.0m - 372 | Ultrasound Foetal Transducer{R}Compatible with Bionet{R}Cable Length: 3.0m - 372{R}REF: FUS-BN01
6018918 | Foetal Transducer | FUS-BN02 | Compatible with Bionet/Ultrasound/Cable Length: 3.0m/145S | Ultrasound Foetal Transducer Compatible with Bionet - 3.0m - 145S | Ultrasound Foetal Transducer{R}Compatible with Bionet{R}Cable Length: 3.0m - 145S{R}REF: FUS-BN02
6018919 | Foetal Transducer | FUS-BT01 | Compatible with Bistos/Ultrasound/Cable Length: 3.0m/144S | Ultrasound Foetal Transducer Compatible with Bistos - 3.0m - 144S | Ultrasound Foetal Transducer{R}Compatible with Bistos{R}Cable Length: 3.0m - 144S{R}REF: FUS-BT01
6018920 | Foetal Transducer | FTC-PH01 | Compatible with Philips/uterine contractions/Cable Length: 3.0m/055S | Ultrasound Foetal Transducer Compatible with Philips - Uterine Contractions - 3.0m - 055S | Ultrasound Foetal Transducer{R}Compatible with Philips - Uterine Contractions{R}Cable Length: 3.0m - 055S{R}REF: FTC-PH01
6018921 | Foetal Transducer | FTC-GE01 | Compatible with GE Corometrics/uterine contractions/Cable Length: 3.0m/162B | Ultrasound Foetal Transducer Compatible with GE Corometrics - Uterine Contractions - 3.0m - 162B | Ultrasound Foetal Transducer{R}Compatible with GE Corometrics - Uterine Contractions{R}Cable Length: 3.0m - 162B{R}REF: FTC-GE01
6018922 | Foetal Transducer | FTC-GE02 | Compatible with GE Corometrics/uterine contractions/Cable Length: 3.0m/162B | Ultrasound Foetal Transducer Compatible with GE Corometrics - Uterine Contractions - 3.0m - 162B | Ultrasound Foetal Transducer{R}Compatible with GE Corometrics - Uterine Contractions{R}Cable Length: 3.0m - 162B{R}REF: FTC-GE02
6018923 | Foetal Transducer | FTC-AL01 | Compatible with Analogic/uterine contractions/Cable Length: 3.0m/256 | Ultrasound Foetal Transducer Compatible with Analogic - Uterine Contractions - 3.0m - 256 | Ultrasound Foetal Transducer{R}Compatible with Analogic - Uterine Contractions{R}Cable Length: 3.0m - 256{R}REF: FTC-AL01
6018924 | Foetal Transducer | FTC-SC01 | Compatible with Oxford/uterine contractions/Cable Length: 3.0m/178S | Ultrasound Foetal Transducer Compatible with Oxford - Uterine Contractions - 3.0m - 178S | Ultrasound Foetal Transducer{R}Compatible with Oxford - Uterine Contractions{R}Cable Length: 3.0m - 178S{R}REF: FTC-SC01
6018925 | Foetal Transducer | FTC-ED01 | Compatible with Edan/uterine contractions/Cable Length: 3.0m/LP06-0E | Ultrasound Foetal Transducer Compatible with Edan - Uterine Contractions - 3.0m - LP06-0E | Ultrasound Foetal Transducer{R}Compatible with Edan - Uterine Contractions{R}Cable Length: 3.0m - LP06-0E{R}REF: FTC-ED01
6018926 | Foetal Transducer | FTC-SC02 | Compatible with Oxford/uterine contractions/Cable Length: 3.0m/LM05-G1B-B | Ultrasound Foetal Transducer Compatible with Oxford - Uterine Contractions - 3.0m - LM05-G1B-B | Ultrasound Foetal Transducer{R}Compatible with Oxford - Uterine Contractions{R}Cable Length: 3.0m - LM05-G1B-B{R}REF: FTC-SC02
6018927 | Foetal Transducer | FTC-SL01 | Compatible with Spacelabs/uterine contractions/Cable Length: 3.0m/022S | Ultrasound Foetal Transducer Compatible with Spacelabs - Uterine Contractions - 3.0m - 022S | Ultrasound Foetal Transducer{R}Compatible with Spacelabs - Uterine Contractions{R}Cable Length: 3.0m - 022S{R}REF: FTC-SL01
6018928 | Foetal Transducer | FTC-SL02 | Compatible with Spacelabs/uterine contractions/Cable Length: 3.0m/022S | Ultrasound Foetal Transducer Compatible with Spacelabs - Uterine Contractions - 3.0m - 022S | Ultrasound Foetal Transducer{R}Compatible with Spacelabs - Uterine Contractions{R}Cable Length: 3.0m - 022S{R}REF: FTC-SL02
6018929 | Foetal Transducer | FTC-SL03 | Compatible with Spacelabs/uterine contractions/Cable Length: 3.0m/118 | Ultrasound Foetal Transducer Compatible with Spacelabs - Uterine Contractions - 3.0m - 118 | Ultrasound Foetal Transducer{R}Compatible with Spacelabs - Uterine Contractions{R}Cable Length: 3.0m - 118{R}REF: FTC-SL03
6018930 | Foetal Transducer | FTC-NT01 | Compatible with Neoventa/uterine contractions/Cable Length: 3.0m/184B | Ultrasound Foetal Transducer Compatible with Neoventa - Uterine Contractions - 3.0m - 184B | Ultrasound Foetal Transducer{R}Compatible with Neoventa - Uterine Contractions{R}Cable Length: 3.0m - 184B{R}REF: FTC-NT01
6018931 | Foetal Transducer | FTC-BN01 | Compatible with Bionet/uterine contractions/Cable Length: 3.0m/373 | Ultrasound Foetal Transducer Compatible with Bionet - Uterine Contractions - 3.0m - 373 | Ultrasound Foetal Transducer{R}Compatible with Bionet - Uterine Contractions{R}Cable Length: 3.0m - 373{R}REF: FTC-BN01
6018932 | Foetal Transducer | FTC-BN02 | Compatible with Bionet/uterine contractions/Cable Length: 3.0m/147S | Ultrasound Foetal Transducer Compatible with Bionet - Uterine Contractions - 3.0m - 147S | Ultrasound Foetal Transducer{R}Compatible with Bionet - Uterine Contractions{R}Cable Length: 3.0m - 147S{R}REF: FTC-BN02
6018933 | Foetal Transducer | FTC-BT01 | Compatible with Bistos/uterine contractions/Cable Length: 3.0m/146S | Ultrasound Foetal Transducer Compatible with Bistos - Uterine Contractions - 3.0m - 146S | Ultrasound Foetal Transducer{R}Compatible with Bistos - Uterine Contractions{R}Cable Length: 3.0m - 146S{R}REF: FTC-BT01