Yorkshire Ambulance Service – Consigned Viamed Stock.

	Part Number
	Model
	Description
	Cable length
	Connector
	Image/s
	Consigned stock
	Price
	Used with

	Invoiced stock
	Consigned stock
	
	
	
	Sensor
	Equipment
	
	Current level
	Monthly level – 2012
	
	

	0012105
	0012197
	VM-2105
	Viamed Finger Oximeter
	N/A
	N/A
	N/A
	          
[image: image1.wmf] 


	6
	5
	£225.00
	N/A

	0014495
	0014555
	2054
	Masimo Red DCI-dc12, 

Adult Reusable SpO2 Sensor
	3.66m

(12ft)
	N/A
	3M, 

20 pin
	[image: image2.jpg]



	[image: image3.jpg]



	32
	30
	£215.00
	

	0014497
	0014557
	2056
	Masimo LNC Patient Cable, Red LNC-10
	3.05m

(10ft)
	D type,

9 pin
	3M, 

20 pin
	[image: image4.jpg]



	[image: image5.jpg]



	20
	20
	£95.00
	

	0014500
	0014560
	1269
	Masimo LNOP DCI Adult Reusable SpO2 Sensor
	0.91m

(3ft)
	N/A
	PCB plug, 6 way
	[image: image6.jpg]



	[image: image7.jpg]



	60
	30
	£114.75
	

	0014520
	0014580
	1173
	Masimo PC04 LNOP Patient Cable
	1.22m

(4ft)
	PCB socket, 6 way
	3M, 

14 pin
	[image: image8.jpg]



	[image: image9.jpg]



	60
	30
	£72.25
	

	0014762
	0014570
	SCP4002
	Viamed SpO2 Silicone Finger Sensor – Paediatric. Nellcor compatible
	2.0m
	N/A
	D type,

9 pin
	[image: image10.jpg]



	[image: image11.jpg]



	20
	20
	£115.00
	

	0018810
	0018990
	P881RA
	Viamed SpO2 Finger Sensor – Adult. 

Nellcor compatible.
	2.0m
	N/A
	D type,

9 pin
	[image: image12.jpg]



	[image: image13.jpg]



	41
	20
	£69.50
	


30/12/11

_1386755649.doc
[image: image1.png]






